## Table 1
VIRGIN ISLANDS WATER & POWER AUTHORITY UNDERGROUND ELECTRIC CONSTRUCTION PROJECT FEEDER 5A, Construction Revision #1 Bid Form, 03-22-24 ST. THOMAS U.S. VIRGIN ISLANDS
Item | Quantity | Unit | Description | Unit Cost | Total Cost
GENERAL
1 | 1 | Lot | Mobilization | 300000 | 300000
2 | 1 | Lot | Bonding: Bid Guarantee, Performance Bond, Payment Bond | 20000 | 20000
3 | 1 | Lot | Construction Impact Mitigation including Stormwater / Sediment & Erosion Control, Silt Fencing, Haybacking, Dust Control, Dewatering, Noise Control, Vibration Control, Landscaping & Tree Protection | 115000 | 115000
4 | 1 | lot | Traffic Control/Traffic Control Devices/Road Closure Permits | 45000 | 45000
5 | 1 | Lot | Specialty Consulting Services (Arborist, Archeologist, Land Surveyor/Civil Engineer) | 60000 | 60000
6 | 1 | Lot | Project Cleanup, Punchlist, Demobilization, Closeout | 28000 | 28000
Subtotal General |  |  |  |  | 568000
CIVIL WORK
7 |  |  | Duct Banks: Including roadway/sidewalk cutting,brush removal,tree removal, excavation, PVC conduits, spacers, elbows, couplings, pull lines, warning tape, Control Density Fill, Select Fill.
7-A | 30 | Linear Feet | Duct Bank Section A-A: 4-6” PVC, 2-2" PVC in Concrete Envelope (Refer to Drawing E-102 for Duct Bank Details) | 560 | 16800
7-B | 830 | Linear Feet | Duct Bank Section B-B: 2-4” PVC in CDF (Refer to Drawing E-102 for Duct Bank Details | 276 | 229080
7-C | 3653 | Linear Feet | Duct Bank Section C-C-: 3-4” PVC in CDF (Refer to Drawing E-102 or Duct Bank Details) | 285 | 1041105
7-D | 1499 | Linear Feet | Duct Bank Section D-D: 2-2” PVC direct burial (Refer to Drawing E-102 for Duct Bank Details) | 152 | 227848
7-E | 166 | Linear Feet | Duct Bank Section E-E-: 4-4” PVC in CDF (Refer to Drawing E-102 for Duct Bank Details) | 375 | 62250
7-F | 235 | Linear Feet | Duct Bank Section F-F: 1-4” PVC in CDF (Refer to Drawing E-102 for Duct Bank Details) | 235 | 55225
7-G | 1805 | Linear Feet | Duct Bank Section G-G: 1-1” PVC direct burial (Refer to Drawing E-102 for Duct Bank Details) | 118 | 212990
7-H | 35 | Linear Feet | Duct Bank Section H-H: 2-4" PVC, 1-2" PVC in CDF (Refer to Drawing E-102 for Duct Bank Details) | 300 | 10500
7-J | 35 | Linear Feet | Duct Bank Section J-J: 1-2" in direct burial (Refer to Drawing E-102 for Duct Bank Details) | 230 | 8050
7-R | 375 | Linear Feet | Install 1-4" rigid galvanized steel conduit along existing cable racking | 77 | 28875
8-A | 1 | Each | 4’W x 4’L x 4’D Electrical Handhole: Including excavation, concrete forms (if cast in place), delivery & storage (if precast), concrete, rebar, back fill, heavy duty frame & cover | 22000 | 22000
8-B | 1 | Each | Furnish & Install Secondary Handholes / Junction Boxes | 9700 | 9700
8-C | 2 | Each | Furnish & Install Primary Handholes / Junction Boxes | 10200 | 20400
9-A | 2 | Each | Switchgear Pad (standard) | 9000 | 18000
9-B | 7 | Each | Lateral Feeder Sectionalizing Cabinet Pad (standard) | 7000 | 49000
Item | Quantity | Unit | Description | Unit Cost | Total Cost
9-C | 2 | Each | Three Phase Transformer Pad (standard) | 7300 | 14600
9-D | 4 | Each | Single Phase Transformer Pad (standard) | 3600 | 14400
9-E | 30 | Each | Furnish & Install Protective Bollards (Per detail on Drawings) | 1400 | 42000
10-A | 1 | Each | Break into existing manhole as described on Contract Drawings. This work will occur outside of normal working hours. | 11400 | 11400
10-B | 1 | Each | Intercept existing primary conduits to refeed to the Water Island Submarine Cable(MOP Required). This work to be performed outside of normal working hours. | 11200 | 11200
11-A | 38 | Square Feet | Concrete Pavement Replacement (per detail on Dwg. #G-101) | 100 | 3800
11-B | 22080 | Square Feet | Bituminous Pavement Replacement (per detail on Dwg. #G-101) | 8 | 176640
11-C | 1450 | Linear Feet | Roadway Patching (roads that do not require full lane restoration) | 22 | 31900
12-A | 500 | Cubic Yard | Rock Excavation: (Allowance) | 310 | 155000
Subtotal Civil |  |  |  |  | 2472763
ELECTRICAL WORK
13-A | 2 | Each | Receive , transport, rig & Install pad mounted switchgear (terminations are included under a separate line item) | 27200 | 54400
13-B | 1 | Each | Furnish, transport, rig & Install pad mounted load interrupter switchgear / Primary Metering Cabinet to remove existing switchgear. | 59200 | 59200
13-C | 3 | Each | Receive, transport, rig and install 1 phase, 25kVA transformer (terminations are included under a separate line item) | 13000 | 39000
13-D | 1 | Each | Receive, transport, rig and install 1 phase, 50kVA transformer (terminations are included under a separate line item) | 23700 | 23700
13-E | 1 | Each | Receive, transport, rig and install 3 phase, 75kVA transformer (terminations are included under a separate line item) | 23700 | 23700
13-F | 1 | Each | Receive, transport, rig and install 3 phase, 45kVA transformer (terminations are included under a separate line item) | 23700 | 23700
13-G | 7 | Each | Furnish, transport, rig & install, pad mounted lateral feeder Sectionalizing Cabinet (junctions & terminations are included under separate line items) | 44500 | 311500
14-A | 2 | Each | Furnish & install grounding & bonding for pad mounted switchgear per detail on dwg. #E-101 | 3700 | 7400
14-B | 7 | Each | Furnish & install grounding & bonding for pad mounted sectionalizing cabinet per detail on dwg. #E-101 | 2400 | 16800
14-C | 2 | Each | Furnish & install grounding & bonding for 3 phase pad mounted transformer per detail on dwg. #E-101 | 3600 | 7200
14-D | 4 | Each | Furnish & install grounding & bonding for 1 phase pad mounted transformer per detail on dwg. #E-101 | 2700 | 10800
15-A | 414 | Linear Feet | Receive, transport, pull / install medium voltage main feeder 5A cable (1-1/C #750 kcmil), Tag 1 on dwg. #E-201, termination of cable to be included under cable termination category | 34 | 14076
15-B | 15260 | Linear Feet | Receive, transport, pull / install medium voltage feeder cable (1/C #1/0) tag 2 & 3 on dwg. #E-400, termination of cable to be included under cable termination category | 14 | 213640
16-A | 3 | Each | Furnish & Install 15kV Cold Shrink Splices for #1/0 AWG Cable (Tag 1A on dwg. #E-400) | 2100 | 6300
Item | Quantity | Unit | Description | Unit Cost | Total Cost
16-B | 6 | Each | Furnish & Install 15KV, Cold shrink Cable Splice for #750 KCMIL Cable, with 1/3 Concentric NeutralL, 100% Insulation (Exact Model # to be selected on approved cable data sheet) with Shear Bolt or Compression Connector | 1815 | 10890
16-C | 77 | Each | Furnish & Install 200A, 15kV Elbows (Tag 2A on dwg. #E-400) | 1200 | 92400
16-D | 43 | Each | Furnish & install Cable Fault Indicators (Tag 4 on dwg. #E-400) | 715 | 30745
16-E | 6 | Each | Furnish & install Deadbreak Elbows, 600A, 15/25kV (Tag 5A on dwg. #E-400) | 1750 | 10500
16-F | 6 | Each | Furnish & install 15KV Reducing Tap Plug (Tag 6A on dwg. #E-400) | 1395 | 8370
16-G | 22 | Each | Furnish & Install 18kV elbow type Surge Arresters (Tag 7B on dwg. #E-400) | 1265 | 27830
16-H | 6 | Each | Furnish & Install Load Break Feed Thru Inserts (Tag 8A on dwg. #E-400) | 1160 | 6960
16-I | 6 | Each | Furnish & install outdoor termination kits, with support brackets, for #1/0 MV Cable (Tag 10A on dwg. #E-400) | 1160 | 6960
16-J | 15 | Each | 15kV, 3 Point, 200A Junction Located in Sectionalizing Cabinet, w/ SS Mounting bracket & Parking Stand | 885 | 13275
16-K | 6 | Each | 15kV, 4 Point, 200A Junction Located in Sectionalizing, W/ SS Mounting Bracket & Parking Stand | 1250 | 7500
16-L | 14 | Each | Furnish & Install 15kV, Insulating Cap for 200A Bushings | 700 | 9800
17-A | 581 | Linear Feet | Furnish & install #3/0 cu, 600 volt conductor (from transformers) | 27 | 15687
17-B | 343 | Linear Feet | Furnish & install #1/0 cu, 600 volt conductor (from transformers) | 34 | 11662
17-C | 2336 | Linear Feet | Furnish & install #2 cu, 600 volt conductor (from transformers) | 10 | 23360
17-D | 2089 | Linear Feet | Furnish & install #6 cu, 600 volt conductor (from transformers) | 9 | 18801
17-E | 5957 | Linear Feet | Furnish & install #8 cu, 600 volt conductor (from transformers) | 4 | 23828
17-F | 12 | Each | Furnish & install street light fixture, pole, arm, foundation, and grounding/bonding per street light fixture detail on dwg. #G-101 | 14000 | 168000
17-G | 48 | Each | Secondary lugs / Terminations | 700 | 33600
18-A | 414 | Linear Feet | Electrical Acceptance Testing for #750 kcmil , 15kV cable | 19 | 7866
18-B | 15260 | Linear Feet | Electrical Acceptance Testing for #1/0, 15kV cable | 0.5 | 7630
18-C | 3 | Each | Electrical Acceptance Testing for Pad Mounted Switchgear | 2600 | 7800
18-D | 6 | Each | Electrical Acceptance Testing for Pad mounted transformers | 1300 | 7800
18-E | 11306 | Each | Electrical Acceptance Testing for 600 Volt Cable | 1 | 11306
Subtotal Electrical |  |  |  | I | 1373986
TOTAL LUMP SUM CONSTRUCTION BID |  |  |  |  | 4414749

## AMM
VIRGIN ISLANDS WATER & POWER AUTHORITY UNDERGROUND ELECTRIC CONSTRUCTION PROJECT FEEDER 5A, Construction Revision #1 Bid Form, 03-22-24 ST. THOMAS U.S. VIRGIN ISLANDS | [5 empty] | SUBTOTAL CALCULATIONS FOR PAGE BREAKS |  |  | EXTENDED VALUE CHECKS | SUBTOTALS | INPUT CHECK
Item | Quantity | Unit | Description | Unit Cost | Total Cost |  | SUBTOTALS | (TABLE 1 - AMM) | E = TABLE 1 TOTALS |  | F = TABLE 1 TOTALS
GENERAL | [7 empty] | Subtotal Difference ?? | (B*E) |  | (F-K)
1 | 1 | Lot | Mobilization | 300000 | 300000 |  |  |  | 300000 |  | 0
2 | 1 | Lot | Bonding: Bid Guarantee, Performance Bond, Payment Bond | 20000 | 20000 |  |  |  | 20000 |  | 0
3 | 1 | Lot | Construction Impact Mitigation including Stormwater / Sediment & Erosion Control, Silt Fencing, Haybacking, Dust Control, Dewatering, Noise Control, Vibration Control, Landscaping & Tree Protection | 115000 | 115000 |  |  |  | 115000 |  | 0
4 | 1 | lot | Traffic Control/Traffic Control Devices/Road Closure Permits | 45000 | 45000 |  |  |  | 45000 |  | 0
5 | 1 | Lot | Specialty Consulting Services (Arborist, Archeologist, Land Surveyor/Civil Engineer) | 60000 | 60000 |  |  |  | 60000 |  | 0
6 | 1 | Lot | Project Cleanup, Punchlist, Demobilization, Closeout | 28000 | 28000 | 568000 |  |  | 28000 |  | 0
Subtotal General |  |  |  |  | 568000 |  | 568000 | 0 |  | 568000
CIVIL WORK
7 |  |  | Duct Banks: Including roadway/sidewalk cutting,brush removal,tree removal, excavation, PVC conduits, spacers, elbows, couplings, pull lines, warning tape, Control Density Fill, Select Fill. | [5 empty] | 0 |  | 0
7-A | 30 | Linear Feet | Duct Bank Section A-A: 4-6” PVC, 2-2" PVC in Concrete Envelope (Refer to Drawing E-102 for Duct Bank Details) | 560 | 16800 |  |  |  | 16800 |  | 0
7-B | 830 | Linear Feet | Duct Bank Section B-B: 2-4” PVC in CDF (Refer to Drawing E-102 for Duct Bank Details | 276 | 229080 |  |  |  | 229080 |  | 0
7-C | 3653 | Linear Feet | Duct Bank Section C-C-: 3-4” PVC in CDF (Refer to Drawing E-102 or Duct Bank Details) | 285 | 1041105 |  |  |  | 1041105 |  | 0
7-D | 1499 | Linear Feet | Duct Bank Section D-D: 2-2” PVC direct burial (Refer to Drawing E-102 for Duct Bank Details) | 152 | 227848 |  |  |  | 227848 |  | 0
7-E | 166 | Linear Feet | Duct Bank Section E-E-: 4-4” PVC in CDF (Refer to Drawing E-102 for Duct Bank Details) | 375 | 62250 |  |  |  | 62250 |  | 0
7-F | 235 | Linear Feet | Duct Bank Section F-F: 1-4” PVC in CDF (Refer to Drawing E-102 for Duct Bank Details) | 235 | 55225 |  |  |  | 55225 |  | 0
7-G | 1805 | Linear Feet | Duct Bank Section G-G: 1-1” PVC direct burial (Refer to Drawing E-102 for Duct Bank Details) | 118 | 212990 |  |  |  | 212990 |  | 0
7-H | 35 | Linear Feet | Duct Bank Section H-H: 2-4" PVC, 1-2" PVC in CDF (Refer to Drawing E-102 for Duct Bank Details) | 300 | 10500 |  |  |  | 10500 |  | 0
7-J | 35 | Linear Feet | Duct Bank Section J-J: 1-2" in direct burial (Refer to Drawing E-102 for Duct Bank Details) | 230 | 8050 |  |  |  | 8050 |  | 0
7-R | 375 | Linear Feet | Install 1-4" rigid galvanized steel conduit along existing cable racking | 77 | 28875 |  |  |  | 28875 |  | 0
8-A | 1 | Each | 4’W x 4’L x 4’D Electrical Handhole: Including excavation, concrete forms (if cast in place), delivery & storage (if precast), concrete, rebar, back fill, heavy duty frame & cover | 22000 | 22000 |  |  |  | 22000 |  | 0
8-B | 1 | Each | Furnish & Install Secondary Handholes / Junction Boxes | 9700 | 9700 |  |  |  | 9700 |  | 0
8-C | 2 | Each | Furnish & Install Primary Handholes / Junction Boxes | 10200 | 20400 |  |  |  | 20400 |  | 0
9-A | 2 | Each | Switchgear Pad (standard) | 9000 | 18000 |  |  |  | 18000 |  | 0
9-B | 7 | Each | Lateral Feeder Sectionalizing Cabinet Pad (standard) | 7000 | 49000 | 2011823 |  |  | 49000 |  | 0
Item | Quantity | Unit | Description | Unit Cost | Total Cost
9-C | 2 | Each | Three Phase Transformer Pad (standard) | 7300 | 14600 |  |  |  | 14600 |  | 0
9-D | 4 | Each | Single Phase Transformer Pad (standard) | 3600 | 14400 |  |  |  | 14400 |  | 0
9-E | 30 | Each | Furnish & Install Protective Bollards (Per detail on Drawings) | 1400 | 42000 |  |  |  | 42000 |  | 0
10-A | 1 | Each | Break into existing manhole as described on Contract Drawings. This work will occur outside of normal working hours. | 11400 | 11400 |  |  |  | 11400 |  | 0
10-B | 1 | Each | Intercept existing primary conduits to refeed to the Water Island Submarine Cable(MOP Required). This work to be performed outside of normal working hours. | 11200 | 11200 |  |  |  | 11200 |  | 0
11-A | 38 | Square Feet | Concrete Pavement Replacement (per detail on Dwg. #G-101) | 100 | 3800 |  |  |  | 3800 |  | 0
11-B | 22080 | Square Feet | Bituminous Pavement Replacement (per detail on Dwg. #G-101) | 8 | 176640 |  |  |  | 176640 |  | 0
11-C | 1450 | Linear Feet | Roadway Patching (roads that do not require full lane restoration) | 22 | 31900 |  |  |  | 31900 |  | 0
12-A | 500 | Cubic Yard | Rock Excavation: (Allowance) | 310 | 155000 | 460940 |  |  | 155000 |  | 0
Subtotal Civil |  |  |  |  | 2472763 |  | 2472763 | 0 |  | 2472763
ELECTRICAL WORK
13-A | 2 | Each | Receive , transport, rig & Install pad mounted switchgear (terminations are included under a separate line item) | 27200 | 54400 |  |  |  | 54400 |  | 0
13-B | 1 | Each | Furnish, transport, rig & Install pad mounted load interrupter switchgear / Primary Metering Cabinet to remove existing switchgear. | 59200 | 59200 |  |  |  | 59200 |  | 0
13-C | 3 | Each | Receive, transport, rig and install 1 phase, 25kVA transformer (terminations are included under a separate line item) | 13000 | 39000 |  |  |  | 39000 |  | 0
13-D | 1 | Each | Receive, transport, rig and install 1 phase, 50kVA transformer (terminations are included under a separate line item) | 23700 | 23700 |  |  |  | 23700 |  | 0
13-E | 1 | Each | Receive, transport, rig and install 3 phase, 75kVA transformer (terminations are included under a separate line item) | 23700 | 23700 |  |  |  | 23700 |  | 0
13-F | 1 | Each | Receive, transport, rig and install 3 phase, 45kVA transformer (terminations are included under a separate line item) | 23700 | 23700 |  |  |  | 23700 |  | 0
13-G | 7 | Each | Furnish, transport, rig & install, pad mounted lateral feeder Sectionalizing Cabinet (junctions & terminations are included under separate line items) | 44500 | 311500 |  |  |  | 311500 |  | 0
14-A | 2 | Each | Furnish & install grounding & bonding for pad mounted switchgear per detail on dwg. #E-101 | 3700 | 7400 |  |  |  | 7400 |  | 0
14-B | 7 | Each | Furnish & install grounding & bonding for pad mounted sectionalizing cabinet per detail on dwg. #E-101 | 2400 | 16800 |  |  |  | 16800 |  | 0
14-C | 2 | Each | Furnish & install grounding & bonding for 3 phase pad mounted transformer per detail on dwg. #E-101 | 3600 | 7200 |  |  |  | 7200 |  | 0
14-D | 4 | Each | Furnish & install grounding & bonding for 1 phase pad mounted transformer per detail on dwg. #E-101 | 2700 | 10800 |  |  |  | 10800 |  | 0
15-A | 414 | Linear Feet | Receive, transport, pull / install medium voltage main feeder 5A cable (1-1/C #750 kcmil), Tag 1 on dwg. #E-201, termination of cable to be included under cable termination category | 34 | 14076 |  |  |  | 14076 |  | 0
15-B | 15260 | Linear Feet | Receive, transport, pull / install medium voltage feeder cable (1/C #1/0) tag 2 & 3 on dwg. #E-400, termination of cable to be included under cable termination category | 14 | 213640 |  |  |  | 213640 |  | 0
16-A | 3 | Each | Furnish & Install 15kV Cold Shrink Splices for #1/0 AWG Cable (Tag 1A on dwg. #E-400) | 2100 | 6300 | 811416 |  |  | 6300 |  | 0
Item | Quantity | Unit | Description | Unit Cost | Total Cost
16-B | 6 | Each | Furnish & Install 15KV, Cold shrink Cable Splice for #750 KCMIL Cable, with 1/3 Concentric NeutralL, 100% Insulation (Exact Model # to be selected on approved cable data sheet) with Shear Bolt or Compression Connector | 1815 | 10890 |  |  |  | 10890 |  | 0
16-C | 77 | Each | Furnish & Install 200A, 15kV Elbows (Tag 2A on dwg. #E-400) | 1200 | 92400 |  |  |  | 92400 |  | 0
16-D | 43 | Each | Furnish & install Cable Fault Indicators (Tag 4 on dwg. #E-400) | 715 | 30745 |  |  |  | 30745 |  | 0
16-E | 6 | Each | Furnish & install Deadbreak Elbows, 600A, 15/25kV (Tag 5A on dwg. #E-400) | 1750 | 10500 |  |  |  | 10500 |  | 0
16-F | 6 | Each | Furnish & install 15KV Reducing Tap Plug (Tag 6A on dwg. #E-400) | 1395 | 8370 |  |  |  | 8370 |  | 0
16-G | 22 | Each | Furnish & Install 18kV elbow type Surge Arresters (Tag 7B on dwg. #E-400) | 1265 | 27830 |  |  |  | 27830 |  | 0
16-H | 6 | Each | Furnish & Install Load Break Feed Thru Inserts (Tag 8A on dwg. #E-400) | 1160 | 6960 |  |  |  | 6960 |  | 0
16-I | 6 | Each | Furnish & install outdoor termination kits, with support brackets, for #1/0 MV Cable (Tag 10A on dwg. #E-400) | 1160 | 6960 |  |  |  | 6960 |  | 0
16-J | 15 | Each | 15kV, 3 Point, 200A Junction Located in Sectionalizing Cabinet, w/ SS Mounting bracket & Parking Stand | 885 | 13275 |  |  |  | 13275 |  | 0
16-K | 6 | Each | 15kV, 4 Point, 200A Junction Located in Sectionalizing, W/ SS Mounting Bracket & Parking Stand | 1250 | 7500 |  |  |  | 7500 |  | 0
16-L | 14 | Each | Furnish & Install 15kV, Insulating Cap for 200A Bushings | 700 | 9800 |  |  |  | 9800 |  | 0
17-A | 581 | Linear Feet | Furnish & install #3/0 cu, 600 volt conductor (from transformers) | 27 | 15687 |  |  |  | 15687 |  | 0
17-B | 343 | Linear Feet | Furnish & install #1/0 cu, 600 volt conductor (from transformers) | 34 | 11662 |  |  |  | 11662 |  | 0
17-C | 2336 | Linear Feet | Furnish & install #2 cu, 600 volt conductor (from transformers) | 10 | 23360 |  |  |  | 23360 |  | 0
17-D | 2089 | Linear Feet | Furnish & install #6 cu, 600 volt conductor (from transformers) | 9 | 18801 |  |  |  | 18801 |  | 0
17-E | 5957 | Linear Feet | Furnish & install #8 cu, 600 volt conductor (from transformers) | 4 | 23828 |  |  |  | 23828 |  | 0
17-F | 12 | Each | Furnish & install street light fixture, pole, arm, foundation, and grounding/bonding per street light fixture detail on dwg. #G-101 | 14000 | 168000 |  |  |  | 168000 |  | 0
17-G | 48 | Each | Secondary lugs / Terminations | 700 | 33600 |  |  |  | 33600 |  | 0
18-A | 414 | Linear Feet | Electrical Acceptance Testing for #750 kcmil , 15kV cable | 19 | 7866 |  |  |  | 7866 |  | 0
18-B | 15260 | Linear Feet | Electrical Acceptance Testing for #1/0, 15kV cable | 0.5 | 7630 |  |  |  | 7630 |  | 0
18-C | 3 | Each | Electrical Acceptance Testing for Pad Mounted Switchgear | 2600 | 7800 |  |  |  | 7800 |  | 0
18-D | 6 | Each | Electrical Acceptance Testing for Pad mounted transformers | 1300 | 7800 |  |  |  | 7800 |  | 0
18-E | 11306 | Each | Electrical Acceptance Testing for 600 Volt Cable | 1 | 11306 | 562570 |  |  | 11306 |  | 0
Subtotal Electrical |  |  |  |  | 1373986 |  | 1373986 | 0 |  | 1373986
TOTAL LUMP SUM CONSTRUCTION BID |  |  |  |  | 4414749 |  |  |  | 562570 | 4414749 | 0