## Bid Form
VIRGIN ISLANDS WATER & POWER AUTHORITY
St. Thomas - A Composite Pole Project
Bid Form
Item No. | Description | Estimated Qty | Unit of Measure | Unit Cost | Total
1 | Installation of 35' composite stub-poles | 32 | each | 9000 | 288000
2 | Installation of 45' composite poles | 405 | each | 9700 | 3928500
3 | Installation of 50' composite poles | 326 | each | 10200 | 3325200
4 | Installation of 55' composite poles | 17 | each | 10600 | 180200
5 | Installation of 60' composite poles | 2 | each | 11000 | 22000
6 | Pole installation adder extra depth | 1 | per linear ft | 230 | 230
7 | Pole installation adder for rock | 1 | per linear ft | 680 | 680
8 | Installation of push pole | 3 | each | 9350 | 28050
9 | Installation of C1 framing | 3 | each | 2300 | 6900
10 | Installation of C2 framing | 5 | each | 2300 | 11500
11 | Installation of C3 framing | 4 | each | 2800 | 11200
12 | Installation of C4 framing | 2 | each | 3200 | 6400
13 | Installation of C5 framing | 5 | each | 2800 | 14000
14 | Installation of C6 framing | 2 | each | 3000 | 6000
15 | Installation of C7 framing | 2 | each | 2800 | 5600
16 | Installation of C8 framing | 2 | each | 3000 | 6000
17 | Installation of A4 framing | 112 | each | 2800 | 313600
18 | Installation of A5 framing | 203 | each | 2800 | 568400
19 | Installation of B5 framing | 1 | each | 2800 | 2800
20 | Installation of A1 framing | 168 | each | 1850 | 310800
21 | Installation of A2 framing | 193 | each | 1850 | 357050
22 | Installation of A3 framing | 87 | each | 2300 | 200100
23 | Installation of A6 framing | 48 | each | 2500 | 120000
24 | Grounding of composite poles | 749 | each | 465 | 348285
25 | Install guy | 899 | each | 610 | 548390
26 | Install PISA anchor | 276 | each | 2950 | 814200
27 | Install anchor in rock | 272 | each | 1780 | 484160
28 | Installation of communication clamp | 1497 | each | 380 | 568860
29 | Installation or transfer of Single Transformers (10kVa-75kVa) | 283 | each | 1850 | 523550
30 | Installation or transfer of Transformer Banks(10kVa-75kVa) | 5 | each | 5500 | 27500
31 | Installation of Electric Switches | 21 | each | 6900 | 144900
32 | Installation of Capacitor Bank | 1 | each | 5400 | 5400
33 | Installation or transfer of Streetlights | 379 | each | 465 | 176235
34 | Installation of Pulsecloser/Recloser | 3 | each | 5400 | 16200
35 | Installation of Cutouts | 48 | each | 465 | 22320
36 | Installation of Lightning Arrestors | 16 | each | 465 | 7440
37 | Installation or transfer of Solar Panels | 410 | each | 900 | 369000
38 | Installation or Transfer of Three Phase Conductors - tangent (3 phases including neutral) de-energized | 1 | each | 3900 | 3900
39 | Installation or Transfer of Three Phase Conductors- dead end(3 phases including neutral) de-energized | 1 | each | 4400 | 4400
40 | Installation or Transfer of Three Phase Conductors - tangent (3 phases including neutral) energized | 29 | each | 8800 | 255200
41 | Installation or Transfer of Three Phase Conductors- dead end(3 phases including neutral) energized | 13 | each | 12300 | 159900
42 | Installation or Transfer of Single Phase Conductors- tangent(Single Phase including neutral) de-energizerd | 1 | each | 2800 | 2800
43 | Installation or Transfer of Single Phase Conductors-dead end (Single Phase including neutral) de-energized | 1 | each | 3200 | 3200
44 | Installation or Transfer of Single Phase Conductors- tangent(Single Phase including neutral) energized | 466 | each | 6200 | 2889200
45 | Installation or Transfer of Single Phase Conductors-dead end (Single Phase including neutral) energized | 358 | each | 10100 | 3615800
46 | Installation of New Service Conductors to customers | 1 | each | 2800 | 2800
47 | Re-sagging of wire from pole# to pole # | 1 | linear ft per phase | 6.6 | 6.6
48 | Installation of compressions( all sizes) | 258 | each | 190 | 49020
49 | Installation of Armor Rods (per conductor) | 790 | each | 210 | 165900
50 | Upgrade of New Conductors (4/0 to 397 AAC) energized per conductor | 9384 | linear ft per phase | 19.4 | 182049.6
51 | Upgrade of New Conductors (4/0 to 397 AAC) de-energized per conductor | 1 | linear ft per phase | 89 | 89
52 | Upgrade of New Conductors ( to 1/0 AAC) energized per conductor | 110838 | linear ft per phase | 16.8 | 1862078.4
53 | Upgrade of New Conductors ( to 1/0 AAC) de-energized per conductor | 1 | linear ft per phase | 7.9 | 7.9
54 | Upgrade of New Secondary Conductors (1/0 to 4/0 Triplex) de-energized | 114133 | linear ft per phase | 6.5 | 741864.5
55 | Straighten exsisting wood pole | 1 | each | 3700 | 3700
56 | Grounding of wood poles | 1 | each | 460 | 460
57 | Removal Old Pole | 748 | each | 4100 | 3066800
58 | Install guy and anchor on exsisting wood pole | 1 | each | 3885 | 3885
59 | Install push pole wood | 1 | each | 3360 | 3360
60 | Install wood overhead guy pole | 1 | each | 2940 | 2940
61 | Install fiberglass fish on existing pole | 1 | each | 325 | 325
62 | Replace all types of insulators on existing poles | 1 | each | 465 | 465
63 | Install wood pole all sizes | 1 | each | 3780 | 3780
64 | Single phase wood poles all framing and install or transfer energized | 1 | each | 3360 | 3360
65 | Single phase wood poles all framing and install or transfer de-energized | 1 | each | 2300 | 2300
66 | Three phase wood poles all framing and install or transfer energized | 1 | each | 4400 | 4400
67 | Three phase wood poles all framing and install or transfer de-energized | 1 | each | 3360 | 3360
68 | Installation of AMI Communication Device | 1 | per day | 230 | 230
26807231