## Bid Form
VIRGIN ISLANDS WATER & POWER AUTHORITY
St. John Composite Pole Project
Bid Form
Item No. | Description | Estimated Qty | Unit of Measure | Unit Cost | Total
1 | Installation of 35' composite stub-poles | 79 | each | 8600 | 679400
2 | Installation of 45' composite poles | 531 | each | 9280 | 4927680
3 | Installation of 50' composite poles | 455 | each | 9720 | 4422600
4 | Installation of 55' composite poles | 1 | each | 10160 | 10160
5 | Installation of 60' composite poles | 1 | each | 10600 | 10600
6 | Pole installation adder extra depth | 1 | per linear ft | 220 | 220
7 | Pole installation adder for rock | 1 | per linear ft | 650 | 650
8 | Installation of push pole | 5 | each | 8900 | 44500
9 | Installation of C1 framing | 1 | each | 2200 | 2200
10 | Installation of C2 framing | 1 | each | 2200 | 2200
11 | Installation of C3 framing | 1 | each | 2640 | 2640
12 | Installation of C4 framing | 1 | each | 3080 | 3080
13 | Installation of C5 framing | 1 | each | 2640 | 2640
14 | Installation of C6 framing | 1 | each | 2860 | 2860
15 | Installation of C7 framing | 1 | each | 2640 | 2640
16 | Installation of C8 framing | 1 | each | 2860 | 2860
17 | Installation of A4 framing | 106 | each | 2640 | 279840
18 | Installation of A5 framing | 234 | each | 2200 | 514800
19 | Installation of B5 framing | 1 | each | 2200 | 2200
20 | Installation of A1 framing | 263 | each | 1760 | 462880
21 | Installation of A2 framing | 330 | each | 1760 | 580800
22 | Installation of A3 framing | 98 | each | 2200 | 215600
23 | Installation of A6 framing | 85 | each | 2420 | 205700
24 | Grounding of composite poles | 986 | each | 440 | 433840
25 | Install guy | 1633 | each | 580 | 947140
26 | Install PISA anchor | 464 | each | 2800 | 1299200
27 | Install anchor in rock | 464 | each | 1700 | 788800
28 | Installation of communication clamp | 1972 | each | 360 | 709920
29 | Installation or transfer of Single Transformers (10kVa-75kVa) | 180 | each | 1760 | 316800
30 | Installation or Transfer of Transformer Banks(10kVa-75kVa) | 4 | each | 5280 | 21120
31 | Installation of Electric Switches | 5 | each | 6600 | 33000
32 | Installation of Capacitor Bank | 1 | each | 5200 | 5200
33 | Installation or transfer of Streetlights | 122 | each | 440 | 53680
34 | Installation of Pulsecloser/Recloser | 1 | each | 5200 | 5200
35 | Installation of Cutouts | 50 | each | 440 | 22000
36 | Installation of Lightning Arrestors | 15 | each | 440 | 6600
37 | Installation or transfer of Solar Panels | 542 | each | 880 | 476960
38 | Installation or Transfer of Three Phase Conductors - tangent (3 phases including neutral) de-energized | 1 | each | 2860 | 2860
39 | Installation or Transfer of Three Phase Conductors- dead end(3 phases including neutral) de-energized | 1 | each | 4180 | 4180
40 | Installation or Transfer of Three Phase Conductors - tangent (3 phases including neutral) energized | 163 | each | 8200 | 1336600
41 | Installation or Transfer of Three Phase Conductors- dead end(3 phases including neutral) energized | 78 | each | 11700 | 912600
42 | Installation or Transfer of Single Phase Conductors- tangent(Single Phase including neutral) de-energizerd | 1 | each | 2640 | 2640
43 | Installation or Transfer of Single Phase Conductors-dead end (Single Phase including neutral) de-energized | 1 | each | 3080 | 3080
44 | Installation or Transfer of Single Phase Conductors- tangent(Single Phase including neutral) energized | 548 | each | 5900 | 3233200
45 | Installation or Transfer of Single Phase Conductors-dead end (Single Phase including neutral) energized | 494 | each | 9600 | 4742400
46 | Installation of New Service Conductors to customers | 1 | each | 2640 | 2640
47 | Re-sagging of wire from pole# to pole # | 1 | linear ft per phase | 6.3 | 6.3
48 | Installation of compressions ( all sizes) | 359 | each | 180 | 64620
49 | Installation of Armor Rods (per conductor) | 986 | each | 200 | 197200
50 | Upgrade of New Conductors (4/0 to 397 AAC) energized per conductor | 1 | linear ft per phase | 18.5 | 18.5
51 | Upgrade of New Conductors (4/0 to 397 AAC) de-energized per conductor | 1 | linear ft per phase | 8.5 | 8.5
52 | Upgrade of New Conductors ( to 1/0 AAC) energized per conductor | 179596 | linear ft per phase | 16 | 2873536
53 | Upgrade of New Conductors ( to 1/0 AAC) de-energized per conductor | 1 | linear ft per phase | 7.5 | 7.5
54 | Upgrade of New Secondary Conductors (1/0 to 4/0 Triplex) de-energized | 47808 | linear ft per phase | 6.2 | 296409.6
55 | Straighten exsisting wood pole | 1 | each | 3520 | 3520
56 | Grounding of wood poles | 1 | each | 440 | 440
57 | Removal Old Pole | 986 | each | 3960 | 3904560
58 | Install guy and anchor on exsisting wood pole | 1 | each | 3690 | 3690
59 | Install push pole wood | 1 | each | 3200 | 3200
60 | Install wood overhead guy pole | 1 | each | 2800 | 2800
61 | Install fiberglass fish on existing pole | 1 | each | 310 | 310
62 | Replace all types of insulators on existing poles | 1 | each | 440 | 440
63 | Install wood pole all sizes | 1 | each | 3600 | 3600
64 | Single phase wood poles all framing and install or transfer energized | 1 | each | 3200 | 3200
65 | Single phase wood poles all framing and install or transfer de-energized | 1 | each | 2200 | 2200
66 | Three phase wood poles all framing and install or transfer energized | 1 | each | 4200 | 4200
67 | Three phase wood poles all framing and install or transfer de-energized | 1 | each | 3200 | 3200
68 | Installation of AMI Communication Device | 1 | each | 220 | 220
35105796.4