## Bid Form
VIRGIN ISLANDS WATER & POWER AUTHORITY
St. Thomas - B Composite Pole Project
Bid Form
Item No. | Description | Estimated Qty | Unit of Measure | Unit Cost | Total
1 | Installation of 35' composite stub-poles | 32 | each | 8600 | 275200
2 | Installation of 45' composite poles | 405 | each | 9280 | 3758400
3 | Installation of 50' composite poles | 326 | each | 9720 | 3168720
4 | Installation of 55' composite poles | 17 | each | 10160 | 172720
5 | Installation of 60' composite poles | 2 | each | 10600 | 21200
6 | Pole installation adder extra depth | 1 | per linear ft | 220 | 220
7 | Pole installation adder for rock | 1 | per linear ft | 650 | 650
8 | Installation of push pole | 3 | each | 8900 | 26700
9 | Installation of C1 framing | 3 | each | 2200 | 6600
10 | Installation of C2 framing | 5 | each | 2200 | 11000
11 | Installation of C3 framing | 4 | each | 2640 | 10560
12 | Installation of C4 framing | 2 | each | 3080 | 6160
13 | Installation of C5 framing | 5 | each | 2640 | 13200
14 | Installation of C6 framing | 2 | each | 2860 | 5720
15 | Installation of C7 framing | 2 | each | 2640 | 5280
16 | Installation of C8 framing | 2 | each | 2860 | 5720
17 | Installation of A4 framing | 112 | each | 2640 | 295680
18 | Installation of A5 framing | 203 | each | 2200 | 446600
19 | Installation of B5 framing | 1 | each | 2200 | 2200
20 | Installation of A1 framing | 168 | each | 1760 | 295680
21 | Installation of A2 framing | 193 | each | 1760 | 339680
22 | Installation of A3 framing | 87 | each | 2200 | 191400
23 | Installation of A6 framing | 48 | each | 2420 | 116160
24 | Grounding of composite poles | 749 | each | 440 | 329560
25 | Install guy | 899 | each | 580 | 521420
26 | Install PISA anchor | 276 | each | 2800 | 772800
27 | Install anchor in rock | 272 | each | 1700 | 462400
28 | Installation of communication clamp | 1497 | each | 360 | 538920
29 | Installation or transfer of Single Transformers (10kVa-75kVa) | 283 | each | 1760 | 498080
30 | Installation or Transfer of Transformer Banks(10kVa-75kVa) | 5 | each | 5280 | 26400
31 | Installation of Electric Switches | 21 | each | 6600 | 138600
32 | Installation of Capacitor Bank | 1 | each | 5200 | 5200
33 | Installation or transfer of Streetlights | 379 | each | 440 | 166760
34 | Installation of Pulsecloser/Recloser | 3 | each | 5200 | 15600
35 | Installation of Cutouts | 48 | each | 440 | 21120
36 | Installation of Lightning Arrestors | 16 | each | 440 | 7040
37 | Installation or transfer of Solar Panels | 410 | each | 880 | 360800
38 | Installation or Transfer of Three Phase Conductors - tangent (3 phases including neutral) de-energized | 1 | each | 2860 | 2860
39 | Installation or Transfer of Three Phase Conductors- dead end(3 phases including neutral) de-energized | 1 | each | 4180 | 4180
40 | Installation or Transfer of Three Phase Conductors - tangent (3 phases including neutral) energized | 29 | each | 8200 | 237800
41 | Installation or Transfer of Three Phase Conductors- dead end(3 phases including neutral) energized | 13 | each | 11700 | 152100
42 | Installation or Transfer of Single Phase Conductors- tangent(Single Phase including neutral) de-energizerd | 1 | each | 2640 | 2640
43 | Installation or Transfer of Single Phase Conductors-dead end (Single Phase including neutral) de-energized | 1 | each | 3080 | 3080
44 | Installation or Transfer of Single Phase Conductors- tangent(Single Phase including neutral) energized | 466 | each | 5900 | 2749400
45 | Installation or Transfer of Single Phase Conductors-dead end (Single Phase including neutral) energized | 358 | each | 9600 | 3436800
46 | Installation of New Service Conductors to customers | 1 | each | 2640 | 2640
47 | Re-sagging of wire from pole# to pole # | 1 | linear ft per phase | 6.3 | 6.3
48 | Installation of compressions( all sizes) | 258 | each | 180 | 46440
49 | Installation of Armor Rods (per conductor) | 790 | each | 200 | 158000
50 | Upgrade of New Conductors (4/0 to 397 AAC) energized per conductor | 9384 | linear ft per phase | 18.5 | 173604
51 | Upgrade of New Conductors (4/0 to 397 AAC) de-energized per conductor | 1 | linear ft per phase | 8.5 | 8.5
52 | Upgrade of New Conductors ( to 1/0 AAC) energized per conductor | 110838 | linear ft per phase | 16 | 1773408
53 | Upgrade of New Conductors ( to 1/0 AAC) de-energized per conductor | 1 | linear ft per phase | 7.5 | 7.5
54 | Upgrade of New Secondary Conductors (1/0 to 4/0 Triplex) de-energized | 114133 | linear ft per phase | 6.2 | 707624.6
55 | Straighten exsisting wood pole | 1 | each | 3520 | 3520
56 | Grounding of wood poles | 1 | each | 440 | 440
57 | Removal Old Pole | 748 | each | 3960 | 2962080
58 | Install guy and anchor on exsisting wood pole | 1 | each | 3690 | 3690
59 | Install push pole wood | 1 | each | 3200 | 3200
60 | Install wood overhead guy pole | 1 | each | 2800 | 2800
61 | Install fiberglass fish on existing pole | 1 | each | 310 | 310
62 | Replace all types of insulators on existing poles | 1 | each | 440 | 440
63 | Install wood pole all sizes | 1 | each | 3600 | 3600
64 | Single phase wood poles all framing and install or transfer energized | 1 | each | 3200 | 3200
65 | Single phase wood poles all framing and install or transfer de-energized | 1 | each | 2200 | 2200
66 | Three phase wood poles all framing and install or transfer energized | 1 | each | 4200 | 4200
67 | Three phase wood poles all framing and install or transfer de-energized | 1 | each | 3200 | 3200
68 | Installation of AMI Communication Device | 1 | each | 220 | 220
25483848.9