## DataBase
FISCAL YEAR 2019-2020
|  | 31 | 31 | 30 | 31 | 30 | 31 | 31 | 28 | 31 | 30 | 31 | 0
|  | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | APR | MAY | JUN | FYTD | FYTD-AVG
Item | Index | 7 | 8 | 9 | 10 | 12 | 12 | 13 | 14 | 15 | 16 | 17 | 18
Total System Generation |  | 7: 25719.9895 | 25719.9895 | 25719.9895
Gross Power Generation |  | 7: 25075.95 | 25075.95 | 25075.95
Gross Water Production |  | 7: 90987.3333 | 90987.3333 | 90987.3333
System Load Factor |  | 7: 82.05% | 82.05% | 82.05%
Total No. 6 Fuel Cost |  | 7: 0 | 0 | 0
Total No. 2 Fuel Cost |  | 7: 426605.2954 | 426605.2954 | 426605.2954
Total Propane Cost |  | 7: 3453706.8756 | 3453706.8756 | 3453706.8756
Power Fuel Cost (Internal) |  | 7: 0.15474 | 0.15474 | 0.15474
Power Fuel Cost (to bus) |  | 7: 0.16018 | 0.16018 | 0.16018
Water Fuel Cost (Internal) |  | 7: 1.8354 | 1.8354 | 1.8354
Water Fuel Cost (to Distribution |  | 7: 1.872 | 1.872 | 1.872
Total Power Fuel Cost |  | 7: 3713314.5045 | 3713314.5045 | 3713314.5045
Total Water Fuel Cost |  | 7: 166997.6665 | 166997.6665 | 166997.6665
No. 6 Fuel Consumed |  | 7: 0 | 0 | 0
No. 2 Fuel Consumed |  | 7: 5520.1249 | 5520.1249 | 5520.1249
No. 6 Fuel Received |  | 7: 0 | 0 | 0
No. 2 Fuel Received |  | 7: 0 | 0 | 0
EOM No. 6 Fuel On Hand |  | 7: 0 | 0 | 0
EOM No. 2 Fuel On Hand(based on 2000Bbl/day Consumption) |  | 7: 17.1102 | 17.1102 | 17.1102
Plant Water Use ( Internal) |  | 7: 15419.311 | 15419.311 | 15419.311
Plant Power Use (Internal) |  | 7: 276393.5654 | 276393.5654 | 276393.5654
Heat Rates BTU/KWH | [13 empty] | 0 | 0
(Net Energy in KWH Produced) | [13 empty] | 0 | 0
Units | [13 empty] | 0 | 0
Combined Cycle-Units 10,16 |  | 7: 0 | 0 | 0
Combined Cycle-Units 11,16 |  | 7: 0 | 0 | 0
Unit 10-Steam (10 MW) |  | 7: N/A | 0 | 0
Unit 11-Steam (21 MW) |  | 7: N/A | 0 | 0
Unit 16-Gas Turbine (23 MW) |  | 7: 0 | 0 | 0
Unit 17-Gas Turbine (20.3 MW) |  | 7: 19688.3645 | 19688.3645 | 19688.3645
Unit 19-Gas Turbine (24 MW) |  | 7: 31163.4711 | 31163.4711 | 31163.4711
Unit 20_Gas Turbine (24 MW) |  | 7: 0 | 0 | 0
Aggreko |  | 7: 10867.347 | 10867.347 | 10867.347
Total Plant . |  | 7: 15074.9074 | 0 | 0
Desal Performance Ratios | [13 empty] | 0 | 0
IDE3 (1.25MGD) |  | 7: 0 | 0 | 0
IDE4 (.55MGD) |  | 7: 0 | 0 | 0
IDE5 (0.55MGD) |  | 7: 0 | 0 | 0
IDE9 (1.3MGD) |  | 7: 0 | 0 | 0
Unit Availability Percent | [13 empty] | 0 | 0
Unit 10 | [13 empty] | 0% | 0% | bar: 7
Unit 11 | [13 empty] | 0% | 0% | bar: 7
Unit 16 | [13 empty] | 0% | 0% | bar: 7
Unit 17 |  | 7: 100% | 100% | 100%
Unit 19 |  | 7: 100% | 100% | 100%
Unit 20 | [13 empty] | 0% | 0% | bar: 7
Aggreko |  | 7: 100% | 100% | 100%
IDE 3 |  | 7: 100% | 100% | 100%
IDE 4 | [13 empty] | 0% | 0% | bar: 7
IDE 5 | [13 empty] | 0% | 0% | bar: 7
IDE 9 |  | 7: 100% | 100% | 100%
HRSG 21 | [13 empty] | 0% | 0% | bar: 7
HRSG 24 |  | 7: 100% | 100% | 100%
Pag2 | [13 empty] | 0 | 0
Item | [13 empty] | 0 | 0
Steam Turbine Generation |  | 7: 0 | 0 | 0
Gas Turbine Generation |  | 7: 25075950 | 25075950 | 25075950
Diesel Generation |  | 7: 0 | 0 | 0
Total Generation |  | 7: 25075950 | 25075950 | 25075950
IPP1 |  | 7: 644039.5 | 644039.5 | 644039.5
Total System Generation |  | 7: 25719989.5
Steam Station Power |  | 7: 0 | 0 | 0
Gas Turbine Station Power |  | 7: 45390 | 45390 | 45390
Total Gen. Plant Station Power |  | 7: 45390 | 45390 | 45390
Total Service / Gross Output |  | 7: 0.181% | 0.181% | 0.181%
Operating Hours | [13 empty] | 0 | 0
Unit 10 |  | 7: 0 | 0 | 0
Unit 11 |  | 7: 0 | 0 | 0
Unit 16 |  | 7: 0 | 0 | 0
Unit 17 |  | 7: 739.5 | 739.5 | 739.5
Unit 19 |  | 7: 180.1 | 180.1 | 180.1
Unit 20 |  | 7: 0 | 0 | 0
Aggreko |  | 7: 713.003 | 713.003 | 713.003
Diesel Generation(Emergency) | [13 empty] | 1 | 1 | bar: 7
Unit Average Loading | [13 empty] | 0 | 0
(KWH / Operating Hours) | [13 empty] | 0 | 0
Unit 10 |  | 7: 0 | 0 | 0
Unit 11 |  | 7: 0 | 0 | 0
Unit 16 |  | 7: 0 | 0 | 0
Unit 17 |  | 7: 13623.1508 | 13623.1508 | 13623.1508
Unit 19 |  | 7: 4553.0261 | 4553.0261 | 4553.0261
Unit 20 |  | 7: 0 | 0 | 0
Aggreko |  | 7: 19890 | 19890 | 19890
Diesel |  | 7: 0 | 0 | 0
Utilization Factor | [13 empty] | 0 | 0
Unit 10 | [13 empty] | 0% | 0% | bar: 7
Unit 11 | [13 empty] | 0% | 0% | bar: 7
Unit 16 | [13 empty] | 0% | 0% | bar: 7
Unit 17 |  | 7: 62.21% | 62.21% | 62.21%
Unit 19 |  | 7: 18.58% | 18.58% | 18.58%
Unit 20 | [13 empty] | 0% | 0% | bar: 7
Aggreko |  | 7: 99.45%
Diesel | 1 | [12 empty] | 0% | 0% | bar: 7
Unit Output KW | 2 | [12 empty] | 0 | 0
Unit 10 | 3 | 7: 0 | 0 | 0
Unit 11 | 4 | 7: 0 | 0 | 0
Unit 16 | 5 | 7: 0 | 0 | 0
Unit 17 | 6 | 7: 10074320 | 10074320 | 10074320
Unit 19 | 7 | 7: 820000 | 820000 | 820000
Unit 20 | 8 | 7: 0 | 0 | 0
Aggreko |  | 7: 14181630 | 14181630 | 14181630
Diesel |  | 7: 0 | 0 | 0
TOTAL | 9 | 7: 25075950 | 25075950 | 25075950
Unit Station Service Power | [13 empty] | 0 | 0
Unit 10 |  | 7: 0 | 0 | 0
Unit 11 |  | 7: 0 | 0 | 0
Unit 16 |  | 7: 0 | 0 | 0
Unit 17 |  | 7: 2370 | 2370 | 2370
Unit 19 |  | 7: 35520 | 35520 | 35520
Unit 20 |  | 7: 7500 | 7500 | 7500
Aggreko |  | 7: 260 | 260 | 260
Diesel |  | 7: 0 | 0 | 0
TOTAL |  | 7: 45390 | 45390 | 45390
pag3 | [13 empty] | 0 | 0
BOILERS/STM. TURBINES | [13 empty] | 0 | 0
[14 empty] | 0 | 0
SS10 Plant Aux. Trans 480V |  | 7: 0 | 0 | 0
SS10 Unit Aux.. Trans 480V |  | 7: 0 | 0 | 0
[14 empty] | 0 | 0
Unit 10 Total Station Power |  | 7: 0 | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
SS11 Plant Aux. Trans 480V |  | 7: 0 | 0 | 0
SS11 Unit Aux.. Trans 480V |  | 7: 0 | 0 | 0
[14 empty] | 0 | 0
Unit 11 Net Total Station Power |  | 7: 0 | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
HRSG 21 Station Power |  | 7: 0 | 0 | 0
HRSG 24 Station Power |  | 7: 0 | 0 | 0
WHB Net Station Power |  | 7: 0 | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
TOTAL BOILERS / STM TURBINES |  | 7: 0 | 0 | 0
GAS TURBINE | [13 empty] | 0 | 0
[14 empty] | 0 | 0
Plant SS | [13 empty] | 0 | 0
Unit 16 |  | 7: 0 | 0 | 0
Unit 17 |  | 7: 30 | 30 | 30
Unit 19 |  | 7: 35520 | 35520 | 35520
Unit 20 |  | 7: 0 | 0 | 0
|  | 7: 260 | 260 | 260
Unit SS | [13 empty] | 0 | 0
Unit 16 |  | 7: 0 | 0 | 0
Unit 17 |  | 7: 2340 | 2340 | 2340
Unit 19 |  | 7: 0 | 0 | 0
Unit 20 |  | 7: 7500 | 7500 | 7500
|  | 7: 9840 | 9840 | 9840
Plant IDE pumpage | [13 empty] | 0 | 0
IDE 4 |  | 7: 0 | 0 | 0
IDE 5 |  | 7: 0 | 0 | 0
[14 empty] | 0 | 0
Total |  | 7: 0 | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
TOTAL GAS TURBINES |  | 7: 45650 | 45650 | 45650
STX. EMERGENCY DIESEL | [13 empty] | 0 | 0
[14 empty] | 0 | 0
Diesel |  | 7: 0 | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
TOTAL DIESEL |  | 7: 0 | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
WATER PLANTS | [13 empty] | 0 | 0
[14 empty] | 0 | 0
IDE 3 |  | 7: 0 | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
IDE 9 |  | 7: 0 | 0 | 0
Intake Pump A |  | 7: 0 | 0 | 0
Intake Pump B |  | 7: 0 | 0 | 0
Intake Pump C |  | 7: 0 | 0 | 0
IDE Intake Pumps A&B+Chloropac |  | 7: 0 | 0 | 0
RO Plant |  | 7: 458594 | 458594 | 458594
UPW Electricity |  | 7: 17911 | 17911 | 17911
RO ANNEX Electricity |  | 7: 620604 | 620604 | 620604
TOTAL WATER PLANTS |  | 7: 1097109 | 1097109 | 1097109
OTHERS | [13 empty] | 0 | 0
[14 empty] | 0 | 0
Station Service Shops |  | 7: 25440 | 25440 | 25440
Station Service Office | [13 empty] | 0 | 0
Fuel Tanks SS | [13 empty] | 0 | 0
Switch Yard SS |  | 7: 159360 | 159360 | 159360
[14 empty] | 0 | 0
[14 empty] | 0 | 0
TOTAL OTHERS |  | 7: 184800 | 184800 | 184800
[14 empty] | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
SwitchGear Bkr1 SS |  | 7: 1126712.5 | 1126712.5 | 1126712.5
SwitchGear Bkr3 SS |  | 7: 301288.25 | 301288.25 | 301288.25
[14 empty] | 0 | 0
Total |  | 7: 1428000.75 | 1428000.75 | 1428000.75
Total SS from GAC |  | 7: 9840 | 9840 | 9840
Total Station Service Power |  | 7: 1327559 | 1327559 | 1327559
Total Unit #11 SS (Not Plant) | [13 empty] | 0 | 0
Total Unit #10 SS (Not Plant) | [13 empty] | 0 | 0
[14 empty] | 0 | 0
TOTAL STATION POWER |  | 7: 1786153 | 1786153 | 1786153
KWH | [13 empty] | 0
ENERGY DISTRIBUTION | [13 empty] | 0
0
0
0
0
GROSS ENERGY DISTRIBUTION | [13 empty] | 0
Gross Electric Energy Produced |  | 7: 0 | 0
Gross Energy Used in Water Plants |  | 7: 0 | 0
PLANT TOTAL GROSS ENERGY USED |  | 7: 0 | 0
0
NET ENERGY DISTRIBUTION | [13 empty] | 0
Net Electricity to Distribution |  | 7: 0 | 0
Net Energy used on water to distribution |  | 7: 0 | 0
PLANT TOTAL NET ENERGY USED |  | 7: 0 | 0
0
Plant Service / Gross Output |  | 7: 0 | 0
0
BTU's | [13 empty] | 0
Fuel No. 2 Consumed (BTU's) |  | 7: 0 | 0
Fuel No. 6 Consumed (BTU's) |  | 7: 0 | 0
TOTAL ENERGY IN FUEL |  | 7: 0 | 0
0
GROSS ENERGY DISTRIBUTION | [13 empty] | 0
Gross Electric Energy Produced |  | 7: 0 | 0
Gross Energy Used in Water Plants |  | 7: 0 | 0
PLANT TOTAL GROSS ENERGY USED |  | 7: 0 | 0
0
NET ENERGY DISTRIBUTION | [13 empty] | 0
Net Electricity to Distribution |  | 7: 0 | 0
Net Energy used on water to distribution |  | 7: 0 | 0
PLANT TOTAL NET ENERGY USED |  | 7: 0 | 0
0
Plant Service / NET Output |  | 7: 0 | 0
0
EFFICIENCY | [13 empty] | 0
0
Gross Efficiency | [13 empty] | 0
Electric Generating Plant Only |  | 7: 0 | 0
Water Desalination Plant only |  | 7: 0 | 0
Combined Generating and Water Plant |  | 7: 0 | 0
0
Net Efficiency | [13 empty] | 0
Electric Generating Plant Only |  | 7: 0 | 0
Water Desalination Plant only |  | 7: 0 | 0
Combined Generating and Water Plant |  | 7: 0 | 0
0
Heat Rates BTU/KWH | [13 empty] | 0
0
Gross Heat Rate | [13 empty] | 0
Electric Generating Plant Only |  | 7: 0 | 0
Water Desalination Plant only |  | 7: 0 | 0
Combined Generating and Water Plant |  | 7: 0 | 0
0
Net Heat Rate | [13 empty] | 0
Electric Generating Plant Only |  | 7: 0 | 0
Water Desalination Plant only |  | 7: 0 | 0
Combined Generating and Water Plant |  | 7: 0 | 0
[14 empty] | 0 | 0
pag4 | [13 empty] | 0 | 0
Desalination Plants Summary | [13 empty] | 0 | 0
Unit Service HRS | [13 empty] | 0 | 0
IDE 3 |  | 7: 0 | 0 | 0
IDE 4 |  | 7: 0 | 0 | 0
IDE 5 |  | 7: 0 | 0 | 0
IDE 9 |  | 7: 0 | 0 | 0
Unit Output GALS | [13 empty] | 0 | 0
IDE 3 |  | 7: 0 | 0 | 0
IDE 4 |  | 7: 0 | 0 | 0
IDE 5 |  | 7: 0 | 0 | 0
IDE 9 |  | 7: 0 | 0 | 0
From TC |  | 7: 0 | 0 | 0
RO WAPA Meter |  | 7: 0 | 0 | 0
RO 7Seas water Meter 1 |  | 7: 37516000 | 37516000 | 37516000
RO 7Seas water Meter 2 |  | 7: 37390000 | 37390000 | 37390000
RO Meter Average |  | 7: 37453000 | 37453000 | 37453000
RO 7Seas ANNEXwater Meter 1 |  | 7: 53489000
RO 7Seas ANNEX water Meter 2 |  | 7: 53630000
RO 7Seas ANNEX water Meter 3 |  | 7: 53484000
RO Meter Average |  | 7: 53534333.3333 | 53534333.3333 | 53534333.3333
STX TOTALS |  | 7: 90987333.3333 | 90987333.3333 | 90987333.3333
Unit Cond LBS | [13 empty] | 0 | 0
IDE 3 |  | 7: 0 | 0 | 0
IDE 4 |  | 7: 0 | 0 | 0
IDE 5 |  | 7: 0 | 0 | 0
IDE 9 |  | 7: 0 | 0 | 0
STX TOTALS |  | 7: 0 | 0 | 0
Unit LP Steam LBS | [13 empty] | 0 | 0
[14 empty] | 0 | 0
IDE 3 |  | 7: 0 | 0 | 0
IDE 4 |  | 7: 0 | 0 | 0
IDE 5 |  | 7: 0 | 0 | 0
IDE 9 |  | 7: 0 | 0 | 0
STX TOTALS |  | 7: 0 | 0 | 0
Unit HP Steam LBS | [13 empty] | 0 | 0
IDE 3 |  | 7: 0 | 0 | 0
IDE 4 |  | 7: 0 | 0 | 0
IDE 5 |  | 7: 0 | 0 | 0
IDE 9 |  | 7: 0 | 0 | 0
STT TOTALS |  | 7: 0 | 0 | 0
Unit Utilization Factor Percent | [13 empty] | 0% | 0%
IDE 3 | [13 empty] | 0% | 0% | bar: 7
IDE 4 | [13 empty] | 0% | 0% | bar: 7
IDE 5 | [13 empty] | 0% | 0% | bar: 7
IDE 9 |  | 7: 0 | 0% | 0%
Boilers Summary | [13 empty] | 0 | 0
Service Hrs | [13 empty] | 0 | 0
WHB 21 |  | 7: 0 | 0 | 0
HRSG 24 |  | 7: 0 | 0 | 0
Boiler 11 |  | 7: 0 | 0 | 0
This Month Gals | [13 empty] | 0 | 0
WHB 21 |  | 7: 0 | 0 | 0
HRSG 24 |  | 7: 0 | 0 | 0
Boiler 11 |  | 7: 0 | 0 | 0
TOTALS |  | 7: 0 | 0 | 0
This Month LP STM LBS | [13 empty] | 0 | 0
WHB 21 |  | 7: 0 | 0 | 0
HRSG 24 |  | 7: 0 | 0 | 0
Boiler 11 | [13 empty] | 0 | 0
TOTALS |  | 7: 0 | 0 | 0
This Month HP STM LBS | [13 empty] | 0 | 0
WHB 21 |  | 7: 0 | 0 | 0
HRSG 24 |  | 7: 0 | 0 | 0
0
Boiler 11 |  | 7: 0 | 0 | 0
TOTALS |  | 7: 0 | 0 | 0
Water Distribution | [13 empty] | 0 | 0
Total Water Produced |  | 7: 90987333.3333 | 90987333.3333 | 90987333.3333
Total to Distribution Tank |  | 7: 89206406.6667 | 89206406.6667 | 89206406.6667
Apparent Station Use |  | 7: 1780926.6667 | 1780926.6667 | 1780926.6667
Water to day Tank (Booster) Plus UPW Product |  | 7: 1151333.3333 | 1151333.3333 | 1151333.3333
Water to the Demineralizer(regen) |  | 7: 0 | 0 | 0
Boilers Make Up |  | 7: 0 | 0 | 0
Unit 16 Noxwater |  | 7: 0 | 0 | 0
Unit 17 Noxwater |  | 7: 8237911.2549 | 8237911.2549 | 8237911.2549
Unit 19 Noxwater |  | 7: 136276.123 | 136276.123 | 136276.123
Unit 20 Noxwater |  | 7: 0 | 0 | 0
Total Wtr to NOX |  | 7: 1007500 | 1007500 | 1007500
Station Wtr Warehouse & Eng. |  | 7: 0 | 0 | 0
Plant Service Water |  | 7: 26900 | 26900 | 26900
Admin. Off. Water |  | 7: 0 | 0 | 0
WTR to Fire Hydrants |  | 7: 0 | 0 | 0
Total Water Used |  | 7: 1780926.6667 | 1780926.6667 | 1780926.6667
Unaccountable Water |  | 7: 0 | 0 | 0
Steam Summary | [13 empty] | 0 | 0
LP Steam LBS | [13 empty] | 0 | 0
Total Steam Produced |  | 7: 0 | 0 | 0
From Steam Turbine 10 |  | 7: 0 | 0 | 0
From Steam Turbine 11 |  | 7: 0 | 0 | 0
[14 empty] | 0 | 0
HP STM to IDE's Ejectors | [13 empty] | 0 | 0
LP STM to IDE's Process |  | 7: 0 | 0 | 0
Used Steam for Production |  | 7: 0 | 0 | 0
[14 empty] | 0 | 0
Others uses & Deareator |  | 7: 0 | 0 | 0
HP Steam LBS | [13 empty] | 0 | 0
Total Steam Produced |  | 7: 0 | 0 | 0
To Steam Turbine 10 |  | 7: 0 | 0 | 0
To Steam Turbine 11 |  | 7: 0 | 0 | 0
From Steam Turbines |  | 7: 0 | 0 | 0
HP STM to IDE's Ejectors |  | 7: 0 | 0 | 0
LP STM to IDE's Process | [13 empty] | 0 | 0
Used Steam for Production |  | 7: 0 | 0 | 0
[14 empty] | 0 | 0
Others uses & Deareator |  | 7: 0 | 0 | 0
Boiler MUF from MUF Meters |  | 7: 0 | 0 | 0
Boiler MUF from Desal Unit HPSTM Meters |  | 7: 0 | 0 | 0
Boilers MUF per Desal Design Quantities |  | 7: 0 | 0 | 0
LPSTM to Desal/Condensate Return | [13 empty] | 0% | 0% | bar: 7
Boiler 10 MUF/HPSTM Generated | [13 empty] | 0% | 0%
Boiler 11 MUF/HPSTM Generated |  | 7: N/A | 0% | 0%
WHB MUF / HP & LPSTM Generated |  | 7: N/A | 0 | 0
[14 empty] | 0% | 0%
pag5 | [13 empty] | 0% | 0%
Feeder KWH | [13 empty] | 0 | 0
Feeder # 1 (13Kv) |  | 7: 1360494.62 | 1360494.62 | 1360494.62
Feeder # 2 (13 Kv) |  | 7: 3241831.56 | 3241831.56 | 3241831.56
Feeder # 3 (13(Kv) |  | 7: 1111674 | 1111674 | 1111674
Feeder # 4 (13 Kv) |  | 7: 1542316.75 | 1542316.75 | 1542316.75
Feeder # 5 (13 Kv) |  | 7: 3890000 | 3890000 | 3890000
Feeder # 6 (13 Kv) |  | 7: 2272777 | 2272777 | 2272777
Feeder # 9A (13 Kv) |  | 7: 0 | 0 | 0
Feeder # 6B (24 Kv) |  | 7: 0 | 0 | 0
Feeder # 8 (24 Kv) |  | 7: 4999139.5 | 4999139.5 | 4999139.5
Feeder # 9B (24Kv) |  | 7: 4274225.25 | 4274225.25 | 4274225.25
Feeder # 10A (24 Kv) |  | 7: 0 | 0 | 0
Feeder # 10 (24 Kv) |  | 7: 1532181 | 1532181 | 1532181
TOTALS |  | 7: 24224639.68 | 24224639.68 | 24224639.68
Feeder Planned Outages | [13 empty] | 0 | 0
Feeder # 1 (13Kv) |  | 7: 0 | 0 | 0
Feeder # 2 (13 Kv) |  | 7: 0 | 0 | 0
Feeder # 3 (13(Kv) |  | 7: 0 | 0 | 0
Feeder # 4 (13 Kv) |  | 7: 0 | 0 | 0
Feeder # 5 (13 Kv) |  | 7: 0 | 0 | 0
Feeder # 6 (13 Kv) |  | 7: 0 | 0 | 0
Feeder # 6B (24 Kv) |  | 7: 0
Feeder # 8 (24 Kv) |  | 7: 0 | 0 | 0
Feeder # 9 (24Kv) |  | 7: 0 | 0 | 0
Feeder # 10 (24 Kv) |  | 7: 0 | 0 | 0
TOTALS |  | 7: 0 | 0 | 0
Feeder Forced Outages | [13 empty] | 0 | 0
Feeder # 1 (13Kv) | [13 empty] | 1 | 1 | bar: 7
Feeder # 2 (13 Kv) |  | 7: 9 | 9 | 9
Feeder # 3 (13(Kv) | [13 empty] | 1 | 1 | bar: 7
Feeder # 4 (13 Kv) | [13 empty] | 1 | 1 | bar: 7
Feeder # 5 (13 Kv) | [13 empty] | 1 | 1 | bar: 7
Feeder # 6 (13 Kv) | [13 empty] | 1 | 1 | bar: 7
Feeder # 6B (24 Kv) |  | 7: 0
Feeder # 8 (24 Kv) |  | 7: 4 | 4 | 4
Feeder # 9 (24Kv) |  | 7: 2 | 2 | 2
Feeder # 10 (24 Kv) |  | 7: 0 | 0 | 0
TOTALS |  | 7: 20 | 20 | 20
Feeder Total Outages HRS | [13 empty] | 0 | 0
Feeder # 1 (13Kv) |  | 7: 0.41667 | 0.41667 | 0.41667
Feeder # 2 (13 Kv) |  | 7: 1.75 | 1.75 | 1.75
Feeder # 3 (13(Kv) |  | 7: 0.43333 | 0.43333 | 0.43333
Feeder # 4 (13 Kv) |  | 7: 0.81667 | 0.81667 | 0.81667
Feeder # 5 (13 Kv) |  | 7: 0.41667 | 0.41667 | 0.41667
Feeder # 6 (13 Kv) |  | 7: 0.83333 | 0.83333 | 0.83333
Feeder # 6B (24 Kv) |  | 7: 0
Feeder # 8 (24 Kv) |  | 7: 1.3833 | 1.3833 | 1.3833
Feeder # 9 (24Kv) |  | 7: 2.1 | 2.1 | 2.1
Feeder # 10 (24 Kv) |  | 7: 0 | 0 | 0
Feeder loss sales KWH | [13 empty] | 0 | 0
Feeder # 1 (13Kv) |  | 7: 762.3527 | 762.3527 | 762.3527
Feeder # 2 (13 Kv) |  | 7: 7643.2539 | 7643.2539 | 7643.2539
Feeder # 3 (13(Kv) |  | 7: 647.8577 | 647.8577 | 647.8577
Feeder # 4 (13 Kv) |  | 7: 1694.8156 | 1694.8156 | 1694.8156
Feeder # 5 (13 Kv) |  | 7: 2179.7602 | 2179.7602 | 2179.7602
Feeder # 6 (13 Kv) |  | 7: 2548.5277 | 2548.5277 | 2548.5277
Feeder # 6B (24 Kv) |  | 7: 0
Feeder # 8 (24 Kv) |  | 7: 9312.3096 | 9312.3096 | 9312.3096
Feeder # 9 (24Kv) |  | 7: 12098.4944 | 12098.4944 | 12098.4944
Feeder # 10 (24 Kv) |  | 7: 0 | 0 | 0
TOTALS |  | 7: 36887.3718 | 36887.3718 | 36887.3718
Plant Feeder Total Planned Outages | [13 empty] | 0 | 0
Feeder # 1 |  | 7: 0 | 0 | 0
Feeder # 2 |  | 7: 0 | 0 | 0
Feeder # 3 |  | 7: 0 | 0 | 0
Feeder # 4 |  | 7: 0 | 0 | 0
Feeder # 5 |  | 7: 0 | 0 | 0
Feeder # 6 |  | 7: 0 | 0 | 0
Feeder # 6B (24 Kv)
Feeder # 8 |  | 7: 0 | 0 | 0
Feeder # 9 |  | 7: 0 | 0 | 0
Feeder # 10 |  | 7: 0 | 0 | 0
TOTALS |  | 7: 0 | 0 | 0
Plant Feeder Total Forced Outages | [13 empty] | 0 | 0
Feeder # 1 |  | 7: 0 | 0 | 0
Feeder # 2 |  | 7: 9 | 9 | 9
Feeder # 3 |  | 7: 0 | 0 | 0
Feeder # 4 |  | 7: 0 | 0 | 0
Feeder # 5 |  | 7: 0 | 0 | 0
Feeder # 6 |  | 7: 0 | 0 | 0
Feeder # 6B (24 Kv)
Feeder # 8 |  | 7: 4 | 4 | 4
Feeder # 9 |  | 7: 2 | 2 | 2
Feeder # 10 |  | 7: 0 | 0 | 0
TOTALS |  | 7: 15 | 15 | 15
Plant Feeder Total Outages Time | [13 empty] | 0 | 0
Feeder # 1 |  | 7: 0.41667 | 0.41667 | 0.41667
Feeder # 2 |  | 7: 1.75 | 1.75 | 1.75
Feeder # 3 |  | 7: 0.43333 | 0.43333 | 0.43333
Feeder # 4 |  | 7: 0.81667 | 0.81667 | 0.81667
Feeder # 5 |  | 7: 0.41667 | 0.41667 | 0.41667
Feeder # 6 |  | 7: 0.83333 | 0.83333 | 0.83333
Feeder # 6B (24 Kv)
Feeder # 8 |  | 7: 1.3833 | 1.3833 | 1.3833
Feeder # 9 |  | 7: 2.1 | 2.1 | 2.1
Feeder # 10 |  | 7: 0 | 0 | 0
TOTALS | [13 empty] | 0 | 0
Plant Feeder Total Loss sales | [13 empty] | 0 | 0
Feeder # 1 |  | 7: 762.3527 | 762.3527 | 762.3527
Feeder # 2 |  | 7: 7643.2539 | 7643.2539 | 7643.2539
Feeder # 3 |  | 7: 647.8577 | 647.8577 | 647.8577
Feeder # 4 |  | 7: 1694.8156 | 1694.8156 | 1694.8156
Feeder # 5 |  | 7: 2179.7602 | 2179.7602 | 2179.7602
Feeder # 6 |  | 7: 2548.5277 | 2548.5277 | 2548.5277
Feeder # 6B (24 Kv)
Feeder # 8 |  | 7: 9312.3096 | 9312.3096 | 9312.3096
Feeder # 9 |  | 7: 12098.4944 | 12098.4944 | 12098.4944
Feeder # 10 |  | 7: 0 | 0 | 0
TOTALS |  | 7: 36887.3718 | 36887.3718 | 36887.3718
Line Feeder Total Planned Outages | [13 empty] | 0 | 0
Feeder # 1 |  | 7: 0 | 0 | 0
Feeder # 2 |  | 7: 0 | 0 | 0
Feeder # 3 |  | 7: 0 | 0 | 0
Feeder # 4 |  | 7: 0 | 0 | 0
Feeder # 5 |  | 7: 0 | 0 | 0
Feeder # 6 |  | 7: 0 | 0 | 0
Feeder # 6B (24 Kv)
Feeder # 8 |  | 7: 0 | 0 | 0
Feeder # 9 |  | 7: 0 | 0 | 0
Feeder # 10 |  | 7: 0 | 0 | 0
TOTALS |  | 7: 0 | 0 | 0
Line Feeder Total Forced Outages | [13 empty] | 0 | 0
Feeder # 1 | [13 empty] | 1 | 1 | bar: 7
Feeder # 2 |  | 7: 0 | 0 | 0
Feeder # 3 | [13 empty] | 1 | 1 | bar: 7
Feeder # 4 | [13 empty] | 1 | 1 | bar: 7
Feeder # 5 | [13 empty] | 1 | 1 | bar: 7
Feeder # 6 | [13 empty] | 1 | 1 | bar: 7
Feeder # 6B (24 Kv)
Feeder # 8 |  | 7: 0 | 0 | 0
Feeder # 9 |  | 7: 0 | 0 | 0
Feeder # 10 |  | 7: 0 | 0 | 0
TOTALS |  | 7: 5 | 5 | 5
Line Feeder Total Outages Time | [13 empty] | 0 | 0
Feeder # 1 |  | 7: 0 | 0 | 0
Feeder # 2 |  | 7: 0 | 0 | 0
Feeder # 3 |  | 7: 0 | 0 | 0
Feeder # 4 |  | 7: 0 | 0 | 0
Feeder # 5 |  | 7: 0 | 0 | 0
Feeder # 6 |  | 7: 0 | 0 | 0
Feeder # 6B (24 Kv)
Feeder # 8 |  | 7: 0 | 0 | 0
Feeder # 9 |  | 7: 0 | 0 | 0
Feeder # 10 |  | 7: 0 | 0 | 0
TOTALS | [13 empty] | 0 | 0
Line Feeder Total Loss sales | [13 empty] | 0 | 0
Feeder # 1 |  | 7: 0 | 0 | 0
Feeder # 2 |  | 7: 0 | 0 | 0
Feeder # 3 |  | 7: 0 | 0 | 0
Feeder # 4 |  | 7: 0 | 0 | 0
Feeder # 5 |  | 7: 0 | 0 | 0
Feeder # 6 |  | 7: 0 | 0 | 0
Feeder # 6B (24 Kv)
Feeder # 8 |  | 7: 0 | 0 | 0
Feeder # 9 |  | 7: 0 | 0 | 0
Feeder # 10 |  | 7: 0 | 0 | 0
TOTALS |  | 7: 0 | 0 | 0
pag6 | [13 empty] | 0 | 0
Units Outages | [13 empty] | 0 | 0
Unit 10 ST | [13 empty] | 1 | 1 | bar: 7
Unit 11 ST | [13 empty] | 1 | 1 | bar: 7
Unit 11 BLR | [13 empty] | 1 | 1 | bar: 7
Unit 16 |  | 7: 0 | 0 | 0
Unit 17 | [13 empty] | 1 | 1 | bar: 7
Unit 19 |  | 7: 0 | 0 | 0
Unit 20 | [13 empty] | 1 | 1 | bar: 7
Aggreko |  | 7: 0 | 0 | 0
IDE 3 |  | 7: 0 | 0 | 0
IDE 4 |  | 7: 0 | 0 | 0
IDE 5 |  | 7: 0 | 0 | 0
IDE 9 |  | 7: 0 | 0 | 0
HRSG 21 | [13 empty] | 1 | 1 | bar: 7
HRSG 24 |  | 7: 0
Units Outages Duration | [13 empty] | 0 | 0
Unit 10 ST |  | 7: 744 | 744 | 744
Unit 11 ST |  | 7: 744 | 744 | 744
Unit 11 BLR |  | 7: 744 | 744 | 744
Unit 16 |  | 7: 744 | 744 | 744
Unit 17 |  | 7: 0 | 0 | 0
Unit 19 |  | 7: 0 | 0 | 0
Unit 20 |  | 7: 744 | 744 | 744
Aggreko |  | 7: 0 | 0 | 0
IDE 3 |  | 7: 0 | 0 | 0
IDE 4 |  | 7: 0 | 0 | 0
IDE 5 |  | 7: 0 | 0 | 0
IDE 9 |  | 7: 0 | 0 | 0
HRSG 21 |  | 7: 744 | 744 | 744
HRSG 24 |  | 7: 0 | 0 | 0
Unit Planned Outages | [13 empty] | 0 | 0
Unit 10 ST | [13 empty] | 1 | 1 | bar: 7
Unit 11 ST | [13 empty] | 1 | 1 | bar: 7
Unit 11 BLR | [13 empty] | 1 | 1 | bar: 7
Unit 16 |  | 7: 0 | 0 | 0
Unit 17 | [13 empty] | 1 | 1 | bar: 7
Unit 19 |  | 7: 0 | 0 | 0
Unit 20 | [13 empty] | 1 | 1 | bar: 7
Aggreko |  | 7: 0 | 0 | 0
IDE 3 |  | 7: 0 | 0 | 0
IDE 4 |  | 7: 0 | 0 | 0
IDE 5 |  | 7: 0 | 0 | 0
IDE 9 |  | 7: 0 | 0 | 0
HRSG 21 | [13 empty] | 1 | 1 | bar: 7
HRSG 24 |  | 7: 0
Unit Planned Outages Duration | [13 empty] | 0 | 0
Unit 10 ST |  | 7: 744 | 744 | 744
Unit 11 ST |  | 7: 744 | 744 | 744
Unit 11 BLR |  | 7: 744 | 744 | 744
Unit 16 |  | 7: 744 | 744 | 744
Unit 17 |  | 7: 0 | 0 | 0
Unit 19 |  | 7: 0 | 0 | 0
Unit 20 |  | 7: 744 | 744 | 744
Aggreko |  | 7: 0 | 0 | 0
IDE 3 |  | 7: 0 | 0 | 0
IDE 4 |  | 7: 0 | 0 | 0
IDE 5 |  | 7: 0 | 0 | 0
IDE 9 |  | 7: 0 | 0 | 0
HRSG 21 |  | 7: 744 | 744 | 744
HRSG 24 |  | 7: 0
Unit Forced Outages |  | 7: 0 | 0 | 0
Unit 10 ST |  | 7: 0 | 0 | 0
Unit 11 ST |  | 7: 0 | 0 | 0
Unit 11 BLR |  | 7: 0 | 0 | 0
Unit 16 |  | 7: 0 | 0 | 0
Unit 17 |  | 7: 0 | 0 | 0
Unit 19 |  | 7: 0 | 0 | 0
Unit 20 |  | 7: 0 | 0 | 0
Aggreko |  | 7: 0 | 0 | 0
IDE 3 |  | 7: 0 | 0 | 0
IDE 4 |  | 7: 0 | 0 | 0
IDE 5 |  | 7: 0 | 0 | 0
IDE 9 |  | 7: 0 | 0 | 0
HRSG 21 |  | 7: 0 | 0 | 0
HRSG 24 |  | 7: 0
Unit Forced Outages Duration |  | 7: 0 | 0 | 0
Unit 10 ST |  | 7: 0 | 0 | 0
Unit 11 ST |  | 7: 0 | 0 | 0
Unit 11 BLR |  | 7: 0 | 0 | 0
Unit 16 |  | 7: 0 | 0 | 0
Unit 17 |  | 7: 0 | 0 | 0
Unit 19 |  | 7: 0 | 0 | 0
Unit 20 |  | 7: 0 | 0 | 0
Aggreko |  | 7: 0 | 0 | 0
IDE 3 |  | 7: 0 | 0 | 0
IDE 4 |  | 7: 0 | 0 | 0
IDE 5 |  | 7: 0 | 0 | 0
IDE 9 |  | 7: 0 | 0 | 0
HRSG 21 |  | 7: 0 | 0 | 0
HRSG 24 |  | 7: 0
Plant Power Distribution | [13 empty] | 0 | 0
Total 13KV Feeders |  | 7: 13419093.93 | 13419093.93 | 13419093.93
Total 24KV Feeders |  | 7: 10805545.75 | 10805545.75 | 10805545.75
Feeder Totals |  | 7: 24224639.68 | 24224639.68 | 24224639.68
Total Generation |  | 7: 25719989.5 | 25719989.5 | 25719989.5
24 KV BUS at XFMR-1 (T1) |  | 7: 66909.75 | 66909.75 | 66909.75
24 KV BUS at XFMR-2 (T2) |  | 7: 0 | 0 | 0
24 KV BUS at XFMR-3 (T3) |  | 7: 0 | 0 | 0
XFMR T1 in |  | 7: 66510
XFMR T1 out |  | 7: 4351087
XFMR T3 in |  | 7: 0
XFMR T3 out |  | 7: 0
XFMR T4in (from #16) |  | 7: 0
XFMR T4 out ( |  | 7: 0
XFMR T5 in (from #20) |  | 7: 0
XFMR T5 out |  | 7: 5558411
T1 &T3&T4 & T5 Available |  | 7: 9976008 | 9976008 | 9976008
T1 &T3 & T4 & T5 Losses |  | 7: 47669.07 | 47669.07 | 47669.07
Net Distributed |  | 7: 25672320.43 | 25672320.43 | 25672320.43
Line Department |  | 7: 0 | 0 | 0
Water Department |  | 7: 0 | 0 | 0
Power Plant Services |  | 7: 0 | 0 | 0
Administration & General |  | 7: 0 | 0 | 0
Plant Station Service |  | 7: 0 | 0 | 0
Net Available from Bus |  | 7: 0 | 0 | 0
Wapa KWH From Dist |  | 7: 0 | 0 | 0
SwitchGear Bkr1 SS |  | 7: 1126712.5 | 1126712.5 | 1126712.5
SwitchGear Bkr3 SS |  | 7: 301288.25 | 301288.25 | 301288.25
Total Station Service Power |  | 7: 1437840.75 | 1437840.75 | 1437840.75
Net KWH Available for Sale |  | 7: 24234479.68 | 24234479.68 | 24234479.68
Plant Unaccountable |  | 7: 0
Peak Load: |  | 7: 41080 | 41080 | 41080
Day |  | 7: Thursday |  | 0
Date |  | 7: 2020-07-02
Hour |  | 7: 19:20
Min Load |  | 7: 27650 | 27650 | 27650
Day |  | 7: Sunday
Date |  | 7: 2020-07-19
Hour |  | 7: 6:00 |  | 6:00
Pag 7
No 6 Fuel For Power |  | 7: 0 | 0 | 0
No 6 Fuel For Water |  | 7: 0 | 0 | 0
No 2 Fuel For Power |  | 7: 5520.1249 | 5520.1249 | 5520.1249
No 2 Fuel For Water |  | 7: 0 | 0 | 0
O&M Factor for Water |  | 7: 0 | 0 | 0
BLR11FUEL2COST |  | 7: 0 | 0 | 0
Firing | [13 empty] | 0 | 0
WHBSFCAE |  | 7: 0 | 0 | 0
Power Boilers | [13 empty] | 0 | 0
[14 empty] | 0 | 0
TPBSFC | [13 empty] | 0 | 0
BLR11FUELCOST |  | 7: 0 | 0 | 0
Combined Cycle | [13 empty] | 0 | 0
WHB, 16 & 17 | [13 empty] | 0 | 0
TGTFC | [13 empty] | 0 | 0
GEN161720FUELCOST |  | 7: 1999545.5291 | 1999545.5291 | 1999545.5291
Simple Cycle | [13 empty] | 0 | 0
12 & 14 & 22 | [13 empty] | 0 | 0
GEN 19FUELCOST |  | 7: 343756.9591 | 343756.9591 | 343756.9591
DIESEL | [13 empty] | 0 | 0
7 St. John | [13 empty] | 0 | 0
DIESEL_EMER. |  | 7: 0 | 0 | 0
GT Fuel Allocation | [13 empty] | 0 | 0
HP Stm from WHB | [13 empty] | 0 | 0
GTFCAE | [13 empty] | 0 | 0
WHBHPSTMCOST |  | 7: 0 | 0 | 0
whb Benefit | [13 empty] | 0 | 0
Equalization to Water | [13 empty] | 0 | 0
WHBBECW | [13 empty] | 0 | 0
WHBBENCOSTWTR |  | 7: 0 | 0 | 0
Extraction Benefit | [13 empty] | 0 | 0
Equalization to Water | [13 empty] | 0 | 0
BECW | [13 empty] | 0 | 0
BENEQFCOSTWTR |  | 7: 0 | 0 | 0
Gas Turbine | [13 empty] | 0 | 0
Power Allocation | [13 empty] | 0 | 0
GTFCA | [13 empty] | 0 | 0
GEN161720ADJFCOST |  | 7: 1999545.5291 | 1999545.5291 | 1999545.5291
Extraction Incremental | [13 empty] | 0 | 0
to Water | [13 empty] | 0 | 0
FCAWI | [13 empty] | 0 | 0
INCRFUELCOSTWTR |  | 7: 0 | 0 | 0
GT Fuel Allocation | [13 empty] | 0 | 0
LP Stm from WHB | [13 empty] | 0 | 0
WHBFCAW | [13 empty] | 0 | 0
WHBLPSTMCOST |  | 7: 0 | 0 | 0
Electrc Power | [13 empty] | 0 | 0
Generation | [13 empty] | 0 | 0
TOTFUELCOSTPWR |  | 7: 3713314.5045 | 3713314.5045 | 3713314.5045
RO Electricity cost |  | 7: 70963.9268 | 70963.9268 | 70963.9268
UPW Electicity Cost |  | 7: 2771.5908 | 2771.5908 | 2771.5908
RO Annex Electricity cost |  | 7: 96033.7397
TOTFUELCSRWTR |  | 7: 166997.6665 | 166997.6665 | 166997.6665
Pag8 | [13 empty] | 0 | 0
No 2 BBLS | [13 empty] | 0 | 0
Inventory-Beginning of Month |  | 7: 39740.5629 | 39740.5629 | 39740.5629
Received During Month |  | 7: 0 | 0 | 0
Consumed During Month |  | 7: 5520.1249 | 5520.1249 | 5520.1249
Inventory-End of Month |  | 7: 34220.4379 | 34220.4379 | 34220.4379
Calorific Value (BTU/GAL) |  | 7: 136784.2908 | 136784.2908 | 136784.2908
Calorific Value (BTU/GAL) |  | 7: 136784.2908 | 136784.2908 | 136784.2908
No 6 BBLS | [13 empty] | 0 | 0
Inventory-Beginning of Month |  | 7: 0 | 0 | 0
Received During Month |  | 7: 0 | 0 | 0
Consumed During Month |  | 7: 0 | 0 | 0
Inventory-End of Month |  | 7: 0 | 0 | 0
Calorific Value (BTU/GAL) |  | 7: 0 | 0 | 0
PROPANE
Propane Value (BTU/Gal) |  | 7: 91567
End of Month- Fuel in Tanks | [13 empty] | 0 | 0
No 2 BBLS | [13 empty] | 0 | 0
Tank 1 #2 |  | 7: 0 | 0 | 0
Tank 2 #2 |  | 7: 0 | 0 | 0
Tank 5 #2 |  | 7: 8440.91 | 8440.91 | 8440.91
Tank 6 #2 |  | 7: 17422.64 | 17422.64 | 17422.64
TOTAL |  | 7: 34220.44 | 34220.44 | 34220.44
No 6 BBLS | [13 empty] | 0 | 0
Tank 3 #2 |  | 7: 4452.57 | 4452.57 | 4452.57
Tank 4 #6 |  | 7: 3904.33 | 3904.33 | 3904.33
Tank 7 #6 |  | 7: 0 | 0 | 0
TOTAL |  | 7: 0 | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
Fuel Shipments | [13 empty] | 0 | 0
Date(1) |  | 7: 0 | 0 | 0
No2 BBLS |  | 7: 0 | 0 | 0
Date(2) |  | 7: 0 | 0 | 0
No2 BBLS |  | 7: 0 | 0 | 0
Date(3) |  | 7: 0 | 0 | 0
No2 BBLS |  | 7: 0 | 0 | 0
Date(4) |  | 7: 0 | 0 | 0
No2 BBLS |  | 7: 0 | 0 | 0
Date(5) |  | 7: 0 | 0 | 0
No2 BBLS |  | 7: 0 | 0 | 0
Date(6) |  | 7: 0 | 0 | 0
No2 BBLS |  | 7: 0 | 0 | 0
Date(7) |  | 7: 0 | 0 | 0
No2 BBLS |  | 7: 0 | 0 | 0
Date(8) |  | 7: 0 | 0 | 0
No2 BBLS |  | 7: 0 | 0 | 0
Date(9) |  | 7: 0 | 0 | 0
No2 BBLS |  | 7: 0 | 0 | 0
TOTAL SHIPMENTS No 2 |  | 7: 0 | 0 | 0
Date(1) |  | 7: 0 | 0 | 0
No6 BBLS |  | 7: 0 | 0 | 0
Date(2) |  | 7: 0 | 0 | 0
No6 BBLS |  | 7: 0 | 0 | 0
Date(3) |  | 7: 0 | 0 | 0
No6 BBLS |  | 7: 0 | 0 | 0
Date(4) |  | 7: 0 | 0 | 0
No6 BBLS |  | 7: 0 | 0 | 0
Date(5) |  | 7: 0 | 0 | 0
No6 BBLS |  | 7: 0 | 0 | 0
Date(6) |  | 7: 0 | 0 | 0
No6 BBLS |  | 7: 0 | 0 | 0
Date(7) |  | 7: 0 | 0 | 0
No6 BBLS |  | 7: 0 | 0 | 0
Date(8) |  | 7: 0 | 0 | 0
No6 BBLS |  | 7: 0 | 0 | 0
TOTAL SHIPMENTS No 6 |  | 7: 0 | 0 | 0
[14 empty] | 0 | 0
Fuel Allocations Amount | [13 empty] | 0 | 0
Electric Power Generation |  | 7: 3713314.5045 | 3713314.5045 | 3713314.5045
Water Production |  | 7: 166997.6665 | 166997.6665 | 166997.6665
Total #2 Fuel Cost |  | 7: 426605.2954 | 426605.2954 | 426605.2954
BBLS No. 6 for Power |  | 7: 0 | 0 | 0
BBLS No.6 for Water |  | 7: 0 | 0 | 0
BBLS No. 2 for Power |  | 7: 5520.1249 | 5520.1249 | 5520.1249
BBLS No.2 for Water |  | 7: 0 | 0 | 0
No. 6 BBL Cost |  | 7: 71.9034 | 71.9034 | 71.9034
No. 2 BBL Cost |  | 7: 77.2818 | 77.2818 | 77.2818
Propane Cost per Bbl |  | 7: 38.3544
Propane Consumed
Unit 16 |  | 7: 0 | 0
Unit 17 |  | 7: 2098879.9746 | 2098879.9746
Unit 20 |  | 7: 0 | 0 | 0
Aggreko |  | 7: 1683103.0254 | 1683103.0254
No. 2 Units BBLS No. 2 Consumed | [13 empty] | 0 | 0
Unit 10 |  | 7: 0 | 0 | 0
Unit 11 |  | 7: 0 | 0 | 0
Unit 16 |  | 7: 0 | 0 | 0
Unit 17 |  | 7: 1072.0288 | 1072.0288 | 1072.0288
Unit 19 |  | 7: 4448.0961 | 4448.0961 | 4448.0961
Unit 20 |  | 7: 0 | 0 | 0
Diesel Emergency |  | 7: 0 | 0 | 0
Total No. 2 Consumed |  | 7: 5520.1249 | 5520.1249 | 5520.1249
Note on I673: Nicholson: negative

## PR-Pag1
July - 2020
Production Summary |  |  |  |  | Generating Units Heat Rate |  | FYTD | This Month
|  | FYTD | FYTD |  | (Gross Energy in KWH Produced) | This Month | AVG. | %
Item | This Month | AVG. | TOTAL | Units | Units | BTU/KWH | BTU/KWH | Efficiency
Total System Gross Generation** | 25719.9895 | 25719.9895 | 25719.9895 | MWH
Gross Power Plant Generation | 25075.95 | 25075.95 | 25075.95 | MWH
Gross Water Production | 90987.3333 | 90987.3333 | 90987.3333 | KGAL
System Load Factor | 82.05% | 82.05% |  | % | Unit 10-Steam (10 MW) + WHBs* | N/A | N/A | N/A
Total Propane Fuel Cost | 3453706.8756 | 3453706.8756 | 3453706.8756 | $ | Unit 11-Steam (19.1 MW) + WHBs | N/A | N/A | N/A
Total No. 2 Fuel Cost | 426605.2954 | 426605.2954 | 426605.2954 | $ | Unit 16-Gas Turbine (22.5 MW) | 0 | 0 | 0%
Power Fuel Cost (Internal) | 0.15474 | 0.15474 |  | $/KWH | Unit 17-Gas Turbine (21.9 MW) | 19688.36 | 19688.36 | 17.33%
Power Fuel Cost (to bus) | 0.16018 | 0.16018 |  | $/KWH | Unit 19-Gas Turbine (24.5 MW) | 31163.47 | 31163.47 | 10.95%
Water Fuel Cost (Internal) | 1.8354 | 1.8354 |  | $/KGAL | Unit 20_Gas Turbine (24.5 MW) | 0 | 0 | 0%
Water Fuel Cost (to Distribution) | 1.872 | 1.872 |  | $/KGAL | Aggreko (20.0 MW) | 10867.35 | 10867.35 | 31.4%
Total Power Fuel Cost | 3713314.5045 | 3713314.5045 | 3713314.5045 | $ | Total Electric Generation Only | 15074.91 | 0 | 22.63%
Total Water Cost | 166997.6665 | 166997.6665 | 166997.6665 | $ | *Note:Total Electric Generation includes values of steam provided to STG #10 and #11 by HRSGs
Propane consumed | 90047.2143 | 90047.2143 | 90047.2143 | BBLS
No. 2 Fuel Consumed | 5520.1249 | 5520.1249 | 5520.1249 | BBLS
[5 empty] | Power Units Availability |  | FYTD
No. 2 Fuel Received | 0 | 0 | 0 | BBLS |  | This Month | AVG.
[5 empty] | Unit | Percent (%) | Percent (%)
EOM No. 2 Fuel On Hand* | 17.1102 | 17.1102 |  | DAYS
Plant Water Use ( Internal | 15419.311 | 15419.311 | 15419.311 | $ | Unit 10 | 0% | 0%
Plant Power Use (Internal) | 276393.5654 | 276393.5654 | 276393.5654 | $ | Unit 11 | 0% | 0%
7SEAS RO 1 Electricity Cost | 70963.9268 |  |  | $ | Unit 16 | 0% | 0%
7SEAS UPW Electricity Cost | 2771.5908 |  |  | $ | Unit 17 | 100% | 100%
7SEAS RO 2 Electricity Cost | 96033.7397 |  |  | $ | Unit 19 | 100% | 100%
**Note: Includes power generated by solar |  |  |  |  | Unit 20 | 0% | 0%
*Note: Based on 2000Bbl/day consumption |  |  |  |  | Aggreko | 100% | 100%
[5 empty] | HRSG 21 | 0% | 0%
[5 empty] | HRSG 24 | 100% | 100%

## PR-Pag2
July - 2020
Power Generation - Station Power |  | FYTD | TOTAL | Generating Units Average Loading |  |  | FYTD | Utilization
Item | This Month | Monthly | FYTD |  |  | This Month | AVG. | Factor
| KWH | AVG. | KWH | (KWH / Operating Hours) |  | KW | KW | Percent
Steam Turbine Generation | 0 | 0 | 0 | Unit 10 |  | 0 | 0 | 0%
Gas Turbine Generation | 25075950 | 25075950 | 25075950 | Unit 11 |  | 0 | 0 | 0%
Diesel Generation | 0 | 0 | 0 | Unit 16 |  | 0 | 0 | 0%
Total Generation | 25075950 | 25075950 | 25075950 | Unit 17 |  | 13623.1508 | 13623.1508 | 62.21%
Steam Station Power | 0 | 0 | 0 | Unit 19 |  | 4553.0261 | 4553.0261 | 18.58%
Gas Turbine Station Power | 45390 | 45390 | 45390 | Unit 20 |  | 0 | 0 | 0%
Aggreko Station Service | 260 | 260 | 260 | Aggreko |  | 19890 | 19890 | 99.45%
Total Gen. Plant Station Power | 45390 | 45390 | 45390 | Diesel |  | 0 | 0 | 0%
Total Service / Gross Output | 0.181% | 0.181%
IPP1 | 644039.5 | 644039.5 | 644039.5
Total System Generation | 25719989.5 | 25075950 | 25075950
Generating Units Station Power
Generating Units Operating Hours |  | FYTD | TOTAL |  |  | FYTD | TOTAL | This Month | FYTD | FYTD
| This Month | Monthly | FYTD |  | This Month | AVG. | FYTD | SS Power | AVG. | SS Power
Unit | HRS | AVG. | HRS | Unit | KWH | KWH | KWH | KWH | KWH | KWH
Unit 10 | 0 | 0 | 0 | Unit 10 | 0 | 0 | 0 | 0 | 0 | 0
Unit 11 | 0 | 0 | 0 | Unit 11 | 0 | 0 | 0 | 0 | 0 | 0
Unit 16 | 0 | 0 | 0 | Unit 16 | 0 | 0 | 0 | 0 | 0 | 0
Unit 17 | 739.5 | 739.5 | 739.5 | Unit 17 | 10074320 | 10074320 | 10074320 | 2370 | 2370 | 2370
Unit 19 | 180.1 | 180.1 | 180.1 | Unit 19 | 820000 | 820000 | 820000 | 35520 | 35520 | 35520
Unit 20 | 0 | 0 | 0 | Unit 20 | 0 | 0 | 0 | 7500 | 7500 | 7500
Aggreko | 713.003 | 713.003 | 713.003 | Aggreko | 14181630 | 14181630 | 14181630 | 260 | 260 | 260
Diesel Generation(Emergency) | 1 | 1 | 1 | Diesel | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | TOTAL | 25075950 | 25075950 | 25075950 | 45390 | 45390 | 45390

## PR-Pag3
July - 2020
BOILERS/STM. TURBINES | SS | GAS TURBINE | SS | STX. EMERGENCY DIESEL | SS | OTHERS | SS
| Kwh |  | Kwh |  | Kwh |  | Kwh
SS10 Plant Aux. Trans 480V | 0 | Plant SS |  | Diesel | 0 | Station Service Shops | 25440
SS10 Unit Aux.. Trans 480V | 0 | Unit 16 | 0 |  |  | Station Service Office | 0
|  | Unit 17 | 30 |  |  | Fuel Tanks SS | 0
Unit 10 Total Station Power | 0 | Unit 19 | 35520 | TOTAL DIESEL | 0 | Switch Yard SS | 159360
|  | Unit 20 | 0 |  |  | Richmond Sub SS
|  | Aggreko | 260 |  |  | Midland Sub SS
SS11 Plant Aux. Trans 480V | 0 |  |  |  |  | TOTAL OTHERS | 184800
SS11 Unit Aux.. Trans 480V | 0 | Unit SS |  | WATER PLANTS | SS
|  | Unit 16 | 0 |  | Kwh | SwitchGear Bkr1 SS | 1126712.5
Unit 11 Net Total Station Power | 0 | Unit 17 | 2340 | Plant ABC Pump usage | 0 | SwitchGear Bkr3 SS | 301288.25
|  | Unit 19 | 0 |  |  | SS10 Unit Aux Trans. | 0
|  | Unit 20 | 7500 | Intake Pump A&B+Chloropac | 0 | SS11 Unit Aux Trans. | 0
HRSG 21 Station Power | 0 | TOTAL GAS TURBINES | 45650 |  |  | Total GT Unit SS | 9840
HRSG 24 Station Power** | 0 | Plant Pumps |  | RO Plant Electrical Usage | 458594
|  | Intake Pump A | 0 | UPW Electrical Usage | 17911 |  | 1437840.75
|  | Intake Pump B | 0 | RO ANNEX Electrical Usage | 620604
WHB Net Station Power | 0 | Intake Pump C | 0
TOTAL BOILERS / STM TURBINES | 0 |  |  | TOTAL WATER PLANTS | 1097109 | Total Station Service* | 1327559
*Total SS switched to a summaton of individual meters from general 'main' distribution meters summation
** No power to meter

## PR-Pag4
July - 2020
Desalination Plants Summary
|  | FYTD | TOTAL | Units Water Output
| Service | AVG. | FYTD | This Month | FYTD
Unit | HRS | HRS | HRS | GALS | GALS
RO 1 |  |  |  | 37453000 | 37453000
RO 2 |  |  |  | 53534333.3333 | 53534333.3333
STX TOTALS |  |  |  | 90987333.3333 | 90987333.3333
Boilers Summary
|  | Boilers Service Hours |  |  | Make Up Feed Water |  | Low Pressure Steam |  | High Pressure Steam
| Service | AVG. | FYTD | This Month | AVG. | FYTD | This Month | FYTD | This Month | FYTD
Unit | HRS | HRS | HRS | GALS | GALS | GALS | LBS | AVG. | LBS | AVG.
HRSG 21/IPOS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HRSG 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Boiler 11 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
TOTALS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Distribution |  | This Month | FYTD-AVG. | FYTD |  | Steam Summary |  | LP Steam | HP Steam
|  | GALS | GALS | GALS |  | ITEM |  | LBS | LBS
Total Plant Water Produced |  | 90987333.3333 | 90987333.3333 | 90987333.3333 |  | Total Steam Produced |  | 0 | 0
Total Reverse Osmosis Produced |  | 90987333.3333 | 37453000 | 37453000 |  | To Steam Turbine 10 |  |  | 0
Total to Distribution Tank |  | 89206406.6667 | 89206406.6667 | 89206406.6667 |  | To Steam Turbine 11 |  |  | 0
Apparent Station Use |  | 1780926.6667 | 1780926.6667 | 1780926.6667 |  | From Steam Turbine 10 |  | 0 | 0
Water to day Tank |  | 1151333.3333 | 1151333.3333 | 1151333.3333 |  | From Steam Turbine 11 |  | 0
UPW Feed |  | 1754026.6667 | 1754026.6667 | 1754026.6667
UPW Product |  | 1151333.3333 | 1151333.3333 | 1151333.3333 |  | Used Steam for Production |  | 0 | 0
Water to the Demineralizer (Regen) |  | 0 | 0 | 0 |  | Others uses & Deareator |  |  | 0
Boilers Make Up |  | 0 | 0 | 0
Unit 16 Noxwater |  | 0 | 0 | 0
Unit 17 Noxwater |  | 8237911.2549 | 8237911.2549 | 8237911.2549
Unit 19 Noxwater |  | 136276.123 | 136276.123 | 136276.123
Unit 20 Noxwater |  | 0 | 0 | 0
Metered Total Wtr to NOX |  | 1007500 | 1007500 | 1007500
Station Wtr Warehouse & Eng. |  | 0 | 0 | 0
Plant Service Water |  | 26900 | 26900 | 26900
Admin. Off. Water |  | 0 | 0 | 0
WTR to Fire Hydrants |  | 0 | 0 | 0 |  | * Unaccountable value has been zeroed due to non-functional distribution
Total Water used |  | 1780926.6667 | 1780926.6667 | 1780926.6667 |  |  | meter giving rise to high unaccountable value
Unaccountable Water |  | 0 | 0 | 0

## PR-Pag5
July - 2020
| Feeders Power Distribution |  | This Month Total Plant Outages |  |  | Month | FYTD | FYTD | Feeders Outages Summary
| Output | FYTD | Planned | Forced | Time Hrs | Lost Sales | Total | Total | Feeder | Time | Date | Reason
Feeder | KWH | AVG KWH | Outages | Outages | Duration | Kwh | Outages | Time Hrs |  | min.
[9 empty] | Feeder #2A | 9 | 2020-07-05 | Tripped off line due to insufficient available generation
Feeder #1A (13Kv) | 1360494.62 | 1360494.62 | 0 | 1 | 0.41667 | 762.3527 | 0 | 0.41667 | Feeder #10B | 5 | 2020-07-05 | Tripped off line due to insufficient available generation
Feeder #2A (13 Kv) | 3241831.56 | 3241831.56 | 0 | 9 | 1.75 | 7643.2539 | 9 | 1.75 | Feeder #2A | 17 | 2020-07-06 | Tripped due to heavy load swings from solar farm
Feeder #3A (13(Kv) | 1111674 | 1111674 | 0 | 1 | 0.43333 | 647.8577 | 0 | 0.43333 | Feeder #10B | 17 | 2020-07-06 | Tripped due to heavy load swings from solar farm
Feeder #4A (13 Kv) | 1542316.75 | 1542316.75 | 0 | 1 | 0.81667 | 1694.8156 | 0 | 0.81667 | Feeder #2A | 10 | 2020-07-06 | Due to heavy load swings on solar farm
Feeder #5A (13 Kv) | 3890000 | 3890000 | 0 | 1 | 0.41667 | 2179.7602 | 0 | 0.41667 | Feeder #10B | 10 | 2020-07-06 | Due to heavy load swings on solar farm
Feeder #6A (13 Kv) | 2272777 | 2272777 | 0 | 1 | 0.83333 | 2548.5277 | 0 | 0.83333 | Feeder #1A | 25 | 2020-07-09 | Unit 17 tripped due to a loss of propane supply from IPOS because of triggered alarm
Feeder #9A (13 Kv) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Feeder #2A | 26 | 2020-07-09 | Unit 17 tripped due to a loss of propane supply from IPOS because of triggered alarm
Feeder #6B (24 Kv) | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 1.3833 | Feeder #3A | 26 | 2020-07-09 | Unit 17 tripped due to a loss of propane supply from IPOS because of triggered alarm
Feeder #8B (24 Kv) | 4999139.5 | 4999139.5 | 0 | 4 | 1.3833 | 9312.3096 | 4 | 1.3833 | Feeder #4A | 49 | 2020-07-09 | Unit 17 tripped due to a loss of propane supply from IPOS because of triggered alarm
Feeder #9B(24Kv) | 4274225.25 | 4274225.25 | 0 | 2 | 2.1 | 12098.4944 | 2 | 2.1 | Feeder #5A | 25 | 2020-07-09 | Unit 17 tripped due to a loss of propane supply from IPOS because of triggered alarm
Feeder #10A(24Kv) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Feeder #6A | 50 | 2020-07-09 | Unit 17 tripped due to a loss of propane supply from IPOS because of triggered alarm
Feeder #10B(24Kv) | 1532181 | 1532181 | 0 | 0 | 0 | 0 | 0 | 0 | Feeder #8B | 25 | 2020-07-09 | Unit 17 tripped due to a loss of propane supply from IPOS because of triggered alarm
TOTALS | 24224639.68 | 24224639.68 | 0 | 20 | 8.15 | 36887.3718 | 19 | 9.5333 | Feeder #9B | 51 | 2020-07-09 | Unit 17 tripped due to a loss of propane supply from IPOS because of triggered alarm
[9 empty] | Feeder #10B | 52 | 2020-07-09 | Unit 17 tripped due to a loss of propane supply from IPOS because of triggered alarm
[9 empty] | Feeder #2A | 14 | 2020-07-09 | Tripped due to insufficient available generation
[9 empty] | Feeder #8B | 52 | 2020-07-11 | Opened feeder due to switching order
[9 empty] | Feeder #9B | 75 | 2020-07-11 | Aggreko transformer tripped
[9 empty] | Feeder #10B | 9 | 2020-07-12 | Tripped due to insufficient available generation
[9 empty] | Feeder #10B | 7 | 2020-07-16 | Feeder tripped due to solar farm load swing
[9 empty] | Feeder #8B | 3 | 2020-07-18 | Feeder opened due to switching order
[9 empty] | Feeder #8B | 3 | 2020-07-18 | Feeder opened due to switching order
[9 empty] | Feeder #10B | 1 | 2020-07-18 | Two Aggreko units tripped upon closure of 8B
[9 empty] | Feeder #2A | 4 | 2020-07-25 | Aggreko units 1,2,3 and 4 tripped off due to knocking failure
[9 empty] | Feeder #10B | 16 | 2020-07-25 | Aggreko units 1,2,3 and 4 tripped off due to knocking failure
[9 empty] | Feeder #2A | 1 | 2020-07-25 | Trippd due to insufficient available load when closing 10B at 12:27
[9 empty] | Feeder #10B | 4 | 2020-07-28 | When attempting to close feeder 9B that opened resulted from a surge
[9 empty] | Feeder #2A | 2 | 2020-07-28 | Due to heavy load swings on solar farm
[9 empty] | Feeder #10B | 26 | 2020-07-28 | Due to heavy load swings on solar farm
[9 empty] | Feeder #2A | 22 | 2020-07-28 | Due to heavy load swings on solar farm
[9 empty] | Feeder #10B | 2 | 2020-07-28 | Due to heavy load swings on solar farm
[9 empty] | Feeder #10B | 1 | 2020-07-29 | Feeder tripped when closing feeder 9B that opened from a surge
0
0
0
0
0

## PR-Pag6
July - 2020
Power - Water Units Outages
|  | TOTAL NUMBER OF OUTAGES |  |  |  | PLANNED OUTAGES |  |  |  | FORCED OUTAGES
| This Month | FYTD | This Month | FYTD | This Month | FYTD | Duration | FYTD | This Month | FYTD | Duration | FYTD
Unit | Outages | Outages | Hours | Hours | Outages | Outages | Hours | Hours | Outages | Outages | Hours | Hours
Unit 10ST | 1 | 1 | 744 | 744 | 1 | 1 | 744 | 744 | 0 | 0 | 0 | 0
Unit 11ST | 1 | 1 | 744 | 744 | 1 | 1 | 744 | 744 | 0 | 0 | 0 | 0
Unit11BLR | 1 | 1 | 744 | 744 | 1 | 1 | 744 | 744 | 0 | 0 | 0 | 0
Unit 16 | 0 | 0 | 744 | 744 | 0 | 0 | 744 | 744 | 0 | 0 | 0 | 0
Unit 17 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
Unit 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Unit 20 | 1 | 1 | 744 | 744 | 1 | 1 | 744 | 744 | 0 | 0 | 0 | 0
Aggreko | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HRSG 21 | 1 | 1 | 744 | 744 | 1 | 1 | 744 | 744 | 0 | 0 | 0 | 0
HRSG 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTALS | 6 | 6 |  |  | 6 |  |  |  | 0 | 0
Plant Power Distribution
|  |  | This Month | FYTD | FYTD |  |  |  | Peak and Min. Load Data
|  |  | KWH | KWH | AVG. | [5 empty] | FYTD
Total 13KV Feeders |  |  | 13419093.93 | 13419093.93 | 13419093.93 |  |  |  |  | This Month | AVG.
Total 24KV Feeders |  |  | 10805545.75 | 10805545.75 | 10805545.75 |  |  | Peak Load (KW) |  | 41080 | 41080
Feeder Totals |  |  | 24224639.68 | 24224639.68 | 24224639.68 |  |  | Day |  | Thursday
Total Generation |  |  | 25719989.5 | 25719989.5 | 25719989.5 |  |  | Date |  | 2020-07-02
T1,T3,T4, T5, T6, T7 Available |  |  | 9976008 | 9976008 | 9976008 |  |  | Hour |  | 19:20
T1&T3&T4&T5&T6&T7 Losses* |  |  | 47669.07 | 47669.07 | 47669.07
Net Distributed |  |  | 25672320.43 | 25672320.43 | 25672320.43 |  |  | Min. Load (KW) |  | 27650 | 27650
Line Department |  |  |  | 0 | 0 |  |  | Day |  | Sunday
Water Department |  |  |  | 0 | 0 |  |  | Date |  | 2020-07-19
Power Plant Services |  |  |  | 0 | 0 |  |  | Hour |  | 6:00
Administration & General |  |  |  | 0 | 0
Plant Station Service |  |  |  | 0 | 0
Net Available from Bus |  |  |  | 0 | 0
Wapa KWH From Dist |  |  |  | 0 | 0 |  | * meters under review
SwitchGear Bkr1 SS |  |  | 1126712.5 | 1126712.5 | 1126712.5
SwitchGear Bkr3 SS |  |  | 301288.25 | 301288.25 | 301288.25
Total Station Service Power |  |  | 1327559 | 1437840.75 | 1437840.75
Net KWH Available for Sale |  |  | 24234479.68 | 24234479.68 | 24234479.68
Plant Unaccountable |  |  | 0 | 0 | 0
0
0
0
0
0

## PR-Pag7
July - 2020
|  |  | Fuel Allocation | BBLS
|  |  | Propane Fuel For Power | 90047.2143
|  |  | Propane Fuel For Water | 0
|  |  | No 2 Fuel For Power | 5520.1249
|  |  | No 2 Fuel For Water | 0
|  |  | O&M Factor for Water | 0
Power Boilers
11
TPBSFC
BLR11FUELCOST
0 |  | GT Fuel Allocation
HP Stm from WHB
GTFCAE
WHBHPSTMCOST
Combined Cycle |  | 0
WHB, 16. 17. 20
TGTFC |  |  |  |  | Electrc Power
GEN1617FUELCOST |  |  |  |  | Generation
1999545.5291 |  |  |  |  | TOTFUELCOSTPWR
|  |  | Gas Turbine |  | 3713314.5045
Power Allocation
Simple Cycle |  |  | GTFCA
GEN161720ADJFCOST
GEN 19 FUELCOST |  |  | 1999545.5291
343756.9591
RO Water
DIESEL |  |  |  |  | Production Cost
Emergency Gen.
DIESEL_EMER. |  |  |  |  | 166997.6665
0
*Note: The fuel prices in this report are an estimation
Cost Calculated at:
| 77.2818 | per BBL for No. 2
| 38.3544 | per BBL for Propane

## PR-Pag8
July - 2020
Fuel Allocations
Fuel Summary |  |  |  | ITEM | Amount | FYTD
ITEM | Propane | No2 BBLS
|  |  |  | Electric Power Generation | 3713314.5045 | 3713314.5045
Inventory-Beginning of Month |  | 39740.5629 |  | Water Production* | 166997.6665 | 166997.6665
Received During Month |  | 0 |  | Total #2 Fuel Cost | 426605.2954 | 426605.2954
Consumed During Month |  | 5520.1249 |  | BBLS Propane for Power | 90047.2143 | 90047.2143
Inventory-End of Month |  | 34220.4379 |  | BBLS Propane for Water | 0 | 0
Calorific Value (BTU/GAL) | 91567 | 136784.2908 |  | BBLS No. 2 for Power | 5520.1249 | 5520.1249
|  |  |  | BBLS No.2 for Water | 0 | 0
|  |  |  | Propane BBL Cost | 38.3544
End of Month- Fuel in Tanks |  |  |  | No. 2 BBL Cost | 77.2818
|  | No 2 BBLS |  | * Note: Includes RO Electric Usage
|  |  |  | No. 2 Oil Used | This Month | FYTD
Tank 1 |  | 0 |  | No. 2 Units | BBLS No. 2 | BBLS No. 2
Tank 2 |  | 0
Tank 3 |  | 4452.57 |  | Unit 11 | 0 | 0
Tank 4 |  | 3904.33 |  | Unit 16 | 0 | 0
Tank 5 |  | 8440.91 |  | Unit 17 | 1072.0288 | 1072.0288
Tank 6 |  | 17422.64 |  | Unit 19 | 4448.0961 | 4448.0961
Tank 7 |  |  |  | Unit 20 | 0 | 0
TOTALS | 0 | 34220.4379 |  | Diesel Emergency | 0 | 0
|  |  |  | Total No. 2 Consumed | 5520.1249 | 5520.1249
Fuel Shipments |  |  |  | Propane Used | This Month | FYTD
|  | No2 | No2 | Propane Units | Gals | Gals
|  | Date | BBLS | Unit 16 | 0 | 0
|  |  |  | Unit 17 | 2098879.9746 | 2098879.9746
|  |  |  | Unit 20 | 0 | 0
|  |  |  | Aggreko | 1683103.0254 | 1683103.0254
|  |  |  | Total Propane Consumed | 3781983 | 3781983
TOTAL SHIPMENTS |  |  | 0
Shipment projection | 0 |  | 0 | Tank Fuel / Metered Fuel | Ratio
Used Oil recovered | 0 | Bbls
|  |  |  | No. 2 | 1.0176
|  |  |  | Propane | 0.97645
Ratio 0.95 to 1.05 acceptable
0
0
0
0
0

## PR-Pag9
July - 2020

## PR-Pag10
July - 2020

## PR-Pag11
July - 2020