## DataBase
FISCAL YEAR 2020-2021
|  | 31 | 31 | 30 | 31 | 30 | 31 | 31 | 28 | 31 | 30 | 31 | 0
|  | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | APR | MAY | JUN | FYTD | FYTD-AVG
Item | Index | 7 | 8 | 9 | 10 | 12 | 12 | 13 | 14 | 15 | 16 | 17 | 18
Total System Generation |  | 7: 25719.9895; 8: 25797.0635; 9: 24243.5125; 10: 24404.586; 12: 22938.64 | 123103.7915 | 24620.7583
Gross Power Generation |  | 7: 25075.95; 8: 25132.08; 9: 23591.11; 10: 23735.79; 12: 22338.04 | 119872.97 | 23974.594
Gross Water Production |  | 7: 90987.3333; 8: 89121.8333; 9: 82706.1667; 10: 88049.8333; 12: 87245.3333 | 438110.5 | 87622.1
System Load Factor |  | 7: 82.05%; 8: 80.83%; 9: 81.77%; 10: 81.1%; 12: 78.74% | 404.5% | 80.9%
Total No. 6 Fuel Cost |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Total No. 2 Fuel Cost |  | 7: 426605.2954; 8: 639765.748; 9: 1161061.1421; 10: 134059.983; 12: 151618.4179 | 2513110.5863 | 502622.1173
Total Propane Cost |  | 7: 3453706.8756; 8: 3267490.988; 9: 2553332.1795; 10: 3331088.4222; 12: 3278983.919 | 15884602.3843 | 3176920.4769
Power Fuel Cost (Internal) |  | 7: 0.15474; 8: 0.15547; 9: 0.15745; 10: 0.14599; 12: 0.15358 | 0.76723 | 0.15345
Power Fuel Cost (to bus) |  | 7: 0.16018; 8: 0.16268; 9: 0.16406; 10: 0.15209; 12: 0.16122 | 0.80023 | 0.16005
Water Fuel Cost (Internal) |  | 7: 1.8354; 8: 1.8234; 9: 1.8371; 10: 1.6996; 12: 1.7806 | 8.9761 | 1.7952
Water Fuel Cost (to Distribution |  | 7: 1.872; 8: 1.8621; 9: 1.8651; 10: 1.7235; 12: 1.812 | 9.1347 | 1.8269
Total Power Fuel Cost |  | 7: 3713314.5045; 8: 3744752.5614; 9: 3562453.9143; 10: 3315497.8093; 12: 3275251.6783 | 17611270.4677 | 3522254.0935
Total Water Fuel Cost |  | 7: 166997.6665; 8: 162504.1747; 9: 151939.4073; 10: 149650.5959; 12: 155350.6585 | 786442.5029 | 157288.5006
No. 6 Fuel Consumed |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
No. 2 Fuel Consumed |  | 7: 5520.1249; 8: 9234.3241; 9: 16758.6572; 10: 1935.0103; 12: 2188.4473 | 35636.5639 | 7127.3128
No. 6 Fuel Received |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
No. 2 Fuel Received |  | 7: 0; 8: 32182.12; 9: 0; 10: 0; 12: 0 | 32182.12 | 32182.12
EOM No. 6 Fuel On Hand |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
EOM No. 2 Fuel On Hand(based on 2000Bbl/day Consumption) |  | 7: 17.1102; 8: 28.5841; 9: 20.2048; 10: 19.2373; 12: 18.1431 | 103.2795 | 20.6559
Plant Water Use ( Internal) |  | 7: 15419.311; 8: 1905.8303; 9: 2090.0527; 10: 1555.6764; 12: 1504.9232 | 22475.7935 | 4495.1587
Plant Power Use (Internal) |  | 7: 276393.5654; 8: 276437.3787; 9: 254105.137; 10: 251337.0171; 12: 256049.3028 | 1314322.4009 | 262864.4802
Heat Rates BTU/KWH | [13 empty] | 0 | 0
(Net Energy in KWH Produced) | [13 empty] | 0 | 0
Units | [13 empty] | 0 | 0
Combined Cycle-Units 10,16 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Combined Cycle-Units 11,16 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 10-Steam (10 MW) |  | 7: N/A; 8: N/A; 9: N/A; 10: N/A; 12: N/A | 0 | 0
Unit 11-Steam (21 MW) |  | 7: N/A; 8: N/A; 9: N/A; 10: N/A; 12: N/A | 0 | 0
Unit 16-Gas Turbine (23 MW) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 17-Gas Turbine (20.3 MW) |  | 7: 19723.3655; 8: 19377.4218; 9: 19918.1643; 10: 20433.9315; 12: 20902.8681 | 100355.7513 | 20071.1503
Unit 19-Gas Turbine (24 MW) |  | 7: 31163.4711; 8: 25705.1735; 9: 19292.4251; 10: 22369.8317; 12: 21548.3601 | 120079.2615 | 24015.8523
Unit 20_Gas Turbine (24 MW) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Aggreko |  | 7: 10887.2856; 8: 10962.7384; 9: 10998.875; 10: 10904.2078; 12: 10898.0236 | 54651.1305 | 10930.2261
Total Plant . |  | 7: 15100.2454; 8: 15206.0874; 9: 15197.1983; 10: 14624.6701; 12: 14782.9218 | 74911.123 | 14982.2246
Desal Performance Ratios | [13 empty] | 0 | 0
IDE3 (1.25MGD) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE4 (.55MGD) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE5 (0.55MGD) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE9 (1.3MGD) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit Availability Percent | [13 empty] | 0 | 0
Unit 10 | [13 empty] | 0% | 0% | bar: 7 to 12
Unit 11 | [13 empty] | 0% | 0% | bar: 7 to 12
Unit 16 | [13 empty] | 0% | 0% | bar: 7 to 12
Unit 17 |  | 7: 100%; 8: 100%; 9: 96.3%; 10: 100%; 12: 100% | 496.3% | 99.26%
Unit 19 |  | 7: 100%; 8: 100%; 9: 100%; 10: 100%; 12: 100% | 500% | 100%
Unit 20 | [13 empty] | 0% | 0% | bar: 7 to 12
Aggreko |  | 7: 100%; 8: 100%; 9: 100%; 10: 100%; 12: 100% | 500% | 100%
IDE 3 |  | 7: 100%; 8: 100%; 9: 100%; 10: 100%; 12: 100% | 500% | 100%
IDE 4 | [13 empty] | 0% | 0% | bar: 7 to 12
IDE 5 | [13 empty] | 0% | 0% | bar: 7 to 12
IDE 9 |  | 7: 100%; 8: 100%; 9: 100%; 10: 100%; 12: 100% | 500% | 100%
HRSG 21 | [13 empty] | 0% | 0% | bar: 7 to 12
HRSG 24 |  | 7: 100%; 8: 100%; 9: 100%; 10: 100%; 12: 100% | 500% | 100%
Pag2 | [13 empty] | 0 | 0
Item | [13 empty] | 0 | 0
Steam Turbine Generation |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Gas Turbine Generation |  | 7: 25075950; 8: 25132080; 9: 23591110; 10: 23735790; 12: 22338040 | 119872970 | 23974594
Diesel Generation |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Total Generation |  | 7: 25075950; 8: 25132080; 9: 23591110; 10: 23735790; 12: 22338040 | 119872970 | 23974594
IPP1 |  | 7: 644039.5; 8: 664983.5; 9: 652402.5; 10: 668796; 12: 600600 | 3230821.5 | 646164.3
Total System Generation |  | 7: 25719989.5; 8: 25797063.5; 9: 24243512.5; 10: 24404586; 12: 22938640
Steam Station Power |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Gas Turbine Station Power |  | 7: 45390; 8: 45350; 9: 49610; 10: 36910; 12: 35210 | 212470 | 42494
Total Gen. Plant Station Power |  | 7: 45390; 8: 45350; 9: 49610; 10: 36910; 12: 35210 | 212470 | 42494
Total Service / Gross Output |  | 7: 0.181%; 8: 0.1804%; 9: 0.2103%; 10: 0.1555%; 12: 0.1576% | 0.8849% | 0.177%
Operating Hours | [13 empty] | 0 | 0
Unit 10 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 11 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 16 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 17 |  | 7: 739.5; 8: 722.8; 9: 610.5; 10: 728.2; 12: 704.3 | 3505.3 | 701.06
Unit 19 |  | 7: 180.1; 8: 242.4; 9: 287.9; 10: 41.9; 12: 58.7 | 811 | 162.2
Unit 20 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Aggreko |  | 7: 713.003; 8: 697.0245; 9: 639.6298; 10: 741.0772; 12: 691.7374 | 3482.4719 | 696.4944
Diesel Generation(Emergency) |  | 7: 1; 8: 3; 9: 0; 10: 3; 12: 1 | 8 | 2
Unit Average Loading | [13 empty] | 0 | 0
(KWH / Operating Hours) | [13 empty] | 0 | 0
Unit 10 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 11 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 16 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 17 |  | 7: 13623.1508; 8: 13655.7831; 9: 13025.7166; 10: 12180.1154; 12: 11559.9035 | 64044.6693 | 12808.9339
Unit 19 |  | 7: 4553.0261; 8: 6600.6601; 9: 11774.9218; 10: 7875.895; 12: 8517.8876 | 39322.3906 | 7864.4781
Unit 20 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Aggreko |  | 7: 19890; 8: 19600; 9: 19150; 10: 19615; 12: 19800 | 98055 | 19611
Diesel |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Utilization Factor | [13 empty] | 0 | 0
Unit 10 | [13 empty] | 0% | 0% | bar: 7 to 12
Unit 11 | [13 empty] | 0% | 0% | bar: 7 to 12
Unit 16 | [13 empty] | 0% | 0% | bar: 7 to 12
Unit 17 |  | 7: 62.21%; 8: 62.36%; 9: 59.48%; 10: 55.62%; 12: 52.78% | 292.4% | 58.49%
Unit 19 |  | 7: 18.58%; 8: 26.94%; 9: 48.06%; 10: 32.15%; 12: 34.77% | 160.5% | 32.1%
Unit 20 | [13 empty] | 0% | 0% | bar: 7 to 12
Aggreko |  | 7: 99.45%; 8: 98%; 9: 95.75%; 10: 98.08%; 12: 99%
Diesel | 1 | [12 empty] | 0% | 0% | bar: 7 to 12
Unit Output KW | 2 | [12 empty] | 0 | 0
Unit 10 | 3 | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 11 | 4 | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 16 | 5 | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 17 | 6 | 7: 10074320; 8: 9870400; 9: 7952200; 10: 8869560; 12: 8141640 | 44908120 | 8981624
Unit 19 | 7 | 7: 820000; 8: 1600000; 9: 3390000; 10: 330000; 12: 500000 | 6640000 | 1328000
Unit 20 | 8 | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Aggreko |  | 7: 14181630; 8: 13661680; 9: 12248910; 10: 14536230; 12: 13696400 | 68324850 | 13664970
Diesel |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
TOTAL | 9 | 7: 25075950; 8: 25132080; 9: 23591110; 10: 23735790; 12: 22338040 | 119872970 | 23974594
Unit Station Service Power | [13 empty] | 0 | 0
Unit 10 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 11 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 16 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 17 |  | 7: 2370; 8: 3560; 9: 6150; 10: 2820; 12: 2490 | 17390 | 3478
Unit 19 |  | 7: 35520; 8: 34800; 9: 36960; 10: 27680; 12: 27120 | 162080 | 32416
Unit 20 |  | 7: 7500; 8: 6990; 9: 6500; 10: 6410; 12: 5600 | 33000 | 6600
Aggreko |  | 7: 260; 8: 200; 9: 2350; 10: 670; 12: 230 | 3710 | 742
Diesel |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
TOTAL |  | 7: 45390; 8: 45350; 9: 49610; 10: 36910; 12: 35210 | 212470 | 42494
pag3 | [13 empty] | 0 | 0
BOILERS/STM. TURBINES | [13 empty] | 0 | 0
[14 empty] | 0 | 0
SS10 Plant Aux. Trans 480V |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
SS10 Unit Aux.. Trans 480V |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
[14 empty] | 0 | 0
Unit 10 Total Station Power |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
SS11 Plant Aux. Trans 480V |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
SS11 Unit Aux.. Trans 480V |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
[14 empty] | 0 | 0
Unit 11 Net Total Station Power |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
HRSG 21 Station Power |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
HRSG 24 Station Power |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
WHB Net Station Power |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
TOTAL BOILERS / STM TURBINES |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
GAS TURBINE | [13 empty] | 0 | 0
[14 empty] | 0 | 0
Plant SS | [13 empty] | 0 | 0
Unit 16 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 17 |  | 7: 30; 8: 980; 9: 4410; 10: 780; 12: 690 | 6890 | 1378
Unit 19 |  | 7: 35520; 8: 34800; 9: 36960; 10: 27680; 12: 27120 | 162080 | 32416
Unit 20 |  | 7: 0; 8: 5490; 9: 6500; 10: 6410; 12: 5600 | 24000 | 6000
|  | 7: 260; 8: 200; 9: 2350; 10: 670; 12: 230 | 3710 | 742
Unit SS | [13 empty] | 0 | 0
Unit 16 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 17 |  | 7: 2340; 8: 2580; 9: 1740; 10: 2040; 12: 1800 | 10500 | 2100
Unit 19 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 20 |  | 7: 7500; 8: 1500; 9: 0; 10: 0; 12: 0 | 9000 | 4500
|  | 7: 9840; 8: 4080; 9: 1740; 10: 2040; 12: 1800 | 19500 | 3900
Plant IDE pumpage | [13 empty] | 0 | 0
IDE 4 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 5 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
[14 empty] | 0 | 0
Total |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
TOTAL GAS TURBINES |  | 7: 45650; 8: 45550; 9: 51960; 10: 37580; 12: 35440 | 216180 | 43236
STX. EMERGENCY DIESEL | [13 empty] | 0 | 0
[14 empty] | 0 | 0
Diesel |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
TOTAL DIESEL |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
WATER PLANTS | [13 empty] | 0 | 0
[14 empty] | 0 | 0
IDE 3 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
IDE 9 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Intake Pump A |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Intake Pump B |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Intake Pump C |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE Intake Pumps A&B+Chloropac |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
RO Plant |  | 7: 458594; 8: 477312; 9: 395292; 10: 448162; 12: 427195 | 2206555 | 441311
UPW Electricity |  | 7: 17911; 8: 17174; 9: 15510; 10: 15316; 12: 14254.62 | 80165.62 | 16033.124
RO ANNEX Electricity |  | 7: 620604; 8: 567940; 9: 569716; 10: 576924; 12: 584356 | 2919540 | 583908
TOTAL WATER PLANTS |  | 7: 1097109; 8: 1062426; 9: 980518; 10: 1040402; 12: 1025805.62 | 5206260.62 | 1041252.124
OTHERS | [13 empty] | 0 | 0
[14 empty] | 0 | 0
Station Service Shops |  | 7: 25440; 8: 31680; 9: 29640; 10: 27480; 12: 26160 | 140400 | 28080
Station Service Office | [13 empty] | 0 | 0
Fuel Tanks SS | [13 empty] | 0 | 0
Switch Yard SS |  | 7: 159360; 8: 161120; 9: 156480; 10: 168000; 12: 152640 | 797600 | 159520
[14 empty] | 0 | 0
[14 empty] | 0 | 0
TOTAL OTHERS |  | 7: 184800; 8: 192800; 9: 186120; 10: 195480; 12: 178800 | 938000 | 187600
[14 empty] | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
SwitchGear Bkr1 SS |  | 7: 1126712.5; 8: 1097708.5; 9: 1046123; 10: 1076282.5; 12: 1059253 | 5406079.5 | 1081215.9
SwitchGear Bkr3 SS |  | 7: 301288.25; 8: 306636; 9: 302425.25; 10: 302817.5; 12: 284381.05 | 1497548.05 | 299509.61
[14 empty] | 0 | 0
Total |  | 7: 1428000.75; 8: 1404344.5; 9: 1348548.25; 10: 1379100; 12: 1343634.05 | 6903627.55 | 1380725.51
Total SS from GAC |  | 7: 9840; 8: 4080; 9: 1740; 10: 2040; 12: 1800 | 19500 | 3900
Total Station Service Power |  | 7: 1327559; 8: 1300776; 9: 1218598; 10: 1273462; 12: 1240045.62 | 6360440.62 | 1272088.124
Total Unit #11 SS (Not Plant) | [13 empty] | 0 | 0
Total Unit #10 SS (Not Plant) | [13 empty] | 0 | 0
[14 empty] | 0 | 0
TOTAL STATION POWER |  | 7: 1786153; 8: 1778088; 9: 1613890; 10: 1721624; 12: 1667240.62 | 8566995.62 | 1713399.124
KWH | [13 empty] | 0
ENERGY DISTRIBUTION | [13 empty] | 0
0
0
0
0
GROSS ENERGY DISTRIBUTION | [13 empty] | 0
Gross Electric Energy Produced |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
Gross Energy Used in Water Plants |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
PLANT TOTAL GROSS ENERGY USED |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
0
NET ENERGY DISTRIBUTION | [13 empty] | 0
Net Electricity to Distribution |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
Net Energy used on water to distribution |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
PLANT TOTAL NET ENERGY USED |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
0
Plant Service / Gross Output |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
0
BTU's | [13 empty] | 0
Fuel No. 2 Consumed (BTU's) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
Fuel No. 6 Consumed (BTU's) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
TOTAL ENERGY IN FUEL |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
0
GROSS ENERGY DISTRIBUTION | [13 empty] | 0
Gross Electric Energy Produced |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
Gross Energy Used in Water Plants |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
PLANT TOTAL GROSS ENERGY USED |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
0
NET ENERGY DISTRIBUTION | [13 empty] | 0
Net Electricity to Distribution |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
Net Energy used on water to distribution |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
PLANT TOTAL NET ENERGY USED |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
0
Plant Service / NET Output |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
0
EFFICIENCY | [13 empty] | 0
0
Gross Efficiency | [13 empty] | 0
Electric Generating Plant Only |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
Water Desalination Plant only |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
Combined Generating and Water Plant |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
0
Net Efficiency | [13 empty] | 0
Electric Generating Plant Only |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
Water Desalination Plant only |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
Combined Generating and Water Plant |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
0
Heat Rates BTU/KWH | [13 empty] | 0
0
Gross Heat Rate | [13 empty] | 0
Electric Generating Plant Only |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
Water Desalination Plant only |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
Combined Generating and Water Plant |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
0
Net Heat Rate | [13 empty] | 0
Electric Generating Plant Only |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
Water Desalination Plant only |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
Combined Generating and Water Plant |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
[14 empty] | 0 | 0
pag4 | [13 empty] | 0 | 0
Desalination Plants Summary | [13 empty] | 0 | 0
Unit Service HRS | [13 empty] | 0 | 0
IDE 3 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 4 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 5 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 9 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit Output GALS | [13 empty] | 0 | 0
IDE 3 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 4 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 5 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 9 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
From TC |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
RO WAPA Meter |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
RO 7Seas water Meter 1 |  | 7: 37516000; 8: 39683000; 9: 32676000; 10: 37374000; 12: 36186000 | 183435000 | 36687000
RO 7Seas water Meter 2 |  | 7: 37390000; 8: 39542000; 9: 32563000; 10: 37249000; 12: 36082000 | 182826000 | 36565200
RO Meter Average |  | 7: 37453000; 8: 39612500; 9: 32619500; 10: 37311500; 12: 36134000 | 183130500 | 36626100
RO 7Seas ANNEXwater Meter 1 |  | 7: 53489000; 8: 49507000; 9: 50040000; 10: 50630000; 12: 51000000
RO 7Seas ANNEX water Meter 2 |  | 7: 53630000; 8: 49527000; 9: 50154000; 10: 50942000; 12: 51229000
RO 7Seas ANNEX water Meter 3 |  | 7: 53484000; 8: 49494000; 9: 50066000; 10: 50643000; 12: 51105000
RO Meter Average |  | 7: 53534333.3333; 8: 49509333.3333; 9: 50086666.6667; 10: 50738333.3333; 12: 51111333.3333 | 254980000 | 50996000
STX TOTALS |  | 7: 90987333.3333; 8: 89121833.3333; 9: 82706166.6667; 10: 88049833.3333; 12: 87245333.3333 | 438110500 | 87622100
Unit Cond LBS | [13 empty] | 0 | 0
IDE 3 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 4 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 5 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 9 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
STX TOTALS |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit LP Steam LBS | [13 empty] | 0 | 0
[14 empty] | 0 | 0
IDE 3 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 4 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 5 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 9 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
STX TOTALS |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit HP Steam LBS | [13 empty] | 0 | 0
IDE 3 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 4 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 5 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 9 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
STT TOTALS |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit Utilization Factor Percent | [13 empty] | 0% | 0%
IDE 3 | [13 empty] | 0% | 0% | bar: 7 to 12
IDE 4 | [13 empty] | 0% | 0% | bar: 7 to 12
IDE 5 | [13 empty] | 0% | 0% | bar: 7 to 12
IDE 9 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0% | 0%
Boilers Summary | [13 empty] | 0 | 0
Service Hrs | [13 empty] | 0 | 0
WHB 21 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
HRSG 24 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Boiler 11 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
This Month Gals | [13 empty] | 0 | 0
WHB 21 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
HRSG 24 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Boiler 11 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
TOTALS |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
This Month LP STM LBS | [13 empty] | 0 | 0
WHB 21 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
HRSG 24 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Boiler 11 | [13 empty] | 0 | 0
TOTALS |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
This Month HP STM LBS | [13 empty] | 0 | 0
WHB 21 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
HRSG 24 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0
Boiler 11 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
TOTALS |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Water Distribution | [13 empty] | 0 | 0
Total Water Produced |  | 7: 90987333.3333; 8: 89121833.3333; 9: 82706166.6667; 10: 88049833.3333; 12: 87245333.3333 | 438110500 | 87622100
Total to Distribution Tank |  | 7: 89206406.6667; 8: 87271346.6667; 9: 81464380; 10: 86830084.6667; 12: 85733049.6667 | 430505267.6667 | 86101053.5333
Apparent Station Use |  | 7: 1780926.6667; 8: 1850486.6667; 9: 1241786.6667; 10: 1219748.6667; 12: 1512283.6667 | 7605232.3333 | 1521046.4667
Water to day Tank (Booster) Plus UPW Product |  | 7: 1151333.3333; 8: 1244333.3333; 9: 1259000; 10: 1001333.3333; 12: 907333.3333 | 5563333.3333 | 1112666.6667
Water to the Demineralizer(regen) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Boilers Make Up |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 16 Noxwater |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 17 Noxwater |  | 7: 8237911.2549; 8: 813283.4473; 9: 756803.4668; 10: 825476.5625; 12: 760796.3867 | 11394271.1182 | 2278854.2236
Unit 19 Noxwater |  | 7: 136276.123; 8: 214627.1973; 9: 360488.5254; 10: 39235.8398; 12: 57672.3633 | 808300.0488 | 161660.0098
Unit 20 Noxwater |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Total Wtr to NOX |  | 7: 1007500; 8: 1094100; 9: 1093700; 10: 849900; 12: 812300 | 4857500 | 971500
Station Wtr Warehouse & Eng. |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Plant Service Water |  | 7: 26900; 8: 17300; 9: 20400; 10: 50600; 12: 26700 | 141900 | 28380
Admin. Off. Water |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
WTR to Fire Hydrants |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Total Water Used |  | 7: 1780926.6667; 8: 1850486.6667; 9: 1241786.6667; 10: 1219748.6667; 12: 1512283.6667 | 7605232.3333 | 1521046.4667
Unaccountable Water |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Steam Summary | [13 empty] | 0 | 0
LP Steam LBS | [13 empty] | 0 | 0
Total Steam Produced |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
From Steam Turbine 10 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
From Steam Turbine 11 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
[14 empty] | 0 | 0
HP STM to IDE's Ejectors | [13 empty] | 0 | 0
LP STM to IDE's Process |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Used Steam for Production |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
[14 empty] | 0 | 0
Others uses & Deareator |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
HP Steam LBS | [13 empty] | 0 | 0
Total Steam Produced |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
To Steam Turbine 10 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
To Steam Turbine 11 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
From Steam Turbines |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
HP STM to IDE's Ejectors |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
LP STM to IDE's Process | [13 empty] | 0 | 0
Used Steam for Production |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
[14 empty] | 0 | 0
Others uses & Deareator |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Boiler MUF from MUF Meters |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Boiler MUF from Desal Unit HPSTM Meters |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Boilers MUF per Desal Design Quantities |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
LPSTM to Desal/Condensate Return | [13 empty] | 0% | 0% | bar: 7 to 12
Boiler 10 MUF/HPSTM Generated | [13 empty] | 0% | 0%
Boiler 11 MUF/HPSTM Generated |  | 7: N/A; 8: N/A; 9: N/A; 10: N/A; 12: N/A | 0% | 0%
WHB MUF / HP & LPSTM Generated |  | 7: N/A; 8: N/A; 9: N/A; 10: N/A; 12: N/A | 0 | 0
[14 empty] | 0% | 0%
pag5 | [13 empty] | 0% | 0%
Feeder KWH | [13 empty] | 0 | 0
Feeder # 1 (13Kv) |  | 7: 1360494.62; 8: 1358974.88; 9: 1203228; 10: 1236634; 12: 1144082 | 6303413.5 | 1260682.7
Feeder # 2 (13 Kv) |  | 7: 3241831.56; 8: 3157129.75; 9: 2883075; 10: 2859160.25; 12: 2675297.25 | 14816493.81 | 2963298.762
Feeder # 3 (13(Kv) |  | 7: 1111674; 8: 1126770; 9: 1084143; 10: 1086359; 12: 969113 | 5378059 | 1075611.8
Feeder # 4 (13 Kv) |  | 7: 1542316.75; 8: 1558387; 9: 1484825; 10: 1499464.5; 12: 1392114.5 | 7477107.75 | 1495421.55
Feeder # 5 (13 Kv) |  | 7: 3890000; 8: 3720000; 9: 3630000; 10: 3620000; 12: 3230000 | 18090000 | 3618000
Feeder # 6 (13 Kv) |  | 7: 2272777; 8: 2244390; 9: 2070676; 10: 2085241; 12: 1905874 | 10578958 | 2115791.6
Feeder # 9A (13 Kv) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 6B (24 Kv) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 8 (24 Kv) |  | 7: 4999139.5; 8: 5863816.5; 9: 6954336; 10: 7030357; 12: 5578868 | 30426517 | 6085303.4
Feeder # 9B (24Kv) |  | 7: 4274225.25; 8: 2607787.671; 9: 0; 10: 0; 12: 1139488.6 | 8021501.521 | 2673833.8403
Feeder # 10A (24 Kv) |  | 7: 0; 8: 832165; 9: 1843955; 10: 1859330; 12: 1776401 | 6311851 | 1577962.75
Feeder # 10 (24 Kv) |  | 7: 1532181; 8: 1548799.5; 9: 1485914.75; 10: 1507122.75; 12: 1467690.5 | 7541708.5 | 1508341.7
TOTALS |  | 7: 24224639.68; 8: 24018220.301; 9: 22640152.75; 10: 22783668.5; 12: 21278928.85 | 114945610.081 | 22989122.0162
Feeder Planned Outages | [13 empty] | 0 | 0
Feeder # 1 (13Kv) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 2 (13 Kv) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 3 (13(Kv) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 4 (13 Kv) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 5 (13 Kv) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 6 (13 Kv) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 6B (24 Kv) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0
Feeder # 8 (24 Kv) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 9 (24Kv) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 10 (24 Kv) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
TOTALS |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder Forced Outages | [13 empty] | 0 | 0
Feeder # 1 (13Kv) |  | 7: 1; 8: 2; 9: 4; 10: 1; 12: 0 | 8 | 2
Feeder # 2 (13 Kv) |  | 7: 9; 8: 2; 9: 7; 10: 4; 12: 4 | 26 | 5.2
Feeder # 3 (13(Kv) |  | 7: 1; 8: 3; 9: 5; 10: 3; 12: 3 | 15 | 3
Feeder # 4 (13 Kv) |  | 7: 1; 8: 3; 9: 5; 10: 2; 12: 2 | 13 | 2.6
Feeder # 5 (13 Kv) |  | 7: 1; 8: 2; 9: 2; 10: 1; 12: 0 | 6 | 1.5
Feeder # 6 (13 Kv) |  | 7: 1; 8: 1; 9: 5; 10: 1; 12: 0 | 8 | 2
Feeder # 6B (24 Kv) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0
Feeder # 8 (24 Kv) |  | 7: 4; 8: 1; 9: 1; 10: 1; 12: 0 | 7 | 1.75
Feeder # 9 (24Kv) |  | 7: 2; 8: 1; 9: 0; 10: 0; 12: 0 | 3 | 1.5
Feeder # 10 (24 Kv) |  | 7: 0; 8: 4; 9: 11; 10: 2; 12: 8 | 25 | 6.25
TOTALS |  | 7: 20; 8: 19; 9: 40; 10: 15; 12: 17 | 111 | 22.2
Feeder Total Outages HRS | [13 empty] | 0 | 0
Feeder # 1 (13Kv) |  | 7: 0.41667; 8: 2.25; 9: 1.5833; 10: 1.9; 12: 0 | 6.15 | 1.5375
Feeder # 2 (13 Kv) |  | 7: 1.75; 8: 15.9167; 9: 3.45; 10: 2.9833; 12: 1.3667 | 25.4667 | 5.0933
Feeder # 3 (13(Kv) |  | 7: 0.43333; 8: 4.35; 9: 2.85; 10: 0.53333; 12: 1.2167 | 9.3833 | 1.8767
Feeder # 4 (13 Kv) |  | 7: 0.81667; 8: 3.0167; 9: 3.1833; 10: 2.3333; 12: 1.2167 | 10.5667 | 2.1133
Feeder # 5 (13 Kv) |  | 7: 0.41667; 8: 2.2333; 9: 0.81667; 10: 0.033333; 12: 0 | 3.5 | 0.875
Feeder # 6 (13 Kv) |  | 7: 0.83333; 8: 2.8167; 9: 3.05; 10: 1.9; 12: 0 | 8.6 | 2.15
Feeder # 6B (24 Kv) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0
Feeder # 8 (24 Kv) |  | 7: 1.3833; 8: 2.2833; 9: 0.73333; 10: 0.033333; 12: 0 | 4.4333 | 1.1083
Feeder # 9 (24Kv) |  | 7: 2.1; 8: 2.8333; 9: 0; 10: 0; 12: 0 | 4.9333 | 2.4667
Feeder # 10 (24 Kv) |  | 7: 0; 8: 6.5667; 9: 3.9167; 10: 2.1833; 12: 1.75 | 14.4167 | 3.6042
Feeder loss sales KWH | [13 empty] | 0 | 0
Feeder # 1 (13Kv) |  | 7: 762.3527; 8: 4122.2696; 9: 2651.819; 10: 3166.1563; 12: 0 | 10702.5977 | 2675.6494
Feeder # 2 (13 Kv) |  | 7: 7643.2539; 8: 69018.1735; 9: 13881.2487; 10: 11510.9801; 12: 5087.7679 | 107141.4241 | 21428.2848
Feeder # 3 (13(Kv) |  | 7: 647.8577; 8: 6626.7147; 9: 4308.4537; 10: 779.3106; 12: 1640.3935 | 14002.7301 | 2800.546
Feeder # 4 (13 Kv) |  | 7: 1694.8156; 8: 6344.4532; 9: 6594.0053; 10: 4717.4164; 12: 2356.3976 | 21707.0881 | 4341.4176
Feeder # 5 (13 Kv) |  | 7: 2179.7602; 8: 11200.2876; 9: 4122.0366; 10: 162.1936; 12: 0 | 17664.278 | 4416.0695
Feeder # 6 (13 Kv) |  | 7: 2548.5277; 8: 8529.1968; 9: 8808.9292; 10: 5338.8464; 12: 0 | 25225.5001 | 6306.375
Feeder # 6B (24 Kv) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0
Feeder # 8 (24 Kv) |  | 7: 9312.3096; 8: 18051.4316; 9: 7090.3416; 10: 314.9943; 12: 0 | 34769.0771 | 8692.2693
Feeder # 9 (24Kv) |  | 7: 12098.4944; 8: 9969.0556; 9: 0; 10: 0; 12: 0 | 22067.5501 | 11033.775
Feeder # 10 (24 Kv) |  | 7: 0; 8: 13791.6875; 9: 8127.3121; 10: 4435.8013; 12: 3575.995 | 29930.7959 | 7482.699
TOTALS |  | 7: 36887.3718; 8: 147653.2701; 9: 55584.1463; 10: 30425.699; 12: 12660.5539 | 283211.0411 | 56642.2082
Plant Feeder Total Planned Outages | [13 empty] | 0 | 0
Feeder # 1 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 2 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 3 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 4 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 5 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 6 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 6B (24 Kv)
Feeder # 8 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 9 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 10 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
TOTALS |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Plant Feeder Total Forced Outages | [13 empty] | 0 | 0
Feeder # 1 |  | 7: 0; 8: 2; 9: 4; 10: 0; 12: 0 | 6 | 3
Feeder # 2 |  | 7: 9; 8: 2; 9: 7; 10: 4; 12: 4 | 26 | 5.2
Feeder # 3 |  | 7: 0; 8: 3; 9: 5; 10: 3; 12: 3 | 14 | 3.5
Feeder # 4 |  | 7: 0; 8: 3; 9: 5; 10: 2; 12: 2 | 12 | 3
Feeder # 5 |  | 7: 0; 8: 2; 9: 2; 10: 0; 12: 0 | 4 | 2
Feeder # 6 |  | 7: 0; 8: 0; 9: 5; 10: 0; 12: 0 | 5 | 5
Feeder # 6B (24 Kv)
Feeder # 8 |  | 7: 4; 8: 0; 9: 0; 10: 0; 12: 0 | 4 | 4
Feeder # 9 |  | 7: 2; 8: 0; 9: 0; 10: 0; 12: 0 | 2 | 2
Feeder # 10 |  | 7: 0; 8: 4; 9: 11; 10: 2; 12: 8 | 25 | 6.25
TOTALS |  | 7: 15; 8: 16; 9: 39; 10: 11; 12: 17 | 98 | 19.6
Plant Feeder Total Outages Time | [13 empty] | 0 | 0
Feeder # 1 |  | 7: 0.41667; 8: 2.25; 9: 1.5833; 10: 1.9; 12: 0 | 6.15 | 1.5375
Feeder # 2 |  | 7: 1.75; 8: 15.9167; 9: 3.45; 10: 2.9833; 12: 1.3667 | 25.4667 | 5.0933
Feeder # 3 |  | 7: 0.43333; 8: 4.35; 9: 2.85; 10: 0.53333; 12: 1.2167 | 9.3833 | 1.8767
Feeder # 4 |  | 7: 0.81667; 8: 3.0167; 9: 3.1833; 10: 2.3333; 12: 1.2167 | 10.5667 | 2.1133
Feeder # 5 |  | 7: 0.41667; 8: 2.2333; 9: 0.81667; 10: 0.033333; 12: 0 | 3.5 | 0.875
Feeder # 6 |  | 7: 0.83333; 8: 2.8167; 9: 3.05; 10: 1.9; 12: 0 | 8.6 | 2.15
Feeder # 6B (24 Kv)
Feeder # 8 |  | 7: 1.3833; 8: 2.2833; 9: 0.73333; 10: 0.033333; 12: 0 | 4.4333 | 1.1083
Feeder # 9 |  | 7: 2.1; 8: 2.8333; 9: 0; 10: 0; 12: 0 | 4.9333 | 2.4667
Feeder # 10 |  | 7: 0; 8: 6.5667; 9: 3.9167; 10: 2.1833; 12: 1.75 | 14.4167 | 3.6042
TOTALS | [13 empty] | 0 | 0
Plant Feeder Total Loss sales | [13 empty] | 0 | 0
Feeder # 1 |  | 7: 762.3527; 8: 4122.2696; 9: 2651.819; 10: 3166.1563; 12: 0 | 10702.5977 | 2675.6494
Feeder # 2 |  | 7: 7643.2539; 8: 69018.1735; 9: 13881.2487; 10: 11510.9801; 12: 5087.7679 | 107141.4241 | 21428.2848
Feeder # 3 |  | 7: 647.8577; 8: 6626.7147; 9: 4308.4537; 10: 779.3106; 12: 1640.3935 | 14002.7301 | 2800.546
Feeder # 4 |  | 7: 1694.8156; 8: 6344.4532; 9: 6594.0053; 10: 4717.4164; 12: 2356.3976 | 21707.0881 | 4341.4176
Feeder # 5 |  | 7: 2179.7602; 8: 11200.2876; 9: 4122.0366; 10: 162.1936; 12: 0 | 17664.278 | 4416.0695
Feeder # 6 |  | 7: 2548.5277; 8: 8529.1968; 9: 8808.9292; 10: 5338.8464; 12: 0 | 25225.5001 | 6306.375
Feeder # 6B (24 Kv)
Feeder # 8 |  | 7: 9312.3096; 8: 18051.4316; 9: 7090.3416; 10: 314.9943; 12: 0 | 34769.0771 | 8692.2693
Feeder # 9 |  | 7: 12098.4944; 8: 9969.0556; 9: 0; 10: 0; 12: 0 | 22067.5501 | 11033.775
Feeder # 10 |  | 7: 0; 8: 13791.6875; 9: 8127.3121; 10: 4435.8013; 12: 3575.995 | 29930.7959 | 7482.699
TOTALS |  | 7: 36887.3718; 8: 147653.2701; 9: 55584.1463; 10: 30425.699; 12: 12660.5539 | 283211.0411 | 56642.2082
Line Feeder Total Planned Outages | [13 empty] | 0 | 0
Feeder # 1 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 2 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 3 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 4 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 5 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 6 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 6B (24 Kv)
Feeder # 8 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 9 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 10 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
TOTALS |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Line Feeder Total Forced Outages | [13 empty] | 0 | 0
Feeder # 1 |  | 7: 1; 8: 0; 9: 0; 10: 1; 12: 0 | 2 | 1
Feeder # 2 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 3 |  | 7: 1; 8: 0; 9: 0; 10: 0; 12: 0 | 1 | 1
Feeder # 4 |  | 7: 1; 8: 0; 9: 0; 10: 0; 12: 0 | 1 | 1
Feeder # 5 |  | 7: 1; 8: 0; 9: 0; 10: 1; 12: 0 | 2 | 1
Feeder # 6 |  | 7: 1; 8: 1; 9: 0; 10: 1; 12: 0 | 3 | 1
Feeder # 6B (24 Kv)
Feeder # 8 |  | 7: 0; 8: 1; 9: 1; 10: 1; 12: 0 | 3 | 1
Feeder # 9 |  | 7: 0; 8: 1; 9: 0; 10: 0; 12: 0 | 1 | 1
Feeder # 10 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
TOTALS |  | 7: 5; 8: 3; 9: 1; 10: 4; 12: 0 | 13 | 3.25
Line Feeder Total Outages Time | [13 empty] | 0 | 0
Feeder # 1 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 2 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 3 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 4 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 5 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 6 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 6B (24 Kv)
Feeder # 8 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 9 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 10 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
TOTALS | [13 empty] | 0 | 0
Line Feeder Total Loss sales | [13 empty] | 0 | 0
Feeder # 1 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 2 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 3 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 4 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 5 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 6 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 6B (24 Kv)
Feeder # 8 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 9 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Feeder # 10 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
TOTALS |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
pag6 | [13 empty] | 0 | 0
Units Outages | [13 empty] | 0 | 0
Unit 10 ST | [13 empty] | 5 | 1 | bar: 7 to 12
Unit 11 ST | [13 empty] | 5 | 1 | bar: 7 to 12
Unit 11 BLR | [13 empty] | 5 | 1 | bar: 7 to 12
Unit 16 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 17 |  | 7: 1; 8: 1; 9: 2; 10: 0; 12: 0 | 4 | 1.3333
Unit 19 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 20 | [13 empty] | 5 | 1 | bar: 7 to 12
Aggreko |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 3 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 4 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 5 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 9 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
HRSG 21 | [13 empty] | 5 | 1 | bar: 7 to 12
HRSG 24 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0
Units Outages Duration | [13 empty] | 0 | 0
Unit 10 ST |  | 7: 744; 8: 744; 9: 720; 10: 744; 12: 720 | 3672 | 734.4
Unit 11 ST |  | 7: 744; 8: 744; 9: 720; 10: 744; 12: 720 | 3672 | 734.4
Unit 11 BLR |  | 7: 744; 8: 744; 9: 720; 10: 744; 12: 720 | 3672 | 734.4
Unit 16 |  | 7: 744; 8: 744; 9: 720; 10: 744; 12: 720 | 3672 | 734.4
Unit 17 |  | 7: 0; 8: 0; 9: 26.65; 10: 0; 12: 0 | 26.65 | 26.65
Unit 19 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 20 |  | 7: 744; 8: 744; 9: 720; 10: 744; 12: 720 | 3672 | 734.4
Aggreko |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 3 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 4 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 5 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 9 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
HRSG 21 |  | 7: 744; 8: 744; 9: 720; 10: 744; 12: 720 | 3672 | 734.4
HRSG 24 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit Planned Outages | [13 empty] | 0 | 0
Unit 10 ST | [13 empty] | 5 | 1 | bar: 7 to 12
Unit 11 ST | [13 empty] | 5 | 1 | bar: 7 to 12
Unit 11 BLR | [13 empty] | 5 | 1 | bar: 7 to 12
Unit 16 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 17 |  | 7: 1; 8: 1; 9: 0; 10: 0; 12: 0 | 2 | 1
Unit 19 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 20 | [13 empty] | 5 | 1 | bar: 7 to 12
Aggreko |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 3 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 4 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 5 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 9 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
HRSG 21 | [13 empty] | 5 | 1 | bar: 7 to 12
HRSG 24 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0
Unit Planned Outages Duration | [13 empty] | 0 | 0
Unit 10 ST |  | 7: 744; 8: 744; 9: 720; 10: 744; 12: 720 | 3672 | 734.4
Unit 11 ST |  | 7: 744; 8: 744; 9: 720; 10: 744; 12: 720 | 3672 | 734.4
Unit 11 BLR |  | 7: 744; 8: 744; 9: 720; 10: 744; 12: 720 | 3672 | 734.4
Unit 16 |  | 7: 744; 8: 744; 9: 720; 10: 744; 12: 720 | 3672 | 734.4
Unit 17 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 19 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 20 |  | 7: 744; 8: 744; 9: 720; 10: 744; 12: 720 | 3672 | 734.4
Aggreko |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 3 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 4 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 5 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 9 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
HRSG 21 |  | 7: 744; 8: 744; 9: 720; 10: 744; 12: 720 | 3672 | 734.4
HRSG 24 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0
Unit Forced Outages |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 10 ST |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 11 ST |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 11 BLR |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 16 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 17 |  | 7: 0; 8: 0; 9: 2; 10: 0; 12: 0 | 2 | 2
Unit 19 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 20 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Aggreko |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 3 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 4 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 5 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 9 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
HRSG 21 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
HRSG 24 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0
Unit Forced Outages Duration |  | 7: 0; 8: 0; 9: 2; 10: 0; 12: 0 | 2 | 2
Unit 10 ST |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 11 ST |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 11 BLR |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 16 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 17 |  | 7: 0; 8: 0; 9: 26.65; 10: 0; 12: 0 | 26.65 | 26.65
Unit 19 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 20 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Aggreko |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 3 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 4 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 5 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
IDE 9 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
HRSG 21 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
HRSG 24 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0
Plant Power Distribution | [13 empty] | 0 | 0
Total 13KV Feeders |  | 7: 13419093.93; 8: 13165651.63; 9: 12355947; 10: 12386858.75; 12: 11316480.75 | 62644032.06 | 12528806.412
Total 24KV Feeders |  | 7: 10805545.75; 8: 10852568.671; 9: 10284205.75; 10: 10396809.75; 12: 9962448.1 | 52301578.021 | 10460315.6042
Feeder Totals |  | 7: 24224639.68; 8: 24018220.301; 9: 22640152.75; 10: 22783668.5; 12: 21278928.85 | 114945610.081 | 22989122.0162
Total Generation |  | 7: 25719989.5; 8: 25797063.5; 9: 24243512.5; 10: 24404586; 12: 22938640 | 123103791.5 | 24620758.3
24 KV BUS at XFMR-1 (T1) |  | 7: 66909.75; 8: 391221.84; 9: 1276007.57; 10: 55735.12; 12: 63357.25 | 1853231.53 | 370646.306
24 KV BUS at XFMR-2 (T2) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
24 KV BUS at XFMR-3 (T3) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
XFMR T1 in |  | 7: 66510; 8: 389244; 9: 1270567; 10: 55447; 12: 62657
XFMR T1 out |  | 7: 4351087; 8: 4122766; 9: 4142281; 10: 5145701; 12: 4707082
XFMR T3 in |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0
XFMR T3 out |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0
XFMR T4in (from #16) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0
XFMR T4 out ( |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0
XFMR T5 in (from #20) |  | 7: 0; 8: 99999416; 9: 584; 10: 0; 12: 0
XFMR T5 out |  | 7: 5558411; 8: 5172388; 9: 4438906; 10: 4536047; 12: 4221366
T1 &T3&T4 & T5 Available |  | 7: 9976008; 8: 109683814; 9: 9852338; 10: 9737195; 12: 8991105 | 148240460 | 29648092
T1 &T3 & T4 & T5 Losses |  | 7: 47669.07; 8: 366338.699; 9: 251331.5; 10: 237737.5; 12: 312477.1 | 1215553.869 | 243110.7738
Net Distributed |  | 7: 25672320.43; 8: 25430724.801; 9: 23992181; 10: 24166848.5; 12: 22626162.9 | 121888237.631 | 24377647.5262
Line Department |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Water Department |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Power Plant Services |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Administration & General |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Plant Station Service |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Net Available from Bus |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Wapa KWH From Dist |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
SwitchGear Bkr1 SS |  | 7: 1126712.5; 8: 1097708.5; 9: 1046123; 10: 1076282.5; 12: 1059253 | 5406079.5 | 1081215.9
SwitchGear Bkr3 SS |  | 7: 301288.25; 8: 306636; 9: 302425.25; 10: 302817.5; 12: 284381.05 | 1497548.05 | 299509.61
Total Station Service Power |  | 7: 1437840.75; 8: 1408424.5; 9: 1350288.25; 10: 1381140; 12: 1345434.05 | 6923127.55 | 1384625.51
Net KWH Available for Sale |  | 7: 24234479.68; 8: 24022300.301; 9: 22641892.75; 10: 22785708.5; 12: 21280728.85 | 114965110.081 | 22993022.0162
Plant Unaccountable |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0
Peak Load: |  | 7: 41080; 8: 41790; 9: 40070; 10: 39340; 12: 39400 | 201680 | 40336
Day |  | 7: Thursday; 8: Sunday; 9: Tuesday; 10: Saturday; 12: Sunday |  | 0
Date |  | 7: 2020-07-02; 8: 2020-08-16; 9: 2020-09-29; 10: 2020-10-10; 12: 2020-11-08
Hour |  | 7: 19:20; 8: 19:21; 9: 19:00; 10: 18:39; 12: 19:00
Min Load |  | 7: 27650; 8: 26320; 9: 25710; 10: 25910; 12: 24450 | 130040 | 26008
Day |  | 7: Sunday; 8: Wednesday; 9: Sunday; 10: Thursday; 12: Sunday
Date |  | 7: 2020-07-19; 8: 2020-08-05; 9: 2020-09-20; 10: 2020-10-29; 12: 2020-11-29
Hour |  | 7: 6:00; 8: 6:00; 9: 4:00; 10: 3:00; 12: 7:00 |  | 5:12
Pag 7
No 6 Fuel For Power |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
No 6 Fuel For Water |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
No 2 Fuel For Power |  | 7: 5520.1249; 8: 9234.3241; 9: 16758.6572; 10: 1935.0103; 12: 2188.4473 | 35636.5639 | 7127.3128
No 2 Fuel For Water |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
O&M Factor for Water |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
BLR11FUEL2COST |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Firing | [13 empty] | 0 | 0
WHBSFCAE |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Power Boilers | [13 empty] | 0 | 0
[14 empty] | 0 | 0
TPBSFC | [13 empty] | 0 | 0
BLR11FUELCOST |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Combined Cycle | [13 empty] | 0 | 0
WHB, 16 & 17 | [13 empty] | 0 | 0
TGTFC | [13 empty] | 0 | 0
GEN161720FUELCOST |  | 7: 1999545.5291; 8: 1924719.682; 9: 1614411.4254; 10: 1804814.6582; 12: 1759979.7993 | 9103471.0939 | 1820694.2188
Simple Cycle | [13 empty] | 0 | 0
12 & 14 & 22 | [13 empty] | 0 | 0
GEN 19FUELCOST |  | 7: 343756.9591; 8: 495210.025; 9: 787472.5538; 10: 88884.4036; 12: 129727.8244 | 1845051.7658 | 369010.3532
DIESEL | [13 empty] | 0 | 0
7 St. John | [13 empty] | 0 | 0
DIESEL_EMER. |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
GT Fuel Allocation | [13 empty] | 0 | 0
HP Stm from WHB | [13 empty] | 0 | 0
GTFCAE | [13 empty] | 0 | 0
WHBHPSTMCOST |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
whb Benefit | [13 empty] | 0 | 0
Equalization to Water | [13 empty] | 0 | 0
WHBBECW | [13 empty] | 0 | 0
WHBBENCOSTWTR |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Extraction Benefit | [13 empty] | 0 | 0
Equalization to Water | [13 empty] | 0 | 0
BECW | [13 empty] | 0 | 0
BENEQFCOSTWTR |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Gas Turbine | [13 empty] | 0 | 0
Power Allocation | [13 empty] | 0 | 0
GTFCA | [13 empty] | 0 | 0
GEN161720ADJFCOST |  | 7: 1999545.5291; 8: 1924719.682; 9: 1614411.4254; 10: 1804814.6582; 12: 1759979.7993 | 9103471.0939 | 1820694.2188
Extraction Incremental | [13 empty] | 0 | 0
to Water | [13 empty] | 0 | 0
FCAWI | [13 empty] | 0 | 0
INCRFUELCOSTWTR |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
GT Fuel Allocation | [13 empty] | 0 | 0
LP Stm from WHB | [13 empty] | 0 | 0
WHBFCAW | [13 empty] | 0 | 0
WHBLPSTMCOST |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Electrc Power | [13 empty] | 0 | 0
Generation | [13 empty] | 0 | 0
TOTFUELCOSTPWR |  | 7: 3713314.5045; 8: 3744752.5614; 9: 3562453.9143; 10: 3315497.8093; 12: 3275251.6783 | 17611270.4677 | 3522254.0935
RO Electricity cost |  | 7: 70963.9268; 8: 74207.1698; 9: 62238.2739; 10: 65426.4231; 12: 65607.1959 | 338442.9894 | 67688.5979
UPW Electicity Cost |  | 7: 2771.5908; 8: 2670.0228; 9: 2442.0318; 10: 2235.9573; 12: 2189.1774 | 12308.7801 | 2461.756
RO Annex Electricity cost |  | 7: 96033.7397; 8: 88297.0049; 9: 89701.1334; 10: 84224.1728; 12: 89743.4627
TOTFUELCSRWTR |  | 7: 166997.6665; 8: 162504.1747; 9: 151939.4073; 10: 149650.5959; 12: 155350.6585 | 786442.5029 | 157288.5006
Pag8 | [13 empty] | 0 | 0
No 2 BBLS | [13 empty] | 0 | 0
Inventory-Beginning of Month |  | 7: 39740.5629; 8: 34220.4379; 9: 57168.2338; 10: 40409.5766; 12: 38474.5663 | 210013.3775 | 42002.6755
Received During Month |  | 7: 0; 8: 32182.12; 9: 0; 10: 0; 12: 0 | 32182.12 | 32182.12
Consumed During Month |  | 7: 5520.1249; 8: 9234.3241; 9: 16758.6572; 10: 1935.0103; 12: 2188.4473 | 35636.5639 | 7127.3128
Inventory-End of Month |  | 7: 34220.4379; 8: 57168.2338; 9: 40409.5766; 10: 38474.5663; 12: 36286.119 | 206558.9336 | 41311.7867
Calorific Value (BTU/GAL) |  | 7: 136784.2908; 8: 136999.0879; 9: 136999.0879; 10: 136999.0879; 12: 136999.0879 | 684780.6425 | 136956.1285
Calorific Value (BTU/GAL) |  | 7: 136784.2908; 8: 136999.0879; 9: 136999.0879; 10: 136999.0879; 12: 136999.0879 | 684780.6425 | 136956.1285
No 6 BBLS | [13 empty] | 0 | 0
Inventory-Beginning of Month |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Received During Month |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Consumed During Month |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Inventory-End of Month |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Calorific Value (BTU/GAL) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
PROPANE
Propane Value (BTU/Gal) |  | 7: 91735; 8: 91735; 9: 91735; 10: 91647; 12: 91647
End of Month- Fuel in Tanks | [13 empty] | 0 | 0
No 2 BBLS | [13 empty] | 0 | 0
Tank 1 #2 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Tank 2 #2 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Tank 5 #2 |  | 7: 8440.91; 8: 37021.4; 9: 30852.38; 10: 28860.59; 12: 26657.03 | 131832.31 | 26366.462
Tank 6 #2 |  | 7: 17422.64; 8: 11760.45; 9: 1141.19; 10: 1124.68; 12: 1127.88 | 32576.84 | 6515.368
TOTAL |  | 7: 34220.44; 8: 57168.23; 9: 40409.58; 10: 38474.57; 12: 36286.12 | 206558.94 | 41311.788
No 6 BBLS | [13 empty] | 0 | 0
Tank 3 #2 |  | 7: 4452.57; 8: 4450.29; 9: 4453.2; 10: 4451.44; 12: 4450.51 | 22258.01 | 4451.602
Tank 4 #6 |  | 7: 3904.33; 8: 3936.1; 9: 3962.8; 10: 4037.85; 12: 4050.7 | 19891.78 | 3978.356
Tank 7 #6 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
TOTAL |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
Fuel Shipments | [13 empty] | 0 | 0
Date(1) |  | 7: 0; 8: 2020-08-19; 9: 0; 10: 0; 12: 0 | 2020-08-19 | 2020-08-19
No2 BBLS |  | 7: 0; 8: 32182.12; 9: 0; 10: 0; 12: 0 | 32182.12 | 32182.12
Date(2) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
No2 BBLS |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Date(3) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
No2 BBLS |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Date(4) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
No2 BBLS |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Date(5) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
No2 BBLS |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Date(6) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
No2 BBLS |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Date(7) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
No2 BBLS |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Date(8) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
No2 BBLS |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Date(9) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
No2 BBLS |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
TOTAL SHIPMENTS No 2 |  | 7: 0; 8: 32182.12; 9: 0; 10: 0; 12: 0 | 32182.12 | 32182.12
Date(1) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
No6 BBLS |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Date(2) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
No6 BBLS |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Date(3) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
No6 BBLS |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Date(4) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
No6 BBLS |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Date(5) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
No6 BBLS |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Date(6) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
No6 BBLS |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Date(7) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
No6 BBLS |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Date(8) |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
No6 BBLS |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
TOTAL SHIPMENTS No 6 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
[14 empty] | 0 | 0
Fuel Allocations Amount | [13 empty] | 0 | 0
Electric Power Generation |  | 7: 3713314.5045; 8: 3744752.5614; 9: 3562453.9143; 10: 3315497.8093; 12: 3275251.6783 | 17611270.4677 | 3522254.0935
Water Production |  | 7: 166997.6665; 8: 162504.1747; 9: 151939.4073; 10: 149650.5959; 12: 155350.6585 | 786442.5029 | 157288.5006
Total #2 Fuel Cost |  | 7: 426605.2954; 8: 639765.748; 9: 1161061.1421; 10: 134059.983; 12: 151618.4179 | 2513110.5863 | 502622.1173
BBLS No. 6 for Power |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
BBLS No.6 for Water |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
BBLS No. 2 for Power |  | 7: 5520.1249; 8: 9234.3241; 9: 16758.6572; 10: 1935.0103; 12: 2188.4473 | 35636.5639 | 7127.3128
BBLS No.2 for Water |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
No. 6 BBL Cost |  | 7: 71.9034; 8: 71.9034; 9: 71.9034; 10: 71.9034; 12: 71.9034 | 359.5169 | 71.9034
No. 2 BBL Cost |  | 7: 77.2818; 8: 69.2813; 9: 69.2813; 10: 69.2813; 12: 69.2813 | 354.4069 | 70.8814
Propane Cost per Bbl |  | 7: 38.3544; 8: 38.262; 9: 37.5354; 10: 38.1612; 12: 39.7362
Propane Consumed
Unit 16 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0
Unit 17 |  | 7: 2098879.9746; 8: 1954076.7936; 9: 1388410.9176; 10: 1936648.7771; 12: 1837109.4026 | 9215125.8655
Unit 20 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Aggreko |  | 7: 1683103.0254; 8: 1632631.2064; 9: 1468624.0824; 10: 1729528.2229; 12: 1628680.5974 | 8142567.1345
No. 2 Units BBLS No. 2 Consumed | [13 empty] | 0 | 0
Unit 10 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 11 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 16 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Unit 17 |  | 7: 1072.0288; 8: 2086.5049; 9: 5392.3457; 10: 652.0604; 12: 315.967 | 9518.9069 | 1903.7814
Unit 19 |  | 7: 4448.0961; 8: 7147.8192; 9: 11366.3115; 10: 1282.9499; 12: 1872.4803 | 26117.657 | 5223.5314
Unit 20 |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Diesel Emergency |  | 7: 0; 8: 0; 9: 0; 10: 0; 12: 0 | 0 | 0
Total No. 2 Consumed |  | 7: 5520.1249; 8: 9234.3241; 9: 16758.6572; 10: 1935.0103; 12: 2188.4473 | 35636.5639 | 7127.3128
Note on I673: Nicholson: negative

## PR-Pag1
November - 2020
Production Summary |  |  |  |  | Generating Units Heat Rate |  | FYTD | This Month
|  | FYTD | FYTD |  | (Gross Energy in KWH Produced) | This Month | AVG. | %
Item | This Month | AVG. | TOTAL | Units | Units | BTU/KWH | BTU/KWH | Efficiency
Total System Gross Generation** | 22938.64 | 24620.7583 | 123103.7915 | MWH
Gross Power Plant Generation | 22338.04 | 23974.594 | 119872.97 | MWH
Gross Water Production | 87245.3333 | 87622.1 | 438110.5 | KGAL
System Load Factor | 78.74% | 80.9% |  | % | Unit 10-Steam (10 MW) + WHBs* | N/A | N/A | N/A
Total Propane Fuel Cost | 3278983.919 | 3176920.4769 | 15884602.3843 | $ | Unit 11-Steam (19.1 MW) + WHBs | N/A | N/A | N/A
Total No. 2 Fuel Cost | 151618.4179 | 502622.1173 | 2513110.5863 | $ | Unit 16-Gas Turbine (22.5 MW) | 0 | 0 | 0%
Power Fuel Cost (Internal) | 0.15358 | 0.15345 |  | $/KWH | Unit 17-Gas Turbine (21.9 MW) | 20902.87 | 20071.15 | 16.32%
Power Fuel Cost (to bus) | 0.16122 | 0.16005 |  | $/KWH | Unit 19-Gas Turbine (24.5 MW) | 21548.36 | 24015.85 | 15.83%
Water Fuel Cost (Internal) | 1.7806 | 1.7952 |  | $/KGAL | Unit 20_Gas Turbine (24.5 MW) | 0 | 0 | 0%
Water Fuel Cost (to Distribution) | 1.812 | 1.8269 |  | $/KGAL | Aggreko (20.0 MW) | 10898.02 | 10930.23 | 31.31%
Total Power Fuel Cost | 3275251.6783 | 3522254.0935 | 17611270.4677 | $ | Total Electric Generation Only | 14782.92 | 14982.22 | 23.08%
Total Water Cost | 155350.6585 | 157288.5006 | 786442.5029 | $ | *Note:Total Electric Generation includes values of steam provided to STG #10 and #11 by HRSGs
Propane consumed | 82518.8095 | 82655.681 | 413278.4048 | BBLS
No. 2 Fuel Consumed | 2188.4473 | 7127.3128 | 35636.5639 | BBLS
[5 empty] | Power Units Availability |  | FYTD
No. 2 Fuel Received | 0 | 32182.12 | 32182.12 | BBLS |  | This Month | AVG.
[5 empty] | Unit | Percent (%) | Percent (%)
EOM No. 2 Fuel On Hand* | 18.1431 | 20.6559 |  | DAYS
Plant Water Use ( Internal | 1504.9232 | 4495.1587 | 22475.7935 | $ | Unit 10 | 0% | 0%
Plant Power Use (Internal) | 256049.3028 | 262864.4802 | 1314322.4009 | $ | Unit 11 | 0% | 0%
7SEAS RO 1 Electricity Cost | 65607.1959 |  |  | $ | Unit 16 | 0% | 0%
7SEAS UPW Electricity Cost | 2189.1774 |  |  | $ | Unit 17 | 100% | 99.26%
7SEAS RO 2 Electricity Cost | 89743.4627 |  |  | $ | Unit 19 | 100% | 100%
**Note: Includes power generated by solar |  |  |  |  | Unit 20 | 0% | 0%
*Note: Based on 2000Bbl/day consumption |  |  |  |  | Aggreko | 100% | 100%
[5 empty] | HRSG 21 | 0% | 0%
[5 empty] | HRSG 24 | 100% | 100%

## PR-Pag2
November - 2020
Power Generation - Station Power |  | FYTD | TOTAL | Generating Units Average Loading |  |  | FYTD | Utilization
Item | This Month | Monthly | FYTD |  |  | This Month | AVG. | Factor
| KWH | AVG. | KWH | (KWH / Operating Hours) |  | KW | KW | Percent
Steam Turbine Generation | 0 | 0 | 0 | Unit 10 |  | 0 | 0 | 0%
Gas Turbine Generation | 22338040 | 23974594 | 119872970 | Unit 11 |  | 0 | 0 | 0%
Diesel Generation | 0 | 0 | 0 | Unit 16 |  | 0 | 0 | 0%
Total Generation | 22338040 | 23974594 | 119872970 | Unit 17 |  | 11559.9035 | 12808.9339 | 52.78%
Steam Station Power | 0 | 0 | 0 | Unit 19 |  | 8517.8876 | 7864.4781 | 34.77%
Gas Turbine Station Power | 35210 | 42494 | 212470 | Unit 20 |  | 0 | 0 | 0%
Aggreko Station Service | 230 | 742 | 3710 | Aggreko |  | 19800 | 19611 | 99%
Total Gen. Plant Station Power | 35210 | 42494 | 212470 | Diesel |  | 0 | 0 | 0%
Total Service / Gross Output | 0.1576% | 0.177%
IPP1 | 600600 | 646164.3 | 3230821.5
Total System Generation | 22938640 | 23974594 | 119872970
Generating Units Station Power
Generating Units Operating Hours |  | FYTD | TOTAL |  |  | FYTD | TOTAL | This Month | FYTD | FYTD
| This Month | Monthly | FYTD |  | This Month | AVG. | FYTD | SS Power | AVG. | SS Power
Unit | HRS | AVG. | HRS | Unit | KWH | KWH | KWH | KWH | KWH | KWH
Unit 10 | 0 | 0 | 0 | Unit 10 | 0 | 0 | 0 | 0 | 0 | 0
Unit 11 | 0 | 0 | 0 | Unit 11 | 0 | 0 | 0 | 0 | 0 | 0
Unit 16 | 0 | 0 | 0 | Unit 16 | 0 | 0 | 0 | 0 | 0 | 0
Unit 17 | 704.3 | 701.06 | 3505.3 | Unit 17 | 8141640 | 8981624 | 44908120 | 2490 | 3478 | 17390
Unit 19 | 58.7 | 162.2 | 811 | Unit 19 | 500000 | 1328000 | 6640000 | 27120 | 32416 | 162080
Unit 20 | 0 | 0 | 0 | Unit 20 | 0 | 0 | 0 | 5600 | 6600 | 33000
Aggreko | 691.7374 | 696.4944 | 3482.4719 | Aggreko | 13696400 | 13664970 | 68324850 | 230 | 742 | 3710
Diesel Generation(Emergency) | 1 | 2 | 8 | Diesel | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | TOTAL | 22338040 | 23974594 | 119872970 | 35210 | 42494 | 212470

## PR-Pag3
November - 2020
BOILERS/STM. TURBINES | SS | GAS TURBINE | SS | STX. EMERGENCY DIESEL | SS | OTHERS | SS
| Kwh |  | Kwh |  | Kwh |  | Kwh
SS10 Plant Aux. Trans 480V | 0 | Plant SS |  | Diesel | 0 | Station Service Shops | 26160
SS10 Unit Aux.. Trans 480V | 0 | Unit 16 | 0 |  |  | Station Service Office | 0
|  | Unit 17 | 690 |  |  | Fuel Tanks SS | 0
Unit 10 Total Station Power | 0 | Unit 19 | 27120 | TOTAL DIESEL | 0 | Switch Yard SS | 152640
|  | Unit 20 | 5600 |  |  | Richmond Sub SS
|  | Aggreko | 230 |  |  | Midland Sub SS
SS11 Plant Aux. Trans 480V | 0 |  |  |  |  | TOTAL OTHERS | 178800
SS11 Unit Aux.. Trans 480V | 0 | Unit SS |  | WATER PLANTS | SS
|  | Unit 16 | 0 |  | Kwh | SwitchGear Bkr1 SS | 1059253
Unit 11 Net Total Station Power | 0 | Unit 17 | 1800 | Plant ABC Pump usage | 0 | SwitchGear Bkr3 SS | 284381.05
|  | Unit 19 | 0 |  |  | SS10 Unit Aux Trans. | 0
|  | Unit 20 | 0 | Intake Pump A&B+Chloropac | 0 | SS11 Unit Aux Trans. | 0
HRSG 21 Station Power | 0 | TOTAL GAS TURBINES | 35440 |  |  | Total GT Unit SS | 1800
HRSG 24 Station Power** | 0 | Plant Pumps |  | RO Plant Electrical Usage | 427195
|  | Intake Pump A | 0 | UPW Electrical Usage | 14254.62 |  | 1345434.05
|  | Intake Pump B | 0 | RO ANNEX Electrical Usage | 584356
WHB Net Station Power | 0 | Intake Pump C | 0
TOTAL BOILERS / STM TURBINES | 0 |  |  | TOTAL WATER PLANTS | 1025805.62 | Total Station Service* | 1240045.62
*Total SS switched to a summaton of individual meters from general 'main' distribution meters summation
** No power to meter

## PR-Pag4
November - 2020
Desalination Plants Summary
|  | FYTD | TOTAL | Units Water Output
| Service | AVG. | FYTD | This Month | FYTD
Unit | HRS | HRS | HRS | GALS | GALS
RO 1 |  |  |  | 36134000 | 183130500
RO 2 |  |  |  | 51111333.3333 | 254980000
STX TOTALS |  |  |  | 87245333.3333 | 438110500
Boilers Summary
|  | Boilers Service Hours |  |  | Make Up Feed Water |  | Low Pressure Steam |  | High Pressure Steam
| Service | AVG. | FYTD | This Month | AVG. | FYTD | This Month | FYTD | This Month | FYTD
Unit | HRS | HRS | HRS | GALS | GALS | GALS | LBS | AVG. | LBS | AVG.
HRSG 21/IPOS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HRSG 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Boiler 11 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
TOTALS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Distribution |  | This Month | FYTD-AVG. | FYTD |  | Steam Summary |  | LP Steam | HP Steam
|  | GALS | GALS | GALS |  | ITEM |  | LBS | LBS
Total Plant Water Produced |  | 87245333.3333 | 87622100 | 438110500 |  | Total Steam Produced |  | 0 | 0
Total Reverse Osmosis Produced |  | 87245333.3333 | 36626100 | 183130500 |  | To Steam Turbine 10 |  |  | 0
Total to Distribution Tank |  | 85733049.6667 | 86101053.5333 | 430505267.6667 |  | To Steam Turbine 11 |  |  | 0
Apparent Station Use |  | 1512283.6667 | 1521046.4667 | 7605232.3333 |  | From Steam Turbine 10 |  | 0 | 0
Water to day Tank |  | 907333.3333 | 1112666.6667 | 5563333.3333 |  | From Steam Turbine 11 |  | 0
UPW Feed |  | 1485583.6667 | 1492666.4667 | 7463332.3333
UPW Product |  | 907333.3333 | 1112666.6667 | 5563333.3333 |  | Used Steam for Production |  | 0 | 0
Water to the Demineralizer (Regen) |  | 0 | 0 | 0 |  | Others uses & Deareator |  |  | 0
Boilers Make Up |  | 0 | 0 | 0
Unit 16 Noxwater |  | 0 | 0 | 0
Unit 17 Noxwater |  | 760796.3867 | 2278854.2236 | 11394271.1182
Unit 19 Noxwater |  | 57672.3633 | 161660.0098 | 808300.0488
Unit 20 Noxwater |  | 0 | 0 | 0
Metered Total Wtr to NOX |  | 812300 | 971500 | 4857500
Station Wtr Warehouse & Eng. |  | 0 | 0 | 0
Plant Service Water |  | 26700 | 28380 | 141900
Admin. Off. Water |  | 0 | 0 | 0
WTR to Fire Hydrants |  | 0 | 0 | 0 |  | * Unaccountable value has been zeroed due to non-functional distribution
Total Water used |  | 1512283.6667 | 1521046.4667 | 7605232.3333 |  |  | meter giving rise to high unaccountable value
Unaccountable Water |  | 0 | 0 | 0

## PR-Pag5
November - 2020
| Feeders Power Distribution |  | This Month Total Plant Outages |  |  | Month | FYTD | FYTD | Feeders Outages Summary
| Output | FYTD | Planned | Forced | Time Hrs | Lost Sales | Total | Total | Feeder | Time | Date | Reason
Feeder | KWH | AVG KWH | Outages | Outages | Duration | Kwh | Outages | Time Hrs |  | min.
[9 empty] | Feeder #10A | 3 | 2020-11-13 | Feeders tripped upon closure of 9B
Feeder #1A (13Kv) | 1144082 | 1260682.7 | 0 | 0 | 0 | 0 | 6 | 6.15 | Feeder #10B | 2 | 2020-11-13 | Feeders tripped upon closure of 9B
Feeder #2A (13 Kv) | 2675297.25 | 2963298.762 | 0 | 4 | 1.3667 | 5087.7679 | 26 | 25.4667 | Feeder #10A | 3 | 2020-11-16 | Feeders tripped due to insufficient load generation
Feeder #3A (13(Kv) | 969113 | 1075611.8 | 0 | 3 | 1.2167 | 1640.3935 | 14 | 9.3833 | Feeder #10B | 5 | 2020-11-16 | Feeders tripped due to insufficient load generation
Feeder #4A (13 Kv) | 1392114.5 | 1495421.55 | 0 | 2 | 1.2167 | 2356.3976 | 12 | 10.5667 | Feeder #2A | 4 | 2020-11-17 | Feeders tripped due to insufficient load generation
Feeder #5A (13 Kv) | 3230000 | 3618000 | 0 | 0 | 0 | 0 | 4 | 3.5 | Feeder #10A | 5 | 2020-11-17 | Feeders tripped due to insufficient load generation
Feeder #6A (13 Kv) | 1905874 | 2115791.6 | 0 | 0 | 0 | 0 | 5 | 8.6 | Feeder #10A | 3 | 2020-11-17 | Feeders tripped due to insufficient load generation
Feeder #9A (13 Kv) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Feeder #10A | 3 | 2020-11-17 | Feeders tripped due to insufficient load generation
Feeder #6B (24 Kv) | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 4.4333 | Feeder #2A | 32 | 2020-11-17 | Aggreko units tripped off line
Feeder #8B (24 Kv) | 5578868 | 6085303.4 | 0 | 0 | 0 | 0 | 4 | 4.4333 | Feeder #3A | 6 | 2020-11-17 | Aggreko units tripped off line
Feeder #9B(24Kv) | 1139488.6 | 2673833.8403 | 0 | 0 | 0 | 0 | 2 | 4.9333 | Feeder #4A | 32 | 2020-11-17 | Aggreko units tripped off line
Feeder #10A(24Kv) | 1776401 | 1577962.75 | 0 | 0 | 0 | 0 | 0 | 0 | Feeder #10A | 32 | 2020-11-17 | Aggreko units tripped off line
Feeder #10B(24Kv) | 1467690.5 | 1508341.7 | 0 | 8 | 1.75 | 3575.995 | 25 | 14.4167 | Feeder #3A | 25 | 2020-11-17 | Feeder tripped due to insufficient load generation
TOTALS | 21278928.85 | 24374248.1023 | 0 | 17 | 5.55 | 12660.5539 | 102 | 91.8833 | Feeder #2A | 41 | 2020-11-18 | Aggreko units tripped off line
[9 empty] | Feeder #3A | 42 | 2020-11-18 | Aggreko units tripped off line
[9 empty] | Feeder #4A | 41 | 2020-11-18 | Aggreko units tripped off line
[9 empty] | Feeder #10A | 40 | 2020-11-18 | Aggreko units tripped off line
[9 empty] | Feeder #2A | 5 | 2020-11-23 | Feeders tripped due to insufficient load generation
[9 empty] | Feeder #10A | 16 | 2020-11-23 | Feeders tripped due to insufficient load generation
0
0
0
0
0

## PR-Pag6
November - 2020
Power - Water Units Outages
|  | TOTAL NUMBER OF OUTAGES |  |  |  | PLANNED OUTAGES |  |  |  | FORCED OUTAGES
| This Month | FYTD | This Month | FYTD | This Month | FYTD | Duration | FYTD | This Month | FYTD | Duration | FYTD
Unit | Outages | Outages | Hours | Hours | Outages | Outages | Hours | Hours | Outages | Outages | Hours | Hours
Unit 10ST | 1 | 5 | 720 | 3672 | 1 | 5 | 720 | 3672 | 0 | 0 | 0 | 0
Unit 11ST | 1 | 5 | 720 | 3672 | 1 | 5 | 720 | 3672 | 0 | 0 | 0 | 0
Unit11BLR | 1 | 5 | 720 | 3672 | 1 | 5 | 720 | 3672 | 0 | 0 | 0 | 0
Unit 16 | 0 | 0 | 720 | 3672 | 0 | 0 | 720 | 3672 | 0 | 0 | 0 | 0
Unit 17 | 0 | 4 | 0 | 26.65 | 0 | 2 | 0 | 0 | 0 | 2 | 0 | 26.65
Unit 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Unit 20 | 1 | 5 | 720 | 3672 | 1 | 5 | 720 | 3672 | 0 | 0 | 0 | 0
Aggreko | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HRSG 21 | 1 | 5 | 720 | 3672 | 1 | 5 | 720 | 3672 | 0 | 0 | 0 | 0
HRSG 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTALS | 5 | 29 |  |  | 5 |  |  |  | 0 | 2
Plant Power Distribution
|  |  | This Month | FYTD | FYTD |  |  |  | Peak and Min. Load Data
|  |  | KWH | KWH | AVG. | [5 empty] | FYTD
Total 13KV Feeders |  |  | 11316480.75 | 62644032.06 | 12528806.412 |  |  |  |  | This Month | AVG.
Total 24KV Feeders |  |  | 9962448.1 | 52301578.021 | 10460315.6042 |  |  | Peak Load (KW) |  | 39400 | 40336
Feeder Totals |  |  | 21278928.85 | 114945610.081 | 22989122.0162 |  |  | Day |  | Sunday
Total Generation |  |  | 22938640 | 123103791.5 | 24620758.3 |  |  | Date |  | 2020-11-08
T1,T3,T4, T5, T6, T7 Available |  |  | 8991105 | 148240460 | 29648092 |  |  | Hour |  | 19:00
T1&T3&T4&T5&T6&T7 Losses* |  |  | 312477.1 | 1215553.869 | 243110.7738
Net Distributed |  |  | 22626162.9 | 121888237.631 | 24377647.5262 |  |  | Min. Load (KW) |  | 24450 | 26008
Line Department |  |  |  | 0 | 0 |  |  | Day |  | Sunday
Water Department |  |  |  | 0 | 0 |  |  | Date |  | 2020-11-29
Power Plant Services |  |  |  | 0 | 0 |  |  | Hour |  | 7:00
Administration & General |  |  |  | 0 | 0
Plant Station Service |  |  |  | 0 | 0
Net Available from Bus |  |  |  | 0 | 0
Wapa KWH From Dist |  |  |  | 0 | 0 |  | * meters under review
SwitchGear Bkr1 SS |  |  | 1059253 | 5406079.5 | 1081215.9
SwitchGear Bkr3 SS |  |  | 284381.05 | 1497548.05 | 299509.61
Total Station Service Power |  |  | 1240045.62 | 6923127.55 | 1384625.51
Net KWH Available for Sale |  |  | 21280728.85 | 114965110.081 | 22993022.0162
Plant Unaccountable |  |  | 0 | 0 | 0
0
0
0
0
0

## PR-Pag7
November - 2020
|  |  | Fuel Allocation | BBLS
|  |  | Propane Fuel For Power | 82518.8095
|  |  | Propane Fuel For Water | 0
|  |  | No 2 Fuel For Power | 2188.4473
|  |  | No 2 Fuel For Water | 0
|  |  | O&M Factor for Water | 0
Power Boilers
11
TPBSFC
BLR11FUELCOST
0 |  | GT Fuel Allocation
HP Stm from WHB
GTFCAE
WHBHPSTMCOST
Combined Cycle |  | 0
WHB, 16. 17. 20
TGTFC |  |  |  |  | Electrc Power
GEN1617FUELCOST |  |  |  |  | Generation
1759979.7993 |  |  |  |  | TOTFUELCOSTPWR
|  |  | Gas Turbine |  | 3275251.6783
Power Allocation
Simple Cycle |  |  | GTFCA
GEN161720ADJFCOST
GEN 19 FUELCOST |  |  | 1759979.7993
129727.8244
RO Water
DIESEL |  |  |  |  | Production Cost
Emergency Gen.
DIESEL_EMER. |  |  |  |  | 155350.6585
0
*Note: The fuel prices in this report are an estimation
Cost Calculated at:
| 69.2813 | per BBL for No. 2
| 39.7362 | per BBL for Propane

## PR-Pag8
November - 2020
Fuel Allocations
Fuel Summary |  |  |  | ITEM | Amount | FYTD
ITEM | Propane | No2 BBLS
|  |  |  | Electric Power Generation | 3275251.6783 | 17611270.4677
Inventory-Beginning of Month |  | 38474.5663 |  | Water Production* | 155350.6585 | 786442.5029
Received During Month |  | 0 |  | Total #2 Fuel Cost | 151618.4179 | 2513110.5863
Consumed During Month |  | 2188.4473 |  | BBLS Propane for Power | 82518.8095 | 413278.4048
Inventory-End of Month |  | 36286.119 |  | BBLS Propane for Water | 0 | 0
Calorific Value (BTU/GAL) | 91647 | 136999.0879 |  | BBLS No. 2 for Power | 2188.4473 | 35636.5639
|  |  |  | BBLS No.2 for Water | 0 | 0
|  |  |  | Propane BBL Cost | 39.7362
End of Month- Fuel in Tanks |  |  |  | No. 2 BBL Cost | 69.2813
|  | No 2 BBLS |  | * Note: Includes RO Electric Usage
|  |  |  | No. 2 Oil Used | This Month | FYTD
Tank 1 |  | 0 |  | No. 2 Units | BBLS No. 2 | BBLS No. 2
Tank 2 |  | 0
Tank 3 |  | 4450.51 |  | Unit 11 | 0 | 0
Tank 4 |  | 4050.7 |  | Unit 16 | 0 | 0
Tank 5 |  | 26657.03 |  | Unit 17 | 315.967 | 9518.9069
Tank 6 |  | 1127.88 |  | Unit 19 | 1872.4803 | 26117.657
Tank 7 |  |  |  | Unit 20 | 0 | 0
TOTALS | 0 | 36286.119 |  | Diesel Emergency | 0 | 0
|  |  |  | Total No. 2 Consumed | 2188.4473 | 35636.5639
Fuel Shipments |  |  |  | Propane Used | This Month | FYTD
|  | No2 | No2 | Propane Units | Gals | Gals
|  | Date | BBLS | Unit 16 | 0 | 0
|  |  |  | Unit 17 | 1837109.4026 | 9215125.8655
|  |  |  | Unit 20 | 0 | 0
|  |  |  | Aggreko | 1628680.5974 | 8142567.1345
|  |  |  | Total Propane Consumed | 3465790 | 17357693
TOTAL SHIPMENTS |  |  | 0
|  |  |  | Tank Fuel / Metered Fuel | Ratio
Used Oil recovered | 0 | Bbls
|  |  |  | No. 2 | 1.016
|  |  |  | Propane | 0.9751
Ratio 0.95 to 1.05 acceptable
0
0
0
0
0

## PR-Pag9
November - 2020

## PR-Pag10
November - 2020

## PR-Pag11
November - 2020