## DataBase
FISCAL YEAR 2020-2021
|  | 31 | 31 | 30 | 31 | 30 | 31 | 31 | 28 | 31 | 30 | 31 | 0
|  | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | APR | MAY | JUN | FYTD | FYTD-AVG
Item | Index | 7 | 8 | 9 | 10 | 12 | 12 | 13 | 14 | 15 | 16 | 17 | 18
Total System Generation |  | 7: 25719.9895; 8: 25797.0635; 9: 24243.5125 | 75760.5655 | 25253.5218
Gross Power Generation |  | 7: 25075.95; 8: 25132.08; 9: 23591.11 | 73799.14 | 24599.7133
Gross Water Production |  | 7: 90987.3333; 8: 89121.8333; 9: 82706.1667 | 262815.3333 | 87605.1111
System Load Factor |  | 7: 82.05%; 8: 80.83%; 9: 81.77% | 244.6% | 81.55%
Total No. 6 Fuel Cost |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Total No. 2 Fuel Cost |  | 7: 426605.2954; 8: 639765.748; 9: 1161061.1421 | 2227432.1855 | 742477.3952
Total Propane Cost |  | 7: 3453706.8756; 8: 3267490.988; 9: 2553332.1795 | 9274530.0431 | 3091510.0144
Power Fuel Cost (Internal) |  | 7: 0.15474; 8: 0.15547; 9: 0.15745 | 0.46766 | 0.15589
Power Fuel Cost (to bus) |  | 7: 0.16018; 8: 0.16268; 9: 0.16406 | 0.48692 | 0.16231
Water Fuel Cost (Internal) |  | 7: 1.8354; 8: 1.8234; 9: 1.8371 | 5.4959 | 1.832
Water Fuel Cost (to Distribution |  | 7: 1.872; 8: 1.8621; 9: 1.8651 | 5.5992 | 1.8664
Total Power Fuel Cost |  | 7: 3713314.5045; 8: 3744752.5614; 9: 3562453.9143 | 11020520.9802 | 3673506.9934
Total Water Fuel Cost |  | 7: 166997.6665; 8: 162504.1747; 9: 151939.4073 | 481441.2484 | 160480.4161
No. 6 Fuel Consumed |  | 7: 0; 8: 0; 9: 0 | 0 | 0
No. 2 Fuel Consumed |  | 7: 5520.1249; 8: 9234.3241; 9: 16758.6572 | 31513.1063 | 10504.3688
No. 6 Fuel Received |  | 7: 0; 8: 0; 9: 0 | 0 | 0
No. 2 Fuel Received |  | 7: 0; 8: 32182.12; 9: 0 | 32182.12 | 32182.12
EOM No. 6 Fuel On Hand |  | 7: 0; 8: 0; 9: 0 | 0 | 0
EOM No. 2 Fuel On Hand(based on 2000Bbl/day Consumption) |  | 7: 17.1102; 8: 28.5841; 9: 20.2048 | 65.8991 | 21.9664
Plant Water Use ( Internal) |  | 7: 15419.311; 8: 1905.8303; 9: 2090.0527 | 19415.194 | 6471.7313
Plant Power Use (Internal) |  | 7: 276393.5654; 8: 276437.3787; 9: 254105.137 | 806936.081 | 268978.6937
Heat Rates BTU/KWH | [13 empty] | 0 | 0
(Net Energy in KWH Produced) | [13 empty] | 0 | 0
Units | [13 empty] | 0 | 0
Combined Cycle-Units 10,16 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Combined Cycle-Units 11,16 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 10-Steam (10 MW) |  | 7: N/A; 8: N/A; 9: N/A | 0 | 0
Unit 11-Steam (21 MW) |  | 7: N/A; 8: N/A; 9: N/A | 0 | 0
Unit 16-Gas Turbine (23 MW) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 17-Gas Turbine (20.3 MW) |  | 7: 19723.3655; 8: 19377.4218; 9: 19918.1643 | 59018.9517 | 19672.9839
Unit 19-Gas Turbine (24 MW) |  | 7: 31163.4711; 8: 25705.1735; 9: 19292.4251 | 76161.0697 | 25387.0232
Unit 20_Gas Turbine (24 MW) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Aggreko |  | 7: 10887.2856; 8: 10962.7384; 9: 10998.875 | 32848.899 | 10949.633
Total Plant . |  | 7: 15100.2454; 8: 15206.0874; 9: 15197.1983 | 45503.5311 | 15167.8437
Desal Performance Ratios | [13 empty] | 0 | 0
IDE3 (1.25MGD) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE4 (.55MGD) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE5 (0.55MGD) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE9 (1.3MGD) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit Availability Percent | [13 empty] | 0 | 0
Unit 10 | [13 empty] | 0% | 0% | bar: 7 to 9
Unit 11 | [13 empty] | 0% | 0% | bar: 7 to 9
Unit 16 | [13 empty] | 0% | 0% | bar: 7 to 9
Unit 17 |  | 7: 100%; 8: 100%; 9: 96.3% | 296.3% | 98.77%
Unit 19 |  | 7: 100%; 8: 100%; 9: 100% | 300% | 100%
Unit 20 | [13 empty] | 0% | 0% | bar: 7 to 9
Aggreko |  | 7: 100%; 8: 100%; 9: 100% | 300% | 100%
IDE 3 |  | 7: 100%; 8: 100%; 9: 100% | 300% | 100%
IDE 4 | [13 empty] | 0% | 0% | bar: 7 to 9
IDE 5 | [13 empty] | 0% | 0% | bar: 7 to 9
IDE 9 |  | 7: 100%; 8: 100%; 9: 100% | 300% | 100%
HRSG 21 | [13 empty] | 0% | 0% | bar: 7 to 9
HRSG 24 |  | 7: 100%; 8: 100%; 9: 100% | 300% | 100%
Pag2 | [13 empty] | 0 | 0
Item | [13 empty] | 0 | 0
Steam Turbine Generation |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Gas Turbine Generation |  | 7: 25075950; 8: 25132080; 9: 23591110 | 73799140 | 24599713.3333
Diesel Generation |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Total Generation |  | 7: 25075950; 8: 25132080; 9: 23591110 | 73799140 | 24599713.3333
IPP1 |  | 7: 644039.5; 8: 664983.5; 9: 652402.5 | 1961425.5 | 653808.5
Total System Generation |  | 7: 25719989.5; 8: 25797063.5; 9: 24243512.5
Steam Station Power |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Gas Turbine Station Power |  | 7: 45390; 8: 45350; 9: 49610 | 140350 | 46783.3333
Total Gen. Plant Station Power |  | 7: 45390; 8: 45350; 9: 49610 | 140350 | 46783.3333
Total Service / Gross Output |  | 7: 0.181%; 8: 0.1804%; 9: 0.2103% | 0.5717% | 0.1906%
Operating Hours | [13 empty] | 0 | 0
Unit 10 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 11 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 16 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 17 |  | 7: 739.5; 8: 722.8; 9: 610.5 | 2072.8 | 690.9333
Unit 19 |  | 7: 180.1; 8: 242.4; 9: 287.9 | 710.4 | 236.8
Unit 20 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Aggreko |  | 7: 713.003; 8: 697.0245; 9: 639.6298 | 2049.6573 | 683.2191
Diesel Generation(Emergency) |  | 7: 1; 8: 3; 9: 0 | 4 | 2
Unit Average Loading | [13 empty] | 0 | 0
(KWH / Operating Hours) | [13 empty] | 0 | 0
Unit 10 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 11 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 16 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 17 |  | 7: 13623.1508; 8: 13655.7831; 9: 13025.7166 | 40304.6505 | 13434.8835
Unit 19 |  | 7: 4553.0261; 8: 6600.6601; 9: 11774.9218 | 22928.608 | 7642.8693
Unit 20 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Aggreko |  | 7: 19890; 8: 19600; 9: 19150 | 58640 | 19546.6667
Diesel |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Utilization Factor | [13 empty] | 0 | 0
Unit 10 | [13 empty] | 0% | 0% | bar: 7 to 9
Unit 11 | [13 empty] | 0% | 0% | bar: 7 to 9
Unit 16 | [13 empty] | 0% | 0% | bar: 7 to 9
Unit 17 |  | 7: 62.21%; 8: 62.36%; 9: 59.48% | 184% | 61.35%
Unit 19 |  | 7: 18.58%; 8: 26.94%; 9: 48.06% | 93.59% | 31.2%
Unit 20 | [13 empty] | 0% | 0% | bar: 7 to 9
Aggreko |  | 7: 99.45%; 8: 98%; 9: 95.75%
Diesel | 1 | [12 empty] | 0% | 0% | bar: 7 to 9
Unit Output KW | 2 | [12 empty] | 0 | 0
Unit 10 | 3 | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 11 | 4 | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 16 | 5 | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 17 | 6 | 7: 10074320; 8: 9870400; 9: 7952200 | 27896920 | 9298973.3333
Unit 19 | 7 | 7: 820000; 8: 1600000; 9: 3390000 | 5810000 | 1936666.6667
Unit 20 | 8 | 7: 0; 8: 0; 9: 0 | 0 | 0
Aggreko |  | 7: 14181630; 8: 13661680; 9: 12248910 | 40092220 | 13364073.3333
Diesel |  | 7: 0; 8: 0; 9: 0 | 0 | 0
TOTAL | 9 | 7: 25075950; 8: 25132080; 9: 23591110 | 73799140 | 24599713.3333
Unit Station Service Power | [13 empty] | 0 | 0
Unit 10 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 11 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 16 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 17 |  | 7: 2370; 8: 3560; 9: 6150 | 12080 | 4026.6667
Unit 19 |  | 7: 35520; 8: 34800; 9: 36960 | 107280 | 35760
Unit 20 |  | 7: 7500; 8: 6990; 9: 6500 | 20990 | 6996.6667
Aggreko |  | 7: 260; 8: 200; 9: 2350 | 2810 | 936.6667
Diesel |  | 7: 0; 8: 0; 9: 0 | 0 | 0
TOTAL |  | 7: 45390; 8: 45350; 9: 49610 | 140350 | 46783.3333
pag3 | [13 empty] | 0 | 0
BOILERS/STM. TURBINES | [13 empty] | 0 | 0
[14 empty] | 0 | 0
SS10 Plant Aux. Trans 480V |  | 7: 0; 8: 0; 9: 0 | 0 | 0
SS10 Unit Aux.. Trans 480V |  | 7: 0; 8: 0; 9: 0 | 0 | 0
[14 empty] | 0 | 0
Unit 10 Total Station Power |  | 7: 0; 8: 0; 9: 0 | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
SS11 Plant Aux. Trans 480V |  | 7: 0; 8: 0; 9: 0 | 0 | 0
SS11 Unit Aux.. Trans 480V |  | 7: 0; 8: 0; 9: 0 | 0 | 0
[14 empty] | 0 | 0
Unit 11 Net Total Station Power |  | 7: 0; 8: 0; 9: 0 | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
HRSG 21 Station Power |  | 7: 0; 8: 0; 9: 0 | 0 | 0
HRSG 24 Station Power |  | 7: 0; 8: 0; 9: 0 | 0 | 0
WHB Net Station Power |  | 7: 0; 8: 0; 9: 0 | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
TOTAL BOILERS / STM TURBINES |  | 7: 0; 8: 0; 9: 0 | 0 | 0
GAS TURBINE | [13 empty] | 0 | 0
[14 empty] | 0 | 0
Plant SS | [13 empty] | 0 | 0
Unit 16 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 17 |  | 7: 30; 8: 980; 9: 4410 | 5420 | 1806.6667
Unit 19 |  | 7: 35520; 8: 34800; 9: 36960 | 107280 | 35760
Unit 20 |  | 7: 0; 8: 5490; 9: 6500 | 11990 | 5995
|  | 7: 260; 8: 200; 9: 2350 | 2810 | 936.6667
Unit SS | [13 empty] | 0 | 0
Unit 16 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 17 |  | 7: 2340; 8: 2580; 9: 1740 | 6660 | 2220
Unit 19 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 20 |  | 7: 7500; 8: 1500; 9: 0 | 9000 | 4500
|  | 7: 9840; 8: 4080; 9: 1740 | 15660 | 5220
Plant IDE pumpage | [13 empty] | 0 | 0
IDE 4 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 5 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
[14 empty] | 0 | 0
Total |  | 7: 0; 8: 0; 9: 0 | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
TOTAL GAS TURBINES |  | 7: 45650; 8: 45550; 9: 51960 | 143160 | 47720
STX. EMERGENCY DIESEL | [13 empty] | 0 | 0
[14 empty] | 0 | 0
Diesel |  | 7: 0; 8: 0; 9: 0 | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
TOTAL DIESEL |  | 7: 0; 8: 0; 9: 0 | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
WATER PLANTS | [13 empty] | 0 | 0
[14 empty] | 0 | 0
IDE 3 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
IDE 9 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Intake Pump A |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Intake Pump B |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Intake Pump C |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE Intake Pumps A&B+Chloropac |  | 7: 0; 8: 0; 9: 0 | 0 | 0
RO Plant |  | 7: 458594; 8: 477312; 9: 395292 | 1331198 | 443732.6667
UPW Electricity |  | 7: 17911; 8: 17174; 9: 15510 | 50595 | 16865
RO ANNEX Electricity |  | 7: 620604; 8: 567940; 9: 569716 | 1758260 | 586086.6667
TOTAL WATER PLANTS |  | 7: 1097109; 8: 1062426; 9: 980518 | 3140053 | 1046684.3333
OTHERS | [13 empty] | 0 | 0
[14 empty] | 0 | 0
Station Service Shops |  | 7: 25440; 8: 31680; 9: 29640 | 86760 | 28920
Station Service Office | [13 empty] | 0 | 0
Fuel Tanks SS | [13 empty] | 0 | 0
Switch Yard SS |  | 7: 159360; 8: 161120; 9: 156480 | 476960 | 158986.6667
[14 empty] | 0 | 0
[14 empty] | 0 | 0
TOTAL OTHERS |  | 7: 184800; 8: 192800; 9: 186120 | 563720 | 187906.6667
[14 empty] | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
SwitchGear Bkr1 SS |  | 7: 1126712.5; 8: 1097708.5; 9: 1046123 | 3270544 | 1090181.3333
SwitchGear Bkr3 SS |  | 7: 301288.25; 8: 306636; 9: 302425.25 | 910349.5 | 303449.8333
[14 empty] | 0 | 0
Total |  | 7: 1428000.75; 8: 1404344.5; 9: 1348548.25 | 4180893.5 | 1393631.1667
Total SS from GAC |  | 7: 9840; 8: 4080; 9: 1740 | 15660 | 5220
Total Station Service Power |  | 7: 1327559; 8: 1300776; 9: 1218598 | 3846933 | 1282311
Total Unit #11 SS (Not Plant) | [13 empty] | 0 | 0
Total Unit #10 SS (Not Plant) | [13 empty] | 0 | 0
[14 empty] | 0 | 0
TOTAL STATION POWER |  | 7: 1786153; 8: 1778088; 9: 1613890 | 5178131 | 1726043.6667
KWH | [13 empty] | 0
ENERGY DISTRIBUTION | [13 empty] | 0
0
0
0
0
GROSS ENERGY DISTRIBUTION | [13 empty] | 0
Gross Electric Energy Produced |  | 7: 0; 8: 0; 9: 0 | 0
Gross Energy Used in Water Plants |  | 7: 0; 8: 0; 9: 0 | 0
PLANT TOTAL GROSS ENERGY USED |  | 7: 0; 8: 0; 9: 0 | 0
0
NET ENERGY DISTRIBUTION | [13 empty] | 0
Net Electricity to Distribution |  | 7: 0; 8: 0; 9: 0 | 0
Net Energy used on water to distribution |  | 7: 0; 8: 0; 9: 0 | 0
PLANT TOTAL NET ENERGY USED |  | 7: 0; 8: 0; 9: 0 | 0
0
Plant Service / Gross Output |  | 7: 0; 8: 0; 9: 0 | 0
0
BTU's | [13 empty] | 0
Fuel No. 2 Consumed (BTU's) |  | 7: 0; 8: 0; 9: 0 | 0
Fuel No. 6 Consumed (BTU's) |  | 7: 0; 8: 0; 9: 0 | 0
TOTAL ENERGY IN FUEL |  | 7: 0; 8: 0; 9: 0 | 0
0
GROSS ENERGY DISTRIBUTION | [13 empty] | 0
Gross Electric Energy Produced |  | 7: 0; 8: 0; 9: 0 | 0
Gross Energy Used in Water Plants |  | 7: 0; 8: 0; 9: 0 | 0
PLANT TOTAL GROSS ENERGY USED |  | 7: 0; 8: 0; 9: 0 | 0
0
NET ENERGY DISTRIBUTION | [13 empty] | 0
Net Electricity to Distribution |  | 7: 0; 8: 0; 9: 0 | 0
Net Energy used on water to distribution |  | 7: 0; 8: 0; 9: 0 | 0
PLANT TOTAL NET ENERGY USED |  | 7: 0; 8: 0; 9: 0 | 0
0
Plant Service / NET Output |  | 7: 0; 8: 0; 9: 0 | 0
0
EFFICIENCY | [13 empty] | 0
0
Gross Efficiency | [13 empty] | 0
Electric Generating Plant Only |  | 7: 0; 8: 0; 9: 0 | 0
Water Desalination Plant only |  | 7: 0; 8: 0; 9: 0 | 0
Combined Generating and Water Plant |  | 7: 0; 8: 0; 9: 0 | 0
0
Net Efficiency | [13 empty] | 0
Electric Generating Plant Only |  | 7: 0; 8: 0; 9: 0 | 0
Water Desalination Plant only |  | 7: 0; 8: 0; 9: 0 | 0
Combined Generating and Water Plant |  | 7: 0; 8: 0; 9: 0 | 0
0
Heat Rates BTU/KWH | [13 empty] | 0
0
Gross Heat Rate | [13 empty] | 0
Electric Generating Plant Only |  | 7: 0; 8: 0; 9: 0 | 0
Water Desalination Plant only |  | 7: 0; 8: 0; 9: 0 | 0
Combined Generating and Water Plant |  | 7: 0; 8: 0; 9: 0 | 0
0
Net Heat Rate | [13 empty] | 0
Electric Generating Plant Only |  | 7: 0; 8: 0; 9: 0 | 0
Water Desalination Plant only |  | 7: 0; 8: 0; 9: 0 | 0
Combined Generating and Water Plant |  | 7: 0; 8: 0; 9: 0 | 0
[14 empty] | 0 | 0
pag4 | [13 empty] | 0 | 0
Desalination Plants Summary | [13 empty] | 0 | 0
Unit Service HRS | [13 empty] | 0 | 0
IDE 3 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 4 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 5 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 9 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit Output GALS | [13 empty] | 0 | 0
IDE 3 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 4 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 5 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 9 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
From TC |  | 7: 0; 8: 0; 9: 0 | 0 | 0
RO WAPA Meter |  | 7: 0; 8: 0; 9: 0 | 0 | 0
RO 7Seas water Meter 1 |  | 7: 37516000; 8: 39683000; 9: 32676000 | 109875000 | 36625000
RO 7Seas water Meter 2 |  | 7: 37390000; 8: 39542000; 9: 32563000 | 109495000 | 36498333.3333
RO Meter Average |  | 7: 37453000; 8: 39612500; 9: 32619500 | 109685000 | 36561666.6667
RO 7Seas ANNEXwater Meter 1 |  | 7: 53489000; 8: 49507000; 9: 50040000
RO 7Seas ANNEX water Meter 2 |  | 7: 53630000; 8: 49527000; 9: 50154000
RO 7Seas ANNEX water Meter 3 |  | 7: 53484000; 8: 49494000; 9: 50066000
RO Meter Average |  | 7: 53534333.3333; 8: 49509333.3333; 9: 50086666.6667 | 153130333.3333 | 51043444.4444
STX TOTALS |  | 7: 90987333.3333; 8: 89121833.3333; 9: 82706166.6667 | 262815333.3333 | 87605111.1111
Unit Cond LBS | [13 empty] | 0 | 0
IDE 3 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 4 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 5 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 9 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
STX TOTALS |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit LP Steam LBS | [13 empty] | 0 | 0
[14 empty] | 0 | 0
IDE 3 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 4 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 5 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 9 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
STX TOTALS |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit HP Steam LBS | [13 empty] | 0 | 0
IDE 3 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 4 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 5 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 9 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
STT TOTALS |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit Utilization Factor Percent | [13 empty] | 0% | 0%
IDE 3 | [13 empty] | 0% | 0% | bar: 7 to 9
IDE 4 | [13 empty] | 0% | 0% | bar: 7 to 9
IDE 5 | [13 empty] | 0% | 0% | bar: 7 to 9
IDE 9 |  | 7: 0; 8: 0; 9: 0 | 0% | 0%
Boilers Summary | [13 empty] | 0 | 0
Service Hrs | [13 empty] | 0 | 0
WHB 21 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
HRSG 24 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Boiler 11 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
This Month Gals | [13 empty] | 0 | 0
WHB 21 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
HRSG 24 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Boiler 11 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
TOTALS |  | 7: 0; 8: 0; 9: 0 | 0 | 0
This Month LP STM LBS | [13 empty] | 0 | 0
WHB 21 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
HRSG 24 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Boiler 11 | [13 empty] | 0 | 0
TOTALS |  | 7: 0; 8: 0; 9: 0 | 0 | 0
This Month HP STM LBS | [13 empty] | 0 | 0
WHB 21 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
HRSG 24 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
|  | 0 | 0 | 0
Boiler 11 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
TOTALS |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Water Distribution | [13 empty] | 0 | 0
Total Water Produced |  | 7: 90987333.3333; 8: 89121833.3333; 9: 82706166.6667 | 262815333.3333 | 87605111.1111
Total to Distribution Tank |  | 7: 89206406.6667; 8: 87271346.6667; 9: 81464380 | 257942133.3333 | 85980711.1111
Apparent Station Use |  | 7: 1780926.6667; 8: 1850486.6667; 9: 1241786.6667 | 4873200 | 1624400
Water to day Tank (Booster) Plus UPW Product |  | 7: 1151333.3333; 8: 1244333.3333; 9: 1259000 | 3654666.6667 | 1218222.2222
Water to the Demineralizer(regen) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Boilers Make Up |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 16 Noxwater |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 17 Noxwater |  | 7: 8237911.2549; 8: 813283.4473; 9: 756803.4668 | 9807998.1689 | 3269332.723
Unit 19 Noxwater |  | 7: 136276.123; 8: 214627.1973; 9: 360488.5254 | 711391.8457 | 237130.6152
Unit 20 Noxwater |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Total Wtr to NOX |  | 7: 1007500; 8: 1094100; 9: 1093700 | 3195300 | 1065100
Station Wtr Warehouse & Eng. |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Plant Service Water |  | 7: 26900; 8: 17300; 9: 20400 | 64600 | 21533.3333
Admin. Off. Water |  | 7: 0; 8: 0; 9: 0 | 0 | 0
WTR to Fire Hydrants |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Total Water Used |  | 7: 1780926.6667; 8: 1850486.6667; 9: 1241786.6667 | 4873200 | 1624400
Unaccountable Water |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Steam Summary | [13 empty] | 0 | 0
LP Steam LBS | [13 empty] | 0 | 0
Total Steam Produced |  | 7: 0; 8: 0; 9: 0 | 0 | 0
From Steam Turbine 10 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
From Steam Turbine 11 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
[14 empty] | 0 | 0
HP STM to IDE's Ejectors | [13 empty] | 0 | 0
LP STM to IDE's Process |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Used Steam for Production |  | 7: 0; 8: 0; 9: 0 | 0 | 0
[14 empty] | 0 | 0
Others uses & Deareator |  | 7: 0; 8: 0; 9: 0 | 0 | 0
HP Steam LBS | [13 empty] | 0 | 0
Total Steam Produced |  | 7: 0; 8: 0; 9: 0 | 0 | 0
To Steam Turbine 10 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
To Steam Turbine 11 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
From Steam Turbines |  | 7: 0; 8: 0; 9: 0 | 0 | 0
HP STM to IDE's Ejectors |  | 7: 0; 8: 0; 9: 0 | 0 | 0
LP STM to IDE's Process | [13 empty] | 0 | 0
Used Steam for Production |  | 7: 0; 8: 0; 9: 0 | 0 | 0
[14 empty] | 0 | 0
Others uses & Deareator |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Boiler MUF from MUF Meters |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Boiler MUF from Desal Unit HPSTM Meters |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Boilers MUF per Desal Design Quantities |  | 7: 0; 8: 0; 9: 0 | 0 | 0
LPSTM to Desal/Condensate Return | [13 empty] | 0% | 0% | bar: 7 to 9
Boiler 10 MUF/HPSTM Generated | [13 empty] | 0% | 0%
Boiler 11 MUF/HPSTM Generated |  | 7: N/A; 8: N/A; 9: N/A | 0% | 0%
WHB MUF / HP & LPSTM Generated |  | 7: N/A; 8: N/A; 9: N/A | 0 | 0
[14 empty] | 0% | 0%
pag5 | [13 empty] | 0% | 0%
Feeder KWH | [13 empty] | 0 | 0
Feeder # 1 (13Kv) |  | 7: 1360494.62; 8: 1358974.88; 9: 1203228 | 3922697.5 | 1307565.8333
Feeder # 2 (13 Kv) |  | 7: 3241831.56; 8: 3157129.75; 9: 2883075 | 9282036.31 | 3094012.1033
Feeder # 3 (13(Kv) |  | 7: 1111674; 8: 1126770; 9: 1084143 | 3322587 | 1107529
Feeder # 4 (13 Kv) |  | 7: 1542316.75; 8: 1558387; 9: 1484825 | 4585528.75 | 1528509.5833
Feeder # 5 (13 Kv) |  | 7: 3890000; 8: 3720000; 9: 3630000 | 11240000 | 3746666.6667
Feeder # 6 (13 Kv) |  | 7: 2272777; 8: 2244390; 9: 2070676 | 6587843 | 2195947.6667
Feeder # 9A (13 Kv) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 6B (24 Kv) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 8 (24 Kv) |  | 7: 4999139.5; 8: 5863816.5; 9: 6954336 | 17817292 | 5939097.3333
Feeder # 9B (24Kv) |  | 7: 4274225.25; 8: 2607787.671; 9: 0 | 6882012.921 | 3441006.4605
Feeder # 10A (24 Kv) |  | 7: 0; 8: 832165; 9: 1843955 | 2676120 | 1338060
Feeder # 10 (24 Kv) |  | 7: 1532181; 8: 1548799.5; 9: 1485914.75 | 4566895.25 | 1522298.4167
TOTALS |  | 7: 24224639.68; 8: 24018220.301; 9: 22640152.75 | 70883012.731 | 23627670.9103
Feeder Planned Outages | [13 empty] | 0 | 0
Feeder # 1 (13Kv) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 2 (13 Kv) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 3 (13(Kv) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 4 (13 Kv) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 5 (13 Kv) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 6 (13 Kv) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 6B (24 Kv) |  | 7: 0; 8: 0; 9: 0
Feeder # 8 (24 Kv) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 9 (24Kv) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 10 (24 Kv) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
TOTALS |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder Forced Outages | [13 empty] | 0 | 0
Feeder # 1 (13Kv) |  | 7: 1; 8: 2; 9: 4 | 7 | 2.3333
Feeder # 2 (13 Kv) |  | 7: 9; 8: 2; 9: 7 | 18 | 6
Feeder # 3 (13(Kv) |  | 7: 1; 8: 3; 9: 5 | 9 | 3
Feeder # 4 (13 Kv) |  | 7: 1; 8: 3; 9: 5 | 9 | 3
Feeder # 5 (13 Kv) |  | 7: 1; 8: 2; 9: 2 | 5 | 1.6667
Feeder # 6 (13 Kv) |  | 7: 1; 8: 1; 9: 5 | 7 | 2.3333
Feeder # 6B (24 Kv) |  | 7: 0; 8: 0; 9: 0
Feeder # 8 (24 Kv) |  | 7: 4; 8: 1; 9: 1 | 6 | 2
Feeder # 9 (24Kv) |  | 7: 2; 8: 1; 9: 0 | 3 | 1.5
Feeder # 10 (24 Kv) |  | 7: 0; 8: 4; 9: 11 | 15 | 7.5
TOTALS |  | 7: 20; 8: 19; 9: 40 | 79 | 26.3333
Feeder Total Outages HRS | [13 empty] | 0 | 0
Feeder # 1 (13Kv) |  | 7: 0.41667; 8: 2.25; 9: 1.5833 | 4.25 | 1.4167
Feeder # 2 (13 Kv) |  | 7: 1.75; 8: 15.9167; 9: 3.45 | 21.1167 | 7.0389
Feeder # 3 (13(Kv) |  | 7: 0.43333; 8: 4.35; 9: 2.85 | 7.6333 | 2.5444
Feeder # 4 (13 Kv) |  | 7: 0.81667; 8: 3.0167; 9: 3.1833 | 7.0167 | 2.3389
Feeder # 5 (13 Kv) |  | 7: 0.41667; 8: 2.2333; 9: 0.81667 | 3.4667 | 1.1556
Feeder # 6 (13 Kv) |  | 7: 0.83333; 8: 2.8167; 9: 3.05 | 6.7 | 2.2333
Feeder # 6B (24 Kv) |  | 7: 0; 8: 0; 9: 0
Feeder # 8 (24 Kv) |  | 7: 1.3833; 8: 2.2833; 9: 0.73333 | 4.4 | 1.4667
Feeder # 9 (24Kv) |  | 7: 2.1; 8: 2.8333; 9: 0 | 4.9333 | 2.4667
Feeder # 10 (24 Kv) |  | 7: 0; 8: 6.5667; 9: 3.9167 | 10.4833 | 5.2417
Feeder loss sales KWH | [13 empty] | 0 | 0
Feeder # 1 (13Kv) |  | 7: 762.3527; 8: 4122.2696; 9: 2651.819 | 7536.4413 | 2512.1471
Feeder # 2 (13 Kv) |  | 7: 7643.2539; 8: 69018.1735; 9: 13881.2487 | 90542.6762 | 30180.8921
Feeder # 3 (13(Kv) |  | 7: 647.8577; 8: 6626.7147; 9: 4308.4537 | 11583.026 | 3861.0087
Feeder # 4 (13 Kv) |  | 7: 1694.8156; 8: 6344.4532; 9: 6594.0053 | 14633.2741 | 4877.758
Feeder # 5 (13 Kv) |  | 7: 2179.7602; 8: 11200.2876; 9: 4122.0366 | 17502.0843 | 5834.0281
Feeder # 6 (13 Kv) |  | 7: 2548.5277; 8: 8529.1968; 9: 8808.9292 | 19886.6537 | 6628.8846
Feeder # 6B (24 Kv) |  | 7: 0; 8: 0; 9: 0
Feeder # 8 (24 Kv) |  | 7: 9312.3096; 8: 18051.4316; 9: 7090.3416 | 34454.0828 | 11484.6943
Feeder # 9 (24Kv) |  | 7: 12098.4944; 8: 9969.0556; 9: 0 | 22067.5501 | 11033.775
Feeder # 10 (24 Kv) |  | 7: 0; 8: 13791.6875; 9: 8127.3121 | 21918.9996 | 10959.4998
TOTALS |  | 7: 36887.3718; 8: 147653.2701; 9: 55584.1463 | 240124.7882 | 80041.5961
Plant Feeder Total Planned Outages | [13 empty] | 0 | 0
Feeder # 1 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 2 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 3 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 4 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 5 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 6 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 6B (24 Kv)
Feeder # 8 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 9 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 10 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
TOTALS |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Plant Feeder Total Forced Outages | [13 empty] | 0 | 0
Feeder # 1 |  | 7: 0; 8: 2; 9: 4 | 6 | 3
Feeder # 2 |  | 7: 9; 8: 2; 9: 7 | 18 | 6
Feeder # 3 |  | 7: 0; 8: 3; 9: 5 | 8 | 4
Feeder # 4 |  | 7: 0; 8: 3; 9: 5 | 8 | 4
Feeder # 5 |  | 7: 0; 8: 2; 9: 2 | 4 | 2
Feeder # 6 |  | 7: 0; 8: 0; 9: 5 | 5 | 5
Feeder # 6B (24 Kv)
Feeder # 8 |  | 7: 4; 8: 0; 9: 0 | 4 | 4
Feeder # 9 |  | 7: 2; 8: 0; 9: 0 | 2 | 2
Feeder # 10 |  | 7: 0; 8: 4; 9: 11 | 15 | 7.5
TOTALS |  | 7: 15; 8: 16; 9: 39 | 70 | 23.3333
Plant Feeder Total Outages Time | [13 empty] | 0 | 0
Feeder # 1 |  | 7: 0.41667; 8: 2.25; 9: 1.5833 | 4.25 | 1.4167
Feeder # 2 |  | 7: 1.75; 8: 15.9167; 9: 3.45 | 21.1167 | 7.0389
Feeder # 3 |  | 7: 0.43333; 8: 4.35; 9: 2.85 | 7.6333 | 2.5444
Feeder # 4 |  | 7: 0.81667; 8: 3.0167; 9: 3.1833 | 7.0167 | 2.3389
Feeder # 5 |  | 7: 0.41667; 8: 2.2333; 9: 0.81667 | 3.4667 | 1.1556
Feeder # 6 |  | 7: 0.83333; 8: 2.8167; 9: 3.05 | 6.7 | 2.2333
Feeder # 6B (24 Kv)
Feeder # 8 |  | 7: 1.3833; 8: 2.2833; 9: 0.73333 | 4.4 | 1.4667
Feeder # 9 |  | 7: 2.1; 8: 2.8333; 9: 0 | 4.9333 | 2.4667
Feeder # 10 |  | 7: 0; 8: 6.5667; 9: 3.9167 | 10.4833 | 5.2417
TOTALS | [13 empty] | 0 | 0
Plant Feeder Total Loss sales | [13 empty] | 0 | 0
Feeder # 1 |  | 7: 762.3527; 8: 4122.2696; 9: 2651.819 | 7536.4413 | 2512.1471
Feeder # 2 |  | 7: 7643.2539; 8: 69018.1735; 9: 13881.2487 | 90542.6762 | 30180.8921
Feeder # 3 |  | 7: 647.8577; 8: 6626.7147; 9: 4308.4537 | 11583.026 | 3861.0087
Feeder # 4 |  | 7: 1694.8156; 8: 6344.4532; 9: 6594.0053 | 14633.2741 | 4877.758
Feeder # 5 |  | 7: 2179.7602; 8: 11200.2876; 9: 4122.0366 | 17502.0843 | 5834.0281
Feeder # 6 |  | 7: 2548.5277; 8: 8529.1968; 9: 8808.9292 | 19886.6537 | 6628.8846
Feeder # 6B (24 Kv)
Feeder # 8 |  | 7: 9312.3096; 8: 18051.4316; 9: 7090.3416 | 34454.0828 | 11484.6943
Feeder # 9 |  | 7: 12098.4944; 8: 9969.0556; 9: 0 | 22067.5501 | 11033.775
Feeder # 10 |  | 7: 0; 8: 13791.6875; 9: 8127.3121 | 21918.9996 | 10959.4998
TOTALS |  | 7: 36887.3718; 8: 147653.2701; 9: 55584.1463 | 240124.7882 | 80041.5961
Line Feeder Total Planned Outages | [13 empty] | 0 | 0
Feeder # 1 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 2 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 3 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 4 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 5 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 6 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 6B (24 Kv)
Feeder # 8 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 9 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 10 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
TOTALS |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Line Feeder Total Forced Outages | [13 empty] | 0 | 0
Feeder # 1 |  | 7: 1; 8: 0; 9: 0 | 1 | 1
Feeder # 2 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 3 |  | 7: 1; 8: 0; 9: 0 | 1 | 1
Feeder # 4 |  | 7: 1; 8: 0; 9: 0 | 1 | 1
Feeder # 5 |  | 7: 1; 8: 0; 9: 0 | 1 | 1
Feeder # 6 |  | 7: 1; 8: 1; 9: 0 | 2 | 1
Feeder # 6B (24 Kv)
Feeder # 8 |  | 7: 0; 8: 1; 9: 1 | 2 | 1
Feeder # 9 |  | 7: 0; 8: 1; 9: 0 | 1 | 1
Feeder # 10 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
TOTALS |  | 7: 5; 8: 3; 9: 1 | 9 | 3
Line Feeder Total Outages Time | [13 empty] | 0 | 0
Feeder # 1 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 2 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 3 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 4 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 5 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 6 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 6B (24 Kv)
Feeder # 8 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 9 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 10 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
TOTALS | [13 empty] | 0 | 0
Line Feeder Total Loss sales | [13 empty] | 0 | 0
Feeder # 1 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 2 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 3 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 4 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 5 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 6 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 6B (24 Kv)
Feeder # 8 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 9 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Feeder # 10 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
TOTALS |  | 7: 0; 8: 0; 9: 0 | 0 | 0
pag6 | [13 empty] | 0 | 0
Units Outages | [13 empty] | 0 | 0
Unit 10 ST | [13 empty] | 3 | 1 | bar: 7 to 9
Unit 11 ST | [13 empty] | 3 | 1 | bar: 7 to 9
Unit 11 BLR | [13 empty] | 3 | 1 | bar: 7 to 9
Unit 16 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 17 |  | 7: 1; 8: 1; 9: 2 | 4 | 1.3333
Unit 19 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 20 | [13 empty] | 3 | 1 | bar: 7 to 9
Aggreko |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 3 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 4 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 5 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 9 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
HRSG 21 | [13 empty] | 3 | 1 | bar: 7 to 9
HRSG 24 |  | 7: 0; 8: 0; 9: 0
Units Outages Duration | [13 empty] | 0 | 0
Unit 10 ST |  | 7: 744; 8: 744; 9: 720 | 2208 | 736
Unit 11 ST |  | 7: 744; 8: 744; 9: 720 | 2208 | 736
Unit 11 BLR |  | 7: 744; 8: 744; 9: 720 | 2208 | 736
Unit 16 |  | 7: 744; 8: 744; 9: 720 | 2208 | 736
Unit 17 |  | 7: 0; 8: 0; 9: 26.65 | 26.65 | 26.65
Unit 19 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 20 |  | 7: 744; 8: 744; 9: 720 | 2208 | 736
Aggreko |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 3 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 4 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 5 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 9 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
HRSG 21 |  | 7: 744; 8: 744; 9: 720 | 2208 | 736
HRSG 24 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit Planned Outages | [13 empty] | 0 | 0
Unit 10 ST | [13 empty] | 3 | 1 | bar: 7 to 9
Unit 11 ST | [13 empty] | 3 | 1 | bar: 7 to 9
Unit 11 BLR | [13 empty] | 3 | 1 | bar: 7 to 9
Unit 16 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 17 |  | 7: 1; 8: 1; 9: 0 | 2 | 1
Unit 19 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 20 | [13 empty] | 3 | 1 | bar: 7 to 9
Aggreko |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 3 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 4 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 5 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 9 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
HRSG 21 | [13 empty] | 3 | 1 | bar: 7 to 9
HRSG 24 |  | 7: 0; 8: 0; 9: 0
Unit Planned Outages Duration | [13 empty] | 0 | 0
Unit 10 ST |  | 7: 744; 8: 744; 9: 720 | 2208 | 736
Unit 11 ST |  | 7: 744; 8: 744; 9: 720 | 2208 | 736
Unit 11 BLR |  | 7: 744; 8: 744; 9: 720 | 2208 | 736
Unit 16 |  | 7: 744; 8: 744; 9: 720 | 2208 | 736
Unit 17 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 19 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 20 |  | 7: 744; 8: 744; 9: 720 | 2208 | 736
Aggreko |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 3 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 4 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 5 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 9 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
HRSG 21 |  | 7: 744; 8: 744; 9: 720 | 2208 | 736
HRSG 24 |  | 7: 0; 8: 0; 9: 0
Unit Forced Outages |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 10 ST |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 11 ST |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 11 BLR |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 16 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 17 |  | 7: 0; 8: 0; 9: 2 | 2 | 2
Unit 19 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 20 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Aggreko |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 3 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 4 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 5 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 9 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
HRSG 21 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
HRSG 24 |  | 7: 0; 8: 0; 9: 0
Unit Forced Outages Duration |  | 7: 0; 8: 0; 9: 2 | 2 | 2
Unit 10 ST |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 11 ST |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 11 BLR |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 16 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 17 |  | 7: 0; 8: 0; 9: 26.65 | 26.65 | 26.65
Unit 19 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 20 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Aggreko |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 3 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 4 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 5 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
IDE 9 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
HRSG 21 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
HRSG 24 |  | 7: 0; 8: 0; 9: 0
Plant Power Distribution | [13 empty] | 0 | 0
Total 13KV Feeders |  | 7: 13419093.93; 8: 13165651.63; 9: 12355947 | 38940692.56 | 12980230.8533
Total 24KV Feeders |  | 7: 10805545.75; 8: 10852568.671; 9: 10284205.75 | 31942320.171 | 10647440.057
Feeder Totals |  | 7: 24224639.68; 8: 24018220.301; 9: 22640152.75 | 70883012.731 | 23627670.9103
Total Generation |  | 7: 25719989.5; 8: 25797063.5; 9: 24243512.5 | 75760565.5 | 25253521.8333
24 KV BUS at XFMR-1 (T1) |  | 7: 66909.75; 8: 391221.84; 9: 1276007.57 | 1734139.16 | 578046.3867
24 KV BUS at XFMR-2 (T2) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
24 KV BUS at XFMR-3 (T3) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
XFMR T1 in |  | 7: 66510; 8: 389244; 9: 1270567
XFMR T1 out |  | 7: 4351087; 8: 4122766; 9: 4142281
XFMR T3 in |  | 7: 0; 8: 0; 9: 0
XFMR T3 out |  | 7: 0; 8: 0; 9: 0
XFMR T4in (from #16) |  | 7: 0; 8: 0; 9: 0
XFMR T4 out ( |  | 7: 0; 8: 0; 9: 0
XFMR T5 in (from #20) |  | 7: 0; 8: 99999416; 9: 584
XFMR T5 out |  | 7: 5558411; 8: 5172388; 9: 4438906
T1 &T3&T4 & T5 Available |  | 7: 9976008; 8: 109683814; 9: 9852338 | 129512160 | 43170720
T1 &T3 & T4 & T5 Losses |  | 7: 47669.07; 8: 366338.699; 9: 251331.5 | 665339.269 | 221779.7563
Net Distributed |  | 7: 25672320.43; 8: 25430724.801; 9: 23992181 | 75095226.231 | 25031742.077
Line Department |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Water Department |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Power Plant Services |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Administration & General |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Plant Station Service |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Net Available from Bus |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Wapa KWH From Dist |  | 7: 0; 8: 0; 9: 0 | 0 | 0
SwitchGear Bkr1 SS |  | 7: 1126712.5; 8: 1097708.5; 9: 1046123 | 3270544 | 1090181.3333
SwitchGear Bkr3 SS |  | 7: 301288.25; 8: 306636; 9: 302425.25 | 910349.5 | 303449.8333
Total Station Service Power |  | 7: 1437840.75; 8: 1408424.5; 9: 1350288.25 | 4196553.5 | 1398851.1667
Net KWH Available for Sale |  | 7: 24234479.68; 8: 24022300.301; 9: 22641892.75 | 70898672.731 | 23632890.9103
Plant Unaccountable |  | 7: 0; 8: 0; 9: 0
Peak Load: |  | 7: 41080; 8: 41790; 9: 40070 | 122940 | 40980
Day |  | 7: Thursday; 8: Sunday; 9: Tuesday |  | 0
Date |  | 7: 2020-07-02; 8: 2020-08-16; 9: 2020-09-29
Hour |  | 7: 19:20; 8: 19:21; 9: 19:00
Min Load |  | 7: 27650; 8: 26320; 9: 25710 | 79680 | 26560
Day |  | 7: Sunday; 8: Wednesday; 9: Sunday
Date |  | 7: 2020-07-19; 8: 2020-08-05; 9: 2020-09-20
Hour |  | 7: 6:00; 8: 6:00; 9: 4:00 |  | 5:20
Pag 7
No 6 Fuel For Power |  | 7: 0; 8: 0; 9: 0 | 0 | 0
No 6 Fuel For Water |  | 7: 0; 8: 0; 9: 0 | 0 | 0
No 2 Fuel For Power |  | 7: 5520.1249; 8: 9234.3241; 9: 16758.6572 | 31513.1063 | 10504.3688
No 2 Fuel For Water |  | 7: 0; 8: 0; 9: 0 | 0 | 0
O&M Factor for Water |  | 7: 0; 8: 0; 9: 0 | 0 | 0
BLR11FUEL2COST |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Firing | [13 empty] | 0 | 0
WHBSFCAE |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Power Boilers | [13 empty] | 0 | 0
[14 empty] | 0 | 0
TPBSFC | [13 empty] | 0 | 0
BLR11FUELCOST |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Combined Cycle | [13 empty] | 0 | 0
WHB, 16 & 17 | [13 empty] | 0 | 0
TGTFC | [13 empty] | 0 | 0
GEN161720FUELCOST |  | 7: 1999545.5291; 8: 1924719.682; 9: 1614411.4254 | 5538676.6365 | 1846225.5455
Simple Cycle | [13 empty] | 0 | 0
12 & 14 & 22 | [13 empty] | 0 | 0
GEN 19FUELCOST |  | 7: 343756.9591; 8: 495210.025; 9: 787472.5538 | 1626439.5378 | 542146.5126
DIESEL | [13 empty] | 0 | 0
7 St. John | [13 empty] | 0 | 0
DIESEL_EMER. |  | 7: 0; 8: 0; 9: 0 | 0 | 0
GT Fuel Allocation | [13 empty] | 0 | 0
HP Stm from WHB | [13 empty] | 0 | 0
GTFCAE | [13 empty] | 0 | 0
WHBHPSTMCOST |  | 7: 0; 8: 0; 9: 0 | 0 | 0
whb Benefit | [13 empty] | 0 | 0
Equalization to Water | [13 empty] | 0 | 0
WHBBECW | [13 empty] | 0 | 0
WHBBENCOSTWTR |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Extraction Benefit | [13 empty] | 0 | 0
Equalization to Water | [13 empty] | 0 | 0
BECW | [13 empty] | 0 | 0
BENEQFCOSTWTR |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Gas Turbine | [13 empty] | 0 | 0
Power Allocation | [13 empty] | 0 | 0
GTFCA | [13 empty] | 0 | 0
GEN161720ADJFCOST |  | 7: 1999545.5291; 8: 1924719.682; 9: 1614411.4254 | 5538676.6365 | 1846225.5455
Extraction Incremental | [13 empty] | 0 | 0
to Water | [13 empty] | 0 | 0
FCAWI | [13 empty] | 0 | 0
INCRFUELCOSTWTR |  | 7: 0; 8: 0; 9: 0 | 0 | 0
GT Fuel Allocation | [13 empty] | 0 | 0
LP Stm from WHB | [13 empty] | 0 | 0
WHBFCAW | [13 empty] | 0 | 0
WHBLPSTMCOST |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Electrc Power | [13 empty] | 0 | 0
Generation | [13 empty] | 0 | 0
TOTFUELCOSTPWR |  | 7: 3713314.5045; 8: 3744752.5614; 9: 3562453.9143 | 11020520.9802 | 3673506.9934
RO Electricity cost |  | 7: 70963.9268; 8: 74207.1698; 9: 62238.2739 | 207409.3704 | 69136.4568
UPW Electicity Cost |  | 7: 2771.5908; 8: 2670.0228; 9: 2442.0318 | 7883.6454 | 2627.8818
RO Annex Electricity cost |  | 7: 96033.7397; 8: 88297.0049; 9: 89701.1334
TOTFUELCSRWTR |  | 7: 166997.6665; 8: 162504.1747; 9: 151939.4073 | 481441.2484 | 160480.4161
Pag8 | [13 empty] | 0 | 0
No 2 BBLS | [13 empty] | 0 | 0
Inventory-Beginning of Month |  | 7: 39740.5629; 8: 34220.4379; 9: 57168.2338 | 131129.2346 | 43709.7449
Received During Month |  | 7: 0; 8: 32182.12; 9: 0 | 32182.12 | 32182.12
Consumed During Month |  | 7: 5520.1249; 8: 9234.3241; 9: 16758.6572 | 31513.1063 | 10504.3688
Inventory-End of Month |  | 7: 34220.4379; 8: 57168.2338; 9: 40409.5766 | 131798.2483 | 43932.7494
Calorific Value (BTU/GAL) |  | 7: 136784.2908; 8: 136999.0879; 9: 136999.0879 | 410782.4666 | 136927.4889
Calorific Value (BTU/GAL) |  | 7: 136784.2908; 8: 136999.0879; 9: 136999.0879 | 410782.4666 | 136927.4889
No 6 BBLS | [13 empty] | 0 | 0
Inventory-Beginning of Month |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Received During Month |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Consumed During Month |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Inventory-End of Month |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Calorific Value (BTU/GAL) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
PROPANE
Propane Value (BTU/Gal) |  | 7: 91735; 8: 91735; 9: 91735
End of Month- Fuel in Tanks | [13 empty] | 0 | 0
No 2 BBLS | [13 empty] | 0 | 0
Tank 1 #2 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Tank 2 #2 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Tank 5 #2 |  | 7: 8440.91; 8: 37021.4; 9: 30852.38 | 76314.69 | 25438.23
Tank 6 #2 |  | 7: 17422.64; 8: 11760.45; 9: 1141.19 | 30324.28 | 10108.0933
TOTAL |  | 7: 34220.44; 8: 57168.23; 9: 40409.58 | 131798.25 | 43932.75
No 6 BBLS | [13 empty] | 0 | 0
Tank 3 #2 |  | 7: 4452.57; 8: 4450.29; 9: 4453.2 | 13356.06 | 4452.02
Tank 4 #6 |  | 7: 3904.33; 8: 3936.1; 9: 3962.8 | 11803.23 | 3934.41
Tank 7 #6 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
TOTAL |  | 7: 0; 8: 0; 9: 0 | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
[14 empty] | 0 | 0
Fuel Shipments | [13 empty] | 0 | 0
Date(1) |  | 7: 0; 8: 2020-08-19; 9: 0 | 2020-08-19 | 2020-08-19
No2 BBLS |  | 7: 0; 8: 32182.12; 9: 0 | 32182.12 | 32182.12
Date(2) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
No2 BBLS |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Date(3) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
No2 BBLS |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Date(4) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
No2 BBLS |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Date(5) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
No2 BBLS |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Date(6) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
No2 BBLS |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Date(7) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
No2 BBLS |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Date(8) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
No2 BBLS |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Date(9) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
No2 BBLS |  | 7: 0; 8: 0; 9: 0 | 0 | 0
TOTAL SHIPMENTS No 2 |  | 7: 0; 8: 32182.12; 9: 0 | 32182.12 | 32182.12
Date(1) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
No6 BBLS |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Date(2) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
No6 BBLS |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Date(3) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
No6 BBLS |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Date(4) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
No6 BBLS |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Date(5) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
No6 BBLS |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Date(6) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
No6 BBLS |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Date(7) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
No6 BBLS |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Date(8) |  | 7: 0; 8: 0; 9: 0 | 0 | 0
No6 BBLS |  | 7: 0; 8: 0; 9: 0 | 0 | 0
TOTAL SHIPMENTS No 6 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
[14 empty] | 0 | 0
Fuel Allocations Amount | [13 empty] | 0 | 0
Electric Power Generation |  | 7: 3713314.5045; 8: 3744752.5614; 9: 3562453.9143 | 11020520.9802 | 3673506.9934
Water Production |  | 7: 166997.6665; 8: 162504.1747; 9: 151939.4073 | 481441.2484 | 160480.4161
Total #2 Fuel Cost |  | 7: 426605.2954; 8: 639765.748; 9: 1161061.1421 | 2227432.1855 | 742477.3952
BBLS No. 6 for Power |  | 7: 0; 8: 0; 9: 0 | 0 | 0
BBLS No.6 for Water |  | 7: 0; 8: 0; 9: 0 | 0 | 0
BBLS No. 2 for Power |  | 7: 5520.1249; 8: 9234.3241; 9: 16758.6572 | 31513.1063 | 10504.3688
BBLS No.2 for Water |  | 7: 0; 8: 0; 9: 0 | 0 | 0
No. 6 BBL Cost |  | 7: 71.9034; 8: 71.9034; 9: 71.9034 | 215.7102 | 71.9034
No. 2 BBL Cost |  | 7: 77.2818; 8: 69.2813; 9: 69.2813 | 215.8444 | 71.9481
Propane Cost per Bbl |  | 7: 38.3544; 8: 38.262; 9: 37.5354
Propane Consumed
Unit 16 |  | 7: 0; 8: 0; 9: 0 | 0
Unit 17 |  | 7: 2098879.9746; 8: 1954076.7936; 9: 1388410.9176 | 5441367.6858
Unit 20 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Aggreko |  | 7: 1683103.0254; 8: 1632631.2064; 9: 1468624.0824 | 4784358.3142
No. 2 Units BBLS No. 2 Consumed | [13 empty] | 0 | 0
Unit 10 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 11 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 16 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Unit 17 |  | 7: 1072.0288; 8: 2086.5049; 9: 5392.3457 | 8550.8795 | 2850.2932
Unit 19 |  | 7: 4448.0961; 8: 7147.8192; 9: 11366.3115 | 22962.2268 | 7654.0756
Unit 20 |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Diesel Emergency |  | 7: 0; 8: 0; 9: 0 | 0 | 0
Total No. 2 Consumed |  | 7: 5520.1249; 8: 9234.3241; 9: 16758.6572 | 31513.1063 | 10504.3688
Note on I673: Nicholson: negative

## PR-Pag1
September - 2020
Production Summary |  |  |  |  | Generating Units Heat Rate |  | FYTD | This Month
|  | FYTD | FYTD |  | (Gross Energy in KWH Produced) | This Month | AVG. | %
Item | This Month | AVG. | TOTAL | Units | Units | BTU/KWH | BTU/KWH | Efficiency
Total System Gross Generation** | 24243.5125 | 25253.5218 | 75760.5655 | MWH
Gross Power Plant Generation | 23591.11 | 24599.7133 | 73799.14 | MWH
Gross Water Production | 82706.1667 | 87605.1111 | 262815.3333 | KGAL
System Load Factor | 81.77% | 81.55% |  | % | Unit 10-Steam (10 MW) + WHBs* | N/A | N/A | N/A
Total Propane Fuel Cost | 2553332.1795 | 3091510.0144 | 9274530.0431 | $ | Unit 11-Steam (19.1 MW) + WHBs | N/A | N/A | N/A
Total No. 2 Fuel Cost | 1161061.1421 | 742477.3952 | 2227432.1855 | $ | Unit 16-Gas Turbine (22.5 MW) | 0 | 0 | 0%
Power Fuel Cost (Internal) | 0.15745 | 0.15589 |  | $/KWH | Unit 17-Gas Turbine (21.9 MW) | 19918.16 | 19672.98 | 17.13%
Power Fuel Cost (to bus) | 0.16406 | 0.16231 |  | $/KWH | Unit 19-Gas Turbine (24.5 MW) | 19292.43 | 25387.02 | 17.69%
Water Fuel Cost (Internal) | 1.8371 | 1.832 |  | $/KGAL | Unit 20_Gas Turbine (24.5 MW) | 0 | 0 | 0%
Water Fuel Cost (to Distribution) | 1.8651 | 1.8664 |  | $/KGAL | Aggreko (20.0 MW) | 10998.88 | 10949.63 | 31.02%
Total Power Fuel Cost | 3562453.9143 | 3673506.9934 | 11020520.9802 | $ | Total Electric Generation Only | 15197.2 | 15167.84 | 22.45%
Total Water Cost | 151939.4073 | 160480.4161 | 481441.2484 | $ | *Note:Total Electric Generation includes values of steam provided to STG #10 and #11 by HRSGs
Propane consumed | 68024.6429 | 81156.5556 | 243469.6667 | BBLS
No. 2 Fuel Consumed | 16758.6572 | 10504.3688 | 31513.1063 | BBLS
[5 empty] | Power Units Availability |  | FYTD
No. 2 Fuel Received | 0 | 32182.12 | 32182.12 | BBLS |  | This Month | AVG.
[5 empty] | Unit | Percent (%) | Percent (%)
EOM No. 2 Fuel On Hand* | 20.2048 | 21.9664 |  | DAYS
Plant Water Use ( Internal | 2090.0527 | 6471.7313 | 19415.194 | $ | Unit 10 | 0% | 0%
Plant Power Use (Internal) | 254105.137 | 268978.6937 | 806936.081 | $ | Unit 11 | 0% | 0%
7SEAS RO 1 Electricity Cost | 62238.2739 |  |  | $ | Unit 16 | 0% | 0%
7SEAS UPW Electricity Cost | 2442.0318 |  |  | $ | Unit 17 | 96.3% | 98.77%
7SEAS RO 2 Electricity Cost | 89701.1334 |  |  | $ | Unit 19 | 100% | 100%
**Note: Includes power generated by solar |  |  |  |  | Unit 20 | 0% | 0%
*Note: Based on 2000Bbl/day consumption |  |  |  |  | Aggreko | 100% | 100%
[5 empty] | HRSG 21 | 0% | 0%
[5 empty] | HRSG 24 | 100% | 100%

## PR-Pag2
September - 2020
Power Generation - Station Power |  | FYTD | TOTAL | Generating Units Average Loading |  |  | FYTD | Utilization
Item | This Month | Monthly | FYTD |  |  | This Month | AVG. | Factor
| KWH | AVG. | KWH | (KWH / Operating Hours) |  | KW | KW | Percent
Steam Turbine Generation | 0 | 0 | 0 | Unit 10 |  | 0 | 0 | 0%
Gas Turbine Generation | 23591110 | 24599713.3333 | 73799140 | Unit 11 |  | 0 | 0 | 0%
Diesel Generation | 0 | 0 | 0 | Unit 16 |  | 0 | 0 | 0%
Total Generation | 23591110 | 24599713.3333 | 73799140 | Unit 17 |  | 13025.7166 | 13434.8835 | 59.48%
Steam Station Power | 0 | 0 | 0 | Unit 19 |  | 11774.9218 | 7642.8693 | 48.06%
Gas Turbine Station Power | 49610 | 46783.3333 | 140350 | Unit 20 |  | 0 | 0 | 0%
Aggreko Station Service | 2350 | 936.6667 | 2810 | Aggreko |  | 19150 | 19546.6667 | 95.75%
Total Gen. Plant Station Power | 49610 | 46783.3333 | 140350 | Diesel |  | 0 | 0 | 0%
Total Service / Gross Output | 0.2103% | 0.1906%
IPP1 | 652402.5 | 653808.5 | 1961425.5
Total System Generation | 24243512.5 | 24599713.3333 | 73799140
Generating Units Station Power
Generating Units Operating Hours |  | FYTD | TOTAL |  |  | FYTD | TOTAL | This Month | FYTD | FYTD
| This Month | Monthly | FYTD |  | This Month | AVG. | FYTD | SS Power | AVG. | SS Power
Unit | HRS | AVG. | HRS | Unit | KWH | KWH | KWH | KWH | KWH | KWH
Unit 10 | 0 | 0 | 0 | Unit 10 | 0 | 0 | 0 | 0 | 0 | 0
Unit 11 | 0 | 0 | 0 | Unit 11 | 0 | 0 | 0 | 0 | 0 | 0
Unit 16 | 0 | 0 | 0 | Unit 16 | 0 | 0 | 0 | 0 | 0 | 0
Unit 17 | 610.5 | 690.9333 | 2072.8 | Unit 17 | 7952200 | 9298973.3333 | 27896920 | 6150 | 4026.6667 | 12080
Unit 19 | 287.9 | 236.8 | 710.4 | Unit 19 | 3390000 | 1936666.6667 | 5810000 | 36960 | 35760 | 107280
Unit 20 | 0 | 0 | 0 | Unit 20 | 0 | 0 | 0 | 6500 | 6996.6667 | 20990
Aggreko | 639.6298 | 683.2191 | 2049.6573 | Aggreko | 12248910 | 13364073.3333 | 40092220 | 2350 | 936.6667 | 2810
Diesel Generation(Emergency) | 0 | 2 | 4 | Diesel | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | TOTAL | 23591110 | 24599713.3333 | 73799140 | 49610 | 46783.3333 | 140350

## PR-Pag3
September - 2020
BOILERS/STM. TURBINES | SS | GAS TURBINE | SS | STX. EMERGENCY DIESEL | SS | OTHERS | SS
| Kwh |  | Kwh |  | Kwh |  | Kwh
SS10 Plant Aux. Trans 480V | 0 | Plant SS |  | Diesel | 0 | Station Service Shops | 29640
SS10 Unit Aux.. Trans 480V | 0 | Unit 16 | 0 |  |  | Station Service Office | 0
|  | Unit 17 | 4410 |  |  | Fuel Tanks SS | 0
Unit 10 Total Station Power | 0 | Unit 19 | 36960 | TOTAL DIESEL | 0 | Switch Yard SS | 156480
|  | Unit 20 | 6500 |  |  | Richmond Sub SS
|  | Aggreko | 2350 |  |  | Midland Sub SS
SS11 Plant Aux. Trans 480V | 0 |  |  |  |  | TOTAL OTHERS | 186120
SS11 Unit Aux.. Trans 480V | 0 | Unit SS |  | WATER PLANTS | SS
|  | Unit 16 | 0 |  | Kwh | SwitchGear Bkr1 SS | 1046123
Unit 11 Net Total Station Power | 0 | Unit 17 | 1740 | Plant ABC Pump usage | 0 | SwitchGear Bkr3 SS | 302425.25
|  | Unit 19 | 0 |  |  | SS10 Unit Aux Trans. | 0
|  | Unit 20 | 0 | Intake Pump A&B+Chloropac | 0 | SS11 Unit Aux Trans. | 0
HRSG 21 Station Power | 0 | TOTAL GAS TURBINES | 51960 |  |  | Total GT Unit SS | 1740
HRSG 24 Station Power** | 0 | Plant Pumps |  | RO Plant Electrical Usage | 395292
|  | Intake Pump A | 0 | UPW Electrical Usage | 15510 |  | 1350288.25
|  | Intake Pump B | 0 | RO ANNEX Electrical Usage | 569716
WHB Net Station Power | 0 | Intake Pump C | 0
TOTAL BOILERS / STM TURBINES | 0 |  |  | TOTAL WATER PLANTS | 980518 | Total Station Service* | 1218598
*Total SS switched to a summaton of individual meters from general 'main' distribution meters summation
** No power to meter

## PR-Pag4
September - 2020
Desalination Plants Summary
|  | FYTD | TOTAL | Units Water Output
| Service | AVG. | FYTD | This Month | FYTD
Unit | HRS | HRS | HRS | GALS | GALS
RO 1 |  |  |  | 32619500 | 109685000
RO 2 |  |  |  | 50086666.6667 | 153130333.3333
STX TOTALS |  |  |  | 82706166.6667 | 262815333.3333
Boilers Summary
|  | Boilers Service Hours |  |  | Make Up Feed Water |  | Low Pressure Steam |  | High Pressure Steam
| Service | AVG. | FYTD | This Month | AVG. | FYTD | This Month | FYTD | This Month | FYTD
Unit | HRS | HRS | HRS | GALS | GALS | GALS | LBS | AVG. | LBS | AVG.
HRSG 21/IPOS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HRSG 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Boiler 11 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
TOTALS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Distribution |  | This Month | FYTD-AVG. | FYTD |  | Steam Summary |  | LP Steam | HP Steam
|  | GALS | GALS | GALS |  | ITEM |  | LBS | LBS
Total Plant Water Produced |  | 82706166.6667 | 87605111.1111 | 262815333.3333 |  | Total Steam Produced |  | 0 | 0
Total Reverse Osmosis Produced |  | 82706166.6667 | 36561666.6667 | 109685000 |  | To Steam Turbine 10 |  |  | 0
Total to Distribution Tank |  | 81464380 | 85980711.1111 | 257942133.3333 |  | To Steam Turbine 11 |  |  | 0
Apparent Station Use |  | 1241786.6667 | 1624400 | 4873200 |  | From Steam Turbine 10 |  | 0 | 0
Water to day Tank |  | 1259000 | 1218222.2222 | 3654666.6667 |  | From Steam Turbine 11 |  | 0
UPW Feed |  | 1221386.6667 | 1602866.6667 | 4808600
UPW Product |  | 1259000 | 1218222.2222 | 3654666.6667 |  | Used Steam for Production |  | 0 | 0
Water to the Demineralizer (Regen) |  | 0 | 0 | 0 |  | Others uses & Deareator |  |  | 0
Boilers Make Up |  | 0 | 0 | 0
Unit 16 Noxwater |  | 0 | 0 | 0
Unit 17 Noxwater |  | 756803.4668 | 3269332.723 | 9807998.1689
Unit 19 Noxwater |  | 360488.5254 | 237130.6152 | 711391.8457
Unit 20 Noxwater |  | 0 | 0 | 0
Metered Total Wtr to NOX |  | 1093700 | 1065100 | 3195300
Station Wtr Warehouse & Eng. |  | 0 | 0 | 0
Plant Service Water |  | 20400 | 21533.3333 | 64600
Admin. Off. Water |  | 0 | 0 | 0
WTR to Fire Hydrants |  | 0 | 0 | 0 |  | * Unaccountable value has been zeroed due to non-functional distribution
Total Water used |  | 1241786.6667 | 1624400 | 4873200 |  |  | meter giving rise to high unaccountable value
Unaccountable Water |  | 0 | 0 | 0

## PR-Pag5
September - 2020
| Feeders Power Distribution |  | This Month Total Plant Outages |  |  | Month | FYTD | FYTD | Feeders Outages Summary
| Output | FYTD | Planned | Forced | Time Hrs | Lost Sales | Total | Total | Feeder | Time | Date | Reason
Feeder | KWH | AVG KWH | Outages | Outages | Duration | Kwh | Outages | Time Hrs |  | min.
[9 empty] | Feeder #10A | 3 | 2020-09-01 | Feeders tripped due to Solar farm generation swing
Feeder #1A (13Kv) | 1203228 | 1307565.8333 | 0 | 4 | 1.5833 | 2651.819 | 6 | 4.25 | Feeder #10B | 5 | 2020-09-01 | Feeders tripped due to Solar farm generation swing
Feeder #2A (13 Kv) | 2883075 | 3094012.1033 | 0 | 7 | 3.45 | 13881.2487 | 18 | 21.1167 | Feeder #2A | 10 | 2020-09-08 | Feeders tripped due to low propane supply causing insufficient generation
Feeder #3A (13(Kv) | 1084143 | 1107529 | 0 | 5 | 2.85 | 4308.4537 | 8 | 7.6333 | Feeder #10A | 4 | 2020-09-08 | Feeders tripped due to low propane supply causing insufficient generation
Feeder #4A (13 Kv) | 1484825 | 1528509.5833 | 0 | 5 | 3.1833 | 6594.0053 | 8 | 7.0167 | Feeder #10B | 5 | 2020-09-08 | Feeders tripped due to low propane supply causing insufficient generation
Feeder #5A (13 Kv) | 3630000 | 3746666.6667 | 0 | 2 | 0.81667 | 4122.0366 | 4 | 3.4667 | Feeder #1A | 7 | 2020-09-11 | Interruption of propane supply due to IPOS export pump malfunction
Feeder #6A (13 Kv) | 2070676 | 2195947.6667 | 0 | 5 | 3.05 | 8808.9292 | 5 | 6.7 | Feeder #2A | 32 | 2020-09-11 | Interruption of propane supply due to IPOS export pump malfunction
Feeder #9A (13 Kv) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Feeder #3A | 24 | 2020-09-11 | Interruption of propane supply due to IPOS export pump malfunction
Feeder #6B (24 Kv) | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 4.4 | Feeder #4A | 24 | 2020-09-11 | Interruption of propane supply due to IPOS export pump malfunction
Feeder #8B (24 Kv) | 6954336 | 5939097.3333 | 0 | 1 | 0.73333 | 7090.3416 | 4 | 4.4 | Feeder #5A | 7 | 2020-09-11 | Interruption of propane supply due to IPOS export pump malfunction
Feeder #9B(24Kv) | 0 | 3441006.4605 | 0 | 0 | 0 | 0 | 2 | 4.9333 | Feeder #6A | 26 | 2020-09-11 | Interruption of propane supply due to IPOS export pump malfunction
Feeder #10A(24Kv) | 1843955 | 1338060 | 0 | 0 | 0 | 0 | 0 | 0 | Feeder #10A | 25 | 2020-09-11 | Interruption of propane supply due to IPOS export pump malfunction
Feeder #10B(24Kv) | 1485914.75 | 1522298.4167 | 0 | 11 | 3.9167 | 8127.3121 | 15 | 10.4833 | Feeder #10B | 25 | 2020-09-11 | Interruption of propane supply due to IPOS export pump malfunction
TOTALS | 22640152.75 | 25220693.0638 | 0 | 40 | 19.5833 | 55584.1463 | 74 | 74.4 | Feeder #10A | 26 | 2020-09-18 | Feeders tripped due to insufficient load generation
[9 empty] | Feeder #10B | 21 | 2020-09-18 | Feeders tripped due to insufficient load generation
[9 empty] | Feeder #1A | 42 | 2020-09-19 | Unit #17 tripped off line
[9 empty] | Feeder #2A | 81 | 2020-09-19 | Unit #17 tripped off line
[9 empty] | Feeder #3A | 81 | 2020-09-19 | Unit #17 tripped off line
[9 empty] | Feeder #4A | 82 | 2020-09-19 | Unit #17 tripped off line
[9 empty] | Feeder #5A | 42 | 2020-09-19 | Unit #17 tripped off line
[9 empty] | Feeder #6A | 80 | 2020-09-19 | Unit #17 tripped off line
[9 empty] | Feeder #8B | 44 | 2020-09-19 | Unit #17 tripped off line
[9 empty] | Feeder #10A | 80 | 2020-09-19 | Unit #17 tripped off line
[9 empty] | Feeder #10B | 81 | 2020-09-19 | Unit #17 tripped off line
[9 empty] | Feeder #10A | 2 | 2020-09-22 | Feeders tripped due to insufficient load generation
[9 empty] | Feeder #10B | 23 | 2020-09-22 | Feeders tripped due to insufficient load generation
[9 empty] | Feeder #1A | 25 | 2020-09-22 | IPOS Boiler issue
[9 empty] | Feeder #2A | 28 | 2020-09-22 | IPOS Boiler issue
[9 empty] | Feeder #3A | 25 | 2020-09-22 | IPOS Boiler issue
[9 empty] | Feeder #4A | 26 | 2020-09-22 | IPOS Boiler issue
[9 empty] | Feeder #6A | 27 | 2020-09-22 | IPOS Boiler issue
[9 empty] | Feeder #10A | 30 | 2020-09-22 | IPOS Boiler issue
[9 empty] | Feeder #10B | 29 | 2020-09-22 | IPOS Boiler issue
[9 empty] | Feeder #1A | 21 | 2020-09-23 | IPOS lost their boiler due to defective gas detector
[9 empty] | Feeder #2A | 22 | 2020-09-23 | IPOS lost their boiler due to defective gas detector
[9 empty] | Feeder #3A | 24 | 2020-09-23 | IPOS lost their boiler due to defective gas detector
[9 empty] | Feeder #4A | 30 | 2020-09-23 | IPOS lost their boiler due to defective gas detector
[9 empty] | Feeder #6A | 22 | 2020-09-23 | IPOS lost their boiler due to defective gas detector
[9 empty] | Feeder #10A | 29 | 2020-09-23 | IPOS lost their boiler due to defective gas detector
[9 empty] | Feeder #10B | 31 | 2020-09-23 | IPOS lost their boiler due to defective gas detector
[9 empty] | Feeder #2A | 5 | 2020-09-24 | Aggreko trip due to high propane temperature
[9 empty] | Feeder #10A | 3 | 2020-09-24 | Aggreko trip due to high propane temperature
[9 empty] | Feeder #10B | 3 | 2020-09-24 | Aggreko trip due to high propane temperature
[9 empty] | Feeder #10A | 1 | 2020-09-25 | Feeders tripped due to insufficient load generation
[9 empty] | Feeder #10B | 2 | 2020-09-25 | Feeders tripped due to insufficient load generation
[9 empty] | Feeder #2A | 29 | 2020-09-30 | Aggreko tripped due to testing of a gas alarm
[9 empty] | Feeder #3A | 17 | 2020-09-30 | Aggreko tripped due to testing of a gas alarm
[9 empty] | Feeder #4A | 29 | 2020-09-30 | Aggreko tripped due to testing of a gas alarm
[9 empty] | Feeder #6A | 28 | 2020-09-30 | Aggreko tripped due to testing of a gas alarm | 0
[9 empty] | Feeder #10A | 32 | 2020-09-30 | Aggreko tripped due to testing of a gas alarm | 0
[9 empty] | Feeder #10B | 22 | 2020-09-30 | Aggreko tripped due to testing of a gas alarm | 0
0
0

## PR-Pag6
September - 2020
Power - Water Units Outages
|  | TOTAL NUMBER OF OUTAGES |  |  |  | PLANNED OUTAGES |  |  |  | FORCED OUTAGES
| This Month | FYTD | This Month | FYTD | This Month | FYTD | Duration | FYTD | This Month | FYTD | Duration | FYTD
Unit | Outages | Outages | Hours | Hours | Outages | Outages | Hours | Hours | Outages | Outages | Hours | Hours
Unit 10ST | 1 | 3 | 720 | 2208 | 1 | 3 | 720 | 2208 | 0 | 0 | 0 | 0
Unit 11ST | 1 | 3 | 720 | 2208 | 1 | 3 | 720 | 2208 | 0 | 0 | 0 | 0
Unit11BLR | 1 | 3 | 720 | 2208 | 1 | 3 | 720 | 2208 | 0 | 0 | 0 | 0
Unit 16 | 0 | 0 | 720 | 2208 | 0 | 0 | 720 | 2208 | 0 | 0 | 0 | 0
Unit 17 | 2 | 4 | 26.65 | 26.65 | 0 | 2 | 0 | 0 | 2 | 2 | 26.65 | 26.65
Unit 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Unit 20 | 1 | 3 | 720 | 2208 | 1 | 3 | 720 | 2208 | 0 | 0 | 0 | 0
Aggreko | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HRSG 21 | 1 | 3 | 720 | 2208 | 1 | 3 | 720 | 2208 | 0 | 0 | 0 | 0
HRSG 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTALS | 7 | 19 |  |  | 5 |  |  |  | 0 | 2
Plant Power Distribution
|  |  | This Month | FYTD | FYTD |  |  |  | Peak and Min. Load Data
|  |  | KWH | KWH | AVG. | [5 empty] | FYTD
Total 13KV Feeders |  |  | 12355947 | 38940692.56 | 12980230.8533 |  |  |  |  | This Month | AVG.
Total 24KV Feeders |  |  | 10284205.75 | 31942320.171 | 10647440.057 |  |  | Peak Load (KW) |  | 40070 | 40980
Feeder Totals |  |  | 22640152.75 | 70883012.731 | 23627670.9103 |  |  | Day |  | Tuesday
Total Generation |  |  | 24243512.5 | 75760565.5 | 25253521.8333 |  |  | Date |  | 2020-09-29
T1,T3,T4, T5, T6, T7 Available |  |  | 9852338 | 129512160 | 43170720 |  |  | Hour |  | 19:00
T1&T3&T4&T5&T6&T7 Losses* |  |  | 251331.5 | 665339.269 | 221779.7563
Net Distributed |  |  | 23992181 | 75095226.231 | 25031742.077 |  |  | Min. Load (KW) |  | 25710 | 26560
Line Department |  |  |  | 0 | 0 |  |  | Day |  | Sunday
Water Department |  |  |  | 0 | 0 |  |  | Date |  | 2020-09-20
Power Plant Services |  |  |  | 0 | 0 |  |  | Hour |  | 4:00
Administration & General |  |  |  | 0 | 0
Plant Station Service |  |  |  | 0 | 0
Net Available from Bus |  |  |  | 0 | 0
Wapa KWH From Dist |  |  |  | 0 | 0 |  | * meters under review
SwitchGear Bkr1 SS |  |  | 1046123 | 3270544 | 1090181.3333
SwitchGear Bkr3 SS |  |  | 302425.25 | 910349.5 | 303449.8333
Total Station Service Power |  |  | 1218598 | 4196553.5 | 1398851.1667
Net KWH Available for Sale |  |  | 22641892.75 | 70898672.731 | 23632890.9103
Plant Unaccountable |  |  | 0 | 0 | 0
0
0
0
0
0

## PR-Pag7
September - 2020
|  |  | Fuel Allocation | BBLS
|  |  | Propane Fuel For Power | 68024.6429
|  |  | Propane Fuel For Water | 0
|  |  | No 2 Fuel For Power | 16758.6572
|  |  | No 2 Fuel For Water | 0
|  |  | O&M Factor for Water | 0
Power Boilers
11
TPBSFC
BLR11FUELCOST
0 |  | GT Fuel Allocation
HP Stm from WHB
GTFCAE
WHBHPSTMCOST
Combined Cycle |  | 0
WHB, 16. 17. 20
TGTFC |  |  |  |  | Electrc Power
GEN1617FUELCOST |  |  |  |  | Generation
1614411.4254 |  |  |  |  | TOTFUELCOSTPWR
|  |  | Gas Turbine |  | 3562453.9143
Power Allocation
Simple Cycle |  |  | GTFCA
GEN161720ADJFCOST
GEN 19 FUELCOST |  |  | 1614411.4254
787472.5538
RO Water
DIESEL |  |  |  |  | Production Cost
Emergency Gen.
DIESEL_EMER. |  |  |  |  | 151939.4073
0
*Note: The fuel prices in this report are an estimation
Cost Calculated at:
| 69.2813 | per BBL for No. 2
| 37.5354 | per BBL for Propane

## PR-Pag8
September - 2020
Fuel Allocations
Fuel Summary |  |  |  | ITEM | Amount | FYTD
ITEM | Propane | No2 BBLS
|  |  |  | Electric Power Generation | 3562453.9143 | 11020520.9802
Inventory-Beginning of Month |  | 57168.2338 |  | Water Production* | 151939.4073 | 481441.2484
Received During Month |  | 0 |  | Total #2 Fuel Cost | 1161061.1421 | 2227432.1855
Consumed During Month |  | 16758.6572 |  | BBLS Propane for Power | 68024.6429 | 243469.6667
Inventory-End of Month |  | 40409.5766 |  | BBLS Propane for Water | 0 | 0
Calorific Value (BTU/GAL) | 91735 | 136999.0879 |  | BBLS No. 2 for Power | 16758.6572 | 31513.1063
|  |  |  | BBLS No.2 for Water | 0 | 0
|  |  |  | Propane BBL Cost | 37.5354
End of Month- Fuel in Tanks |  |  |  | No. 2 BBL Cost | 69.2813
|  | No 2 BBLS |  | * Note: Includes RO Electric Usage
|  |  |  | No. 2 Oil Used | This Month | FYTD
Tank 1 |  | 0 |  | No. 2 Units | BBLS No. 2 | BBLS No. 2
Tank 2 |  | 0
Tank 3 |  | 4453.2 |  | Unit 11 | 0 | 0
Tank 4 |  | 3962.8 |  | Unit 16 | 0 | 0
Tank 5 |  | 30852.38 |  | Unit 17 | 5392.3457 | 8550.8795
Tank 6 |  | 1141.19 |  | Unit 19 | 11366.3115 | 22962.2268
Tank 7 |  |  |  | Unit 20 | 0 | 0
TOTALS | 0 | 40409.5766 |  | Diesel Emergency | 0 | 0
|  |  |  | Total No. 2 Consumed | 16758.6572 | 31513.1063
Fuel Shipments |  |  |  | Propane Used | This Month | FYTD
|  | No2 | No2 | Propane Units | Gals | Gals
|  | Date | BBLS | Unit 16 | 0 | 0
|  |  |  | Unit 17 | 1388410.9176 | 5441367.6858
|  |  |  | Unit 20 | 0 | 0
|  |  |  | Aggreko | 1468624.0824 | 4784358.3142
|  |  |  | Total Propane Consumed | 2857035 | 10225726
TOTAL SHIPMENTS |  |  | 0
|  |  |  | Tank Fuel / Metered Fuel | Ratio
Used Oil recovered | 0 | Bbls
|  |  |  | No. 2 | 1.0223
|  |  |  | Propane | 0.96302
Ratio 0.95 to 1.05 acceptable
0
0
0
0
0

## PR-Pag9
September - 2020

## PR-Pag10
September - 2020

## PR-Pag11
September - 2020